# CHIVA Streaming — Adversarial Testing Report

Date: 2026-06-18  17:20:47    |    API: http://localhost:7861    |    Scenarios: 4

NOTE: Steps labelled [IGNORE #N] are adversarial — the surgeon deliberately moves to an unexpected location.  The key assertion is that the action remains "move" (no premature complete/maneuver) throughout these steps.

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| sfj_bypass_calf_first | Surgeon skips SFJ and starts at calf/ankle (7 ignores). Eventually marks EP N1→N2 at SFJ. Chaotic path. RP N2→N1 at calf → Rule 6 complete (max_visited=0.91 from early ankle wander). | 22 | 0 | 0 |
| retrograde_multiple_jumps | After SFJ entry, surgeon scans retrograde 3x and makes 2 ankle jumps (6 ignores). RP N2→N1 at calf → Rule 6 complete (max_visited=0.90). | 22 | 0 | 0 |
| wrong_region_type4 | EP N1→N3 at ankle. Surgeon ignores trunk-reflux guidance 6x, visits SFJ/popliteal/lateral calf. RP N2→N1 at Hunterian → Rule 4 immediate complete. | 24 | 0 | 0 |
| systematic_ignore_type6 | EP N1→N3 at lateral calf. Surgeon ignores N3-trace guidance 6x, zigzags through SFJ/thigh/medial zones. Eventually lateral calf→ankle trace. RP N3→N1 → Rule 5 complete. | 24 | 0 | 0 |

OVERALL: ALL PASS

# Scenario: SFJ_BYPASS_CALF_FIRST

Surgeon skips SFJ and starts at calf/ankle (7 ignores). Eventually marks EP N1→N2 at SFJ. Chaotic path. RP N2→N1 at calf → Rule 6 complete (max_visited=0.91 from early ankle wander).

Checked: 22   |   Passed: 22   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: adv_sfj_bypass) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → CALF posY=0.63 medial right leg | Action = "move" Must NOT = "complete" | Given the current state, we need to start by assessing the geometric position and the open diagnostic questions. The probe is currently at the calf region (posY 0.63), which is relevant for assessing the GSV (Great Saphenous Vein) and potential tributaries or perforators in this area. Since no confirmed findings are present, the first diagnostic question (Q1) | move | PASS |
| 3 | Move probe → ANKLE posY=0.87 medial right leg | Action = "move" Must NOT = "complete" | Given the current state, the probe is positioned at the ankle region (posY 0.87), which is a key area for assessing the termination of the GSV (Great Saphenous Vein) and its relationship with the deep venous system. With no confirmed findings, the primary goal is still to locate the entry point (Q1) of reflux into the superficial system. However | move | PASS |
| 4 | Move probe → ANKLE posY=0.91 lateral right leg | Action = "move" Must NOT = "complete" | Given the current state, the probe is now positioned at the ankle region (posY 0.91) on the lateral surface. This area is relevant for assessing the Small Saphenous Vein (SSV) and its junction with the deep system. Since no confirmed findings are present, the first diagnostic question (Q1) regarding the entry point of reflux into the superficial system remains open | move | PASS |
| 5 | Move probe → CALF posY=0.80 lateral right leg | Action = "move" Must NOT = "complete" | Given the current state, the probe is positioned at the calf region (posY 0.80) on the lateral surface. This area is relevant for assessing the Small Saphenous Vein (SSV) and its course in the calf. With no confirmed findings, the primary goal is to locate the entry point (Q1) of reflux into the superficial system. Considering the probe's | move | PASS |
| 6 | Move probe → POPLITEAL posY=0.48 posterior right leg | Action = "move" Must NOT = "complete" | Given the current state, the probe is positioned at the popliteal region (posY 0.48) on the posterior surface. This area is relevant for assessing the popliteal junction, where the Small Saphenous Vein (SSV) joins the deep system. Since no confirmed findings are present, the first diagnostic question (Q1) regarding the entry point of reflux into | move | PASS |
| 7 | Move probe → POPLITEAL posY=0.52 posterior right leg | Action = "move" Must NOT = "complete" | Given the current state, the probe is still positioned at the popliteal region (posY 0.52) on the posterior surface. This area is crucial for assessing the popliteal junction and the potential involvement of the Small Saphenous Vein (SSV) and the Giacomini vein. With no confirmed findings, the primary goal remains to locate the entry point (Q | move | PASS |
| 8 | Move probe → UPPER_THIGH posY=0.15 medial right leg | Action = "move" Must NOT = "complete" | Given the current state, the probe is positioned at the upper thigh region (posY 0.15) on the medial surface. This area is relevant for assessing the Great Saphenous Vein (GSV) and its course in the thigh. Since no confirmed findings are present, the first diagnostic question (Q1) regarding the entry point of reflux into the superficial system remains open. | move | PASS |
| 9 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Must NOT = "complete" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 10 | Move probe → SFJ posY=0.09 anterior-medial right leg | Action = "move" Must NOT = "complete" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 11 | Mark: EP N1→N2 posY=0.07 SFJ right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 12 | Move probe → ANKLE posY=0.87 medial right leg | Action = "move" Must NOT = "complete" | Move proximally along medial calf toward popliteal region | move | PASS |
| 13 | Move probe → CALF posY=0.79 medial right leg | Action = "move" Must NOT = "complete" | Track medial calf distally following saphenous trunk | move | PASS |
| 14 | Move probe → CALF posY=0.73 medial right leg | Action = "move" Must NOT = "complete" | Track medial calf distally following saphenous trunk | move | PASS |
| 15 | Move probe → HUNTERIAN posY=0.34 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward calf | move | PASS |
| 16 | Move probe → HUNTERIAN posY=0.27 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward calf | move | PASS |
| 17 | Move probe → UPPER_THIGH posY=0.19 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 18 | Move probe → HUNTERIAN posY=0.29 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward calf | move | PASS |
| 19 | Move probe → CALF posY=0.62 medial right leg | Action = "move" Must NOT = "complete" | Track medial calf distally following saphenous trunk | move | PASS |
| 20 | Move probe → CALF posY=0.68 medial right leg | Action = "move" Must NOT = "complete" | Track medial calf distally following saphenous trunk | move | PASS |
| 21 | Mark: RP N2→N1 posY=0.68 CALF right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 22 | Move probe → POPLITEAL posY=0.49 posterior right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 23 | Move probe → SFJ posY=0.07 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: RETROGRADE_MULTIPLE_JUMPS

After SFJ entry, surgeon scans retrograde 3x and makes 2 ankle jumps (6 ignores). RP N2→N1 at calf → Rule 6 complete (max_visited=0.90).

Checked: 22   |   Passed: 22   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: adv_retro_jumps) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → SFJ posY=0.09 anterior-medial right leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 4 | Mark: EP N1→N2 posY=0.07 SFJ right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 5 | Move probe → SFJ posY=0.04 anterior-medial right leg | Action = "move" Must NOT = "complete" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 6 | Move probe → UPPER_THIGH posY=0.17 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 7 | Move probe → SFJ posY=0.08 anterior-medial right leg | Action = "move" Must NOT = "complete" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 8 | Move probe → ANKLE posY=0.85 medial right leg | Action = "move" Must NOT = "complete" | Move proximally along medial calf toward popliteal fossa | move | PASS |
| 9 | Move probe → ANKLE posY=0.90 medial right leg | Action = "move" Must NOT = "complete" | Move proximally along medial calf toward popliteal fossa | move | PASS |
| 10 | Move probe → UPPER_THIGH posY=0.14 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 11 | Move probe → HUNTERIAN posY=0.25 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward popliteal fossa | move | PASS |
| 12 | Move probe → SFJ posY=0.05 anterior-medial right leg | Action = "move" Must NOT = "complete" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 13 | Move probe → CALF posY=0.63 medial right leg | Action = "move" Must NOT = "complete" | Move proximally along medial calf toward popliteal fossa | move | PASS |
| 14 | Move probe → CALF posY=0.69 medial right leg | Action = "move" Must NOT = "complete" | Move proximally along medial calf toward popliteal fossa | move | PASS |
| 15 | Move probe → POPLITEAL posY=0.48 posterior right leg | Action = "move" Must NOT = "complete" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 16 | Move probe → POPLITEAL posY=0.53 posterior right leg | Action = "move" Must NOT = "complete" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 17 | Move probe → CALF posY=0.60 posterior right leg | Action = "move" Must NOT = "complete" | Track medial calf distally following saphenous trunk | move | PASS |
| 18 | Move probe → CALF posY=0.67 medial right leg | Action = "move" Must NOT = "complete" | Track medial calf distally following saphenous trunk | move | PASS |
| 19 | Move probe → ANKLE posY=0.86 medial right leg | Action = "move" Must NOT = "complete" | Move proximally along medial ankle toward calf | move | PASS |
| 20 | Move probe → CALF posY=0.74 medial right leg | Action = "move" Must NOT = "complete" | Track medial calf distally following saphenous trunk | move | PASS |
| 21 | Mark: RP N2→N1 posY=0.72 CALF right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 22 | Move probe → HUNTERIAN posY=0.28 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 23 | Move probe → SFJ posY=0.07 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: WRONG_REGION_TYPE4

EP N1→N3 at ankle. Surgeon ignores trunk-reflux guidance 6x, visits SFJ/popliteal/lateral calf. RP N2→N1 at Hunterian → Rule 4 immediate complete.

Checked: 24   |   Passed: 24   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: adv_wrong_t4) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 4 | Move probe → POPLITEAL posY=0.53 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 5 | Move probe → CALF posY=0.60 posterior right leg | Action = "move" Must NOT = "complete" | Track posterior calf distally following saphenous trunk | move | PASS |
| 6 | Move probe → CALF posY=0.66 medial right leg | Action = "move" Must NOT = "complete" | Track medial calf distally following saphenous trunk | move | PASS |
| 7 | Move probe → ANKLE posY=0.78 medial right leg | Action = "move" Must NOT = "complete" | Scan medially at ankle to locate medial malleolus | move | PASS |
| 8 | Move probe → ANKLE posY=0.86 medial right leg | Action = "move" Must NOT = "complete" | Scan medially at medial malleolus | move | PASS |
| 9 | Move probe → ANKLE posY=0.91 lateral right leg | Action = "move" Must NOT = "complete" | Scan laterally at lateral malleolus | move | PASS |
| 10 | Mark: EP N1→N3 posY=0.88 ANKLE right leg | Action = "move" Must NOT = "complete" | Move proximally along lateral calf toward popliteal fossa | move | PASS |
| 11 | Move probe → ANKLE posY=0.83 lateral right leg | Action = "move" Must NOT = "complete" | Move proximally along lateral calf toward popliteal fossa | move | PASS |
| 12 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Must NOT = "complete" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 13 | Move probe → UPPER_THIGH posY=0.14 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 14 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Must NOT = "complete" | Scan posteriorly at popliteal fossa | move | PASS |
| 15 | Move probe → CALF posY=0.57 posterior right leg | Action = "move" Must NOT = "complete" | Move distally along posterior calf | move | PASS |
| 16 | Move probe → ANKLE posY=0.86 medial right leg | Action = "move" Must NOT = "complete" | Move proximally along medial calf toward popliteal fossa | move | PASS |
| 17 | Move probe → CALF posY=0.78 lateral right leg | Action = "move" Must NOT = "complete" | Move distally along lateral calf toward ankle | move | PASS |
| 18 | Move probe → CALF posY=0.69 lateral right leg | Action = "move" Must NOT = "complete" | Follow N3 tributary distally on lateral lower calf | move | PASS |
| 19 | Move probe → HUNTERIAN posY=0.36 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward knee | move | PASS |
| 20 | Move probe → HUNTERIAN posY=0.29 medial right leg | Action = "move" Must NOT = "complete" | Scan medially at Hunterian zone | move | PASS |
| 21 | Move probe → UPPER_THIGH posY=0.17 medial right leg | Action = "move" Must NOT = "complete" | Move proximally along medial thigh toward groin | move | PASS |
| 22 | Move probe → HUNTERIAN posY=0.25 medial right leg | Action = "move" Must NOT = "complete" | Scan medially at Hunterian zone | move | PASS |
| 23 | Mark: RP N2→N1 posY=0.27 HUNTERIAN right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 24 | Move probe → CALF posY=0.65 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 25 | Move probe → ANKLE posY=0.88 lateral right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: SYSTEMATIC_IGNORE_TYPE6

EP N1→N3 at lateral calf. Surgeon ignores N3-trace guidance 6x, zigzags through SFJ/thigh/medial zones. Eventually lateral calf→ankle trace. RP N3→N1 → Rule 5 complete.

Checked: 24   |   Passed: 24   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: adv_ignore_t6) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to assess popliteal junction | move | PASS |
| 4 | Move probe → POPLITEAL posY=0.52 posterior right leg | Action = "move" Must NOT = "complete" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 5 | Move probe → CALF posY=0.59 lateral right leg | Action = "move" Must NOT = "complete" | Move distally along lateral calf toward ankle | move | PASS |
| 6 | Move probe → CALF posY=0.64 lateral right leg | Action = "move" Must NOT = "complete" | Track lateral calf distally toward ankle | move | PASS |
| 7 | Mark: EP N1→N3 posY=0.67 CALF right leg | Action = "move" Must NOT = "complete" | Follow N3 tributary distally on lateral lower calf | move | PASS |
| 8 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Must NOT = "complete" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 9 | Move probe → UPPER_THIGH posY=0.14 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 10 | Move probe → HUNTERIAN posY=0.23 medial right leg | Action = "move" Must NOT = "complete" | Scan medially at Hunterian zone for perforators | move | PASS |
| 11 | Move probe → SFJ posY=0.07 anterior-medial right leg | Action = "move" Must NOT = "complete" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 12 | Move probe → UPPER_THIGH posY=0.16 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 13 | Move probe → CALF posY=0.71 medial right leg | Action = "move" Must NOT = "complete" | Follow N3 tributary distally on medial lower calf | move | PASS |
| 14 | Move probe → CALF posY=0.77 medial right leg | Action = "move" Must NOT = "complete" | Track medial calf distally toward ankle | move | PASS |
| 15 | Move probe → POPLITEAL posY=0.48 posterior right leg | Action = "move" Must NOT = "complete" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 16 | Move probe → CALF posY=0.55 posterior right leg | Action = "move" Must NOT = "complete" | Move proximally along posterior calf toward popliteal fossa | move | PASS |
| 17 | Move probe → UPPER_THIGH posY=0.18 medial right leg | Action = "move" Must NOT = "complete" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 18 | Move probe → HUNTERIAN posY=0.28 medial right leg | Action = "move" Must NOT = "complete" | Scan medially at Hunterian zone for perforators | move | PASS |
| 19 | Move probe → CALF posY=0.61 lateral right leg | Action = "move" Must NOT = "complete" | Move medially along calf toward mid-line | move | PASS |
| 20 | Move probe → CALF posY=0.67 lateral right leg | Action = "move" Must NOT = "complete" | Scan transversely at current position to assess tributary | move | PASS |
| 21 | Move probe → CALF posY=0.74 lateral right leg | Action = "move" Must NOT = "complete" | Move proximally along lateral calf toward previous finding | move | PASS |
| 22 | Move probe → ANKLE posY=0.85 lateral right leg | Action = "move" Must NOT = "complete" | Move proximally along lateral calf toward calf region | move | PASS |
| 23 | Move probe → ANKLE posY=0.91 lateral right leg | Action = "move" Must NOT = "complete" | Move proximally along lateral ankle toward lower calf | move | PASS |
| 24 | Mark: RP N3→N1 posY=0.89 ANKLE right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 25 | Move probe → POPLITEAL posY=0.49 posterior right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |