# CHIVA Streaming Guidance — Consolidated Scenario Test Report

Date: 2026-06-19  18:13:52    |    API: http://localhost:7861    |    Scenarios: 7

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| type1 | Type I (R1→R2→R1): SFJ incompetent (EP N1->N2); GSV trunk reflux; no tributary escape; calf perforator re-entry (RP N2->N1). Rule 6: old_max ≥ 0.48. 35 steps. | 31 | 1 | 2 |
| type2 | Type II (R2→R3→R1): Both junctions competent; trunk is source; Dodd escape to N3 (EP N2->N3); N3 re-enters deep (RP N3->N1). Rule 7: no EP N1->N2, no RP N2->N1. 33 steps. | 28 | 0 | 3 |
| type3_noreflux | Type III / No Reflux (R1→R2→R3→R1): SFJ entry; EP N2->N3 before RP N2->N1; RP N3->N1 + RP N2->N1 => maneuver; compress tributary => 'No Reflux' => complete. Rules 1 then 2. 37 steps. | 35 | 0 | 3 |
| type3_reflux | Type I+2 / Reflux (R1→R2→R3→R1): Same path as Type III but compression shows 'Reflux' => trunk has independent reflux => Type I+2 complete. Rules 1 then 3. 30 steps. | 25 | 0 | 0 |
| type4 | Type IV (R1→R3→R2→R1): Both junctions competent; perforator exits direct into N3 (EP N1->N3); N3 fills trunk; trunk re-enters deep (RP N2->N1). Rule 4 (no max_visited gate). 33 steps. | 30 | 1 | 2 |
| type5 | Type V (R1→R3→R2→R3→R1): EP N1->N3 source; RP N3->N2 trunk fill; EP N2->N3 second escape; RP N3->N1 second re-entry. Rule 5b. 37 steps. | 36 | 0 | 3 |
| type6 | Type VI (R1→R3→R1): Both junctions competent; purely N3 lateral path; EP N1->N3 source perforator; RP N3->N1 re-entry; trunk NOT involved. Rule 5. 32 steps. | 29 | 0 | 3 |

OVERALL: SOME TIMEOUT FAILURES PRESENT

# Scenario: TYPE1

Type I (R1→R2→R1): SFJ incompetent (EP N1->N2); GSV trunk reflux; no tributary escape; calf perforator re-entry (RP N2->N1).  35 steps.

Checked: 32   |   Passed: 31   |   Failed: 1   |   Timeouts: 2

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: s1_type1_r) | session_ready event | -- | -- | SKIP |
| 2 | Move -> SFJ posY=0.04 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction, saphenofemoral | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move -> SFJ posY=0.06 anterior-medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 4 | Move -> SFJ posY=0.07 anterior-medial right leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 5 | Mark: EP N1->N2 posY=0.06 SFJ right leg | Action = "move" Guidance contains any of: distal, thigh, trunk, GSV, medial | Move distally along medial thigh toward mid-thigh | move | PASS |
| 6 | Move -> Upper Thigh posY=0.10 medial right leg | Action = "move" | Track GSV distally along medial thigh | move | PASS |
| 7 | Move -> Upper Thigh posY=0.14 medial right leg | Action = "move" | Move distally along medial thigh | move | PASS |
| 8 | Move -> Upper Thigh posY=0.18 medial right leg | Action = "move" | Continue down medial thigh | move | PASS |
| 9 | Move -> Dodd posY=0.23 medial right leg | Action = "move" Guidance contains any of: Hunterian, Dodd, perforator, escape, tributary | Move distally toward mid-thigh | move | FAIL |
| x Guidance missing any of: Hunterian, Dodd, perforator, escape, tributary |  |  |  |  |  |
| 10 | Move -> Dodd posY=0.27 medial right leg | Action = "move" Must NOT = "complete" | Track GSV toward Hunterian zone | move | PASS |
| 11 | Move -> Dodd posY=0.31 medial right leg | Action = "move" | Move toward knee level | move | PASS |
| 12 | Move -> Hunterian posY=0.35 medial right leg | Action = "move" | Scan toward popliteal fossa | move | PASS |
| 13 | Move -> Hunterian posY=0.39 medial right leg | Action = "move" Must NOT = "complete" | Move toward popliteal fossa | move | PASS |
| 14 | Move -> Hunterian posY=0.44 medial right leg | Action = "move" | Scan posteriorly at knee | move | PASS |
| 15 | Move -> SPJ posY=0.49 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior, junction | Scan posteriorly at popliteal fossa to assess SPJ | move | PASS |
| 16 | Move -> SPJ posY=0.52 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa to assess SPJ | move | PASS |
| 17 | Move -> SPJ posY=0.56 posterior right leg | Action = "move" | Track SSV distally along posterior calf | move | PASS |
| 18 | Move -> SSV posY=0.59 posterior right leg | Action = "move" | -- | -- | TIMEOUT |
| 19 | Move -> Calf posY=0.62 medial right leg | Action = "move" | Follow GSV down medial calf | move | PASS |
| 20 | Move -> Calf posY=0.66 medial right leg | Action = "move" | Track GSV toward ankle | move | PASS |
| 21 | Move -> Calf posY=0.70 medial right leg | Action = "move" | Move toward medial ankle | move | PASS |
| 22 | Move -> Calf posY=0.74 medial right leg | Action = "move" | Scan at medial ankle | move | PASS |
| 23 | Move -> Calf posY=0.78 medial right leg | Action = "move" | Follow GSV to medial malleolus | move | PASS |
| 24 | Move -> Calf posY=0.82 medial right leg | Action = "move" Must NOT = "complete" | Scan at medial malleolus | move | PASS |
| 25 | Move -> Ankle posY=0.90 medial right leg | Action = "move" | Scan at medial ankle | move | PASS |
| 26 | Move -> Ankle posY=0.94 medial right leg | Action = "move" | Move proximally toward calf | move | PASS |
| 27 | Move -> Calf posY=0.87 medial right leg | Action = "move" | Track GSV proximally up calf | move | PASS |
| 28 | Move -> Calf posY=0.80 medial right leg | Action = "move" | Move toward popliteal fossa | move | PASS |
| 29 | Move -> Calf posY=0.74 medial right leg | Action = "move" | Scan toward popliteal fossa | move | PASS |
| 30 | Move -> Calf posY=0.68 medial right leg | Action = "move" | Move toward knee level | move | PASS |
| 31 | Mark: RP N2->N1 posY=0.68 Calf right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 32 | Move -> Calf posY=0.66 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 33 | Move -> SPJ posY=0.51 posterior right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 34 | Move -> Hunterian posY=0.40 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 35 | Move -> SFJ posY=0.06 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE2

Type II (R2→R3→R1): Both junctions competent; trunk is source; Dodd escape to N3 (EP N2->N3); N3 re-enters deep (RP N3->N1).no EP N1->N2, no RP N2->N1.  33 steps.

Checked: 28   |   Passed: 28   |   Failed: 0   |   Timeouts: 3

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: s2_type2_r) | session_ready event | -- | -- | SKIP |
| 2 | Move -> SFJ posY=0.05 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease | move | PASS |
| 3 | Move -> SFJ posY=0.07 anterior-medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 4 | Move -> Upper Thigh posY=0.11 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 5 | Move -> Upper Thigh posY=0.16 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 6 | Move -> Upper Thigh posY=0.20 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 7 | Move -> Dodd posY=0.24 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 8 | Move -> Dodd posY=0.28 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 9 | Mark: EP N2->N3 posY=0.28 Dodd right leg | Action = "move" Must NOT = "complete" | Track N3 tributary distally | move | PASS |
| 10 | Move -> Dodd posY=0.33 medial right leg | Action = "move" | Move distally along medial thigh | move | PASS |
| 11 | Move -> Hunterian posY=0.36 medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 12 | Move -> Hunterian posY=0.41 medial right leg | Action = "move" | Move distally along medial thigh | move | PASS |
| 13 | Move -> Hunterian posY=0.46 medial right leg | Action = "move" | Follow N3 tributary distally | move | PASS |
| 14 | Move -> SPJ posY=0.49 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | -- | -- | TIMEOUT |
| 15 | Move -> SPJ posY=0.53 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa | move | PASS |
| 16 | Move -> SSV posY=0.58 posterior right leg | Action = "move" | Move distally along posterior calf | move | PASS |
| 17 | Move -> SSV posY=0.63 posterior right leg | Action = "move" | Move distally along posterior calf | move | PASS |
| 18 | Move -> SSV posY=0.68 posterior right leg | Action = "move" | Move distally along posterior calf | move | PASS |
| 19 | Move -> SSV posY=0.73 posterior right leg | Action = "move" | Move distally along posterior calf | move | PASS |
| 20 | Move -> Calf posY=0.76 lateral right leg | Action = "move" | Move distally along lateral calf | move | PASS |
| 21 | Move -> Calf posY=0.81 lateral right leg | Action = "move" | Move distally along lateral calf | move | PASS |
| 22 | Move -> Ankle posY=0.86 lateral right leg | Action = "move" | Move distally along lateral ankle | move | PASS |
| 23 | Move -> Ankle posY=0.92 lateral right leg | Action = "move" | Move distally along lateral ankle | move | PASS |
| 24 | Move -> Calf posY=0.87 lateral right leg | Action = "move" | Move proximally toward popliteal fossa | move | PASS |
| 25 | Move -> Calf posY=0.81 lateral right leg | Action = "move" | Move proximally toward popliteal fossa | move | PASS |
| 26 | Move -> Calf posY=0.75 lateral right leg | Action = "move" | Move proximally toward popliteal fossa | move | PASS |
| 27 | Move -> Calf posY=0.70 lateral right leg | Action = "move" | Move proximally toward popliteal fossa | move | PASS |
| 28 | Mark: RP N3->N1 posY=0.70 Calf right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 29 | Move -> Calf posY=0.68 lateral right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 30 | Move -> Dodd posY=0.28 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 31 | Move -> SPJ posY=0.50 posterior right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 32 | Move -> SFJ posY=0.06 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE3_NOREFLUX

Type III / No Reflux (R1→R2→R3→R1): SFJ entry; EP N2->N3 before RP N2->N1; RP N3->N1 + RP N2->N1 => maneuver; compress tributary => 'No Reflux' => complete. Rules 1 then 2.  37 steps.

Checked: 35   |   Passed: 35   |   Failed: 0   |   Timeouts: 3

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: s3_type3_nr) | session_ready event | -- | -- | SKIP |
| 2 | Move -> SFJ posY=0.05 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move -> SFJ posY=0.07 anterior-medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 4 | Mark: EP N1->N2 posY=0.06 SFJ right leg | Action = "move" Guidance contains any of: distal, trunk, GSV, thigh | Move distally along medial thigh | move | PASS |
| 5 | Move -> Upper Thigh posY=0.11 medial right leg | Action = "move" | Track GSV distally along medial thigh | move | PASS |
| 6 | Move -> Upper Thigh posY=0.16 medial right leg | Action = "move" | Move distally along medial thigh | move | PASS |
| 7 | Move -> Upper Thigh posY=0.20 medial right leg | Action = "move" | Continue down medial thigh | move | PASS |
| 8 | Move -> Dodd posY=0.24 medial right leg | Action = "move" | Move distally toward knee | move | PASS |
| 9 | Move -> Dodd posY=0.27 medial right leg | Action = "move" | Track GSV toward popliteal fossa | move | PASS |
| 10 | Mark: EP N2->N3 posY=0.26 Dodd right leg | Action = "move" Must NOT = "complete" | Follow N3 tributary distally | move | PASS |
| 11 | Move -> Dodd posY=0.32 medial right leg | Action = "move" | Track N3 tributary distally on thigh | move | PASS |
| 12 | Move -> Hunterian posY=0.36 medial right leg | Action = "move" | Move toward popliteal fossa | move | PASS |
| 13 | Move -> Hunterian posY=0.41 medial right leg | Action = "move" | Scan posteriorly at knee level | move | PASS |
| 14 | Move -> Hunterian posY=0.46 medial right leg | Action = "move" | Follow N3 tributary distally | move | PASS |
| 15 | Move -> SPJ posY=0.49 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | -- | -- | TIMEOUT |
| 16 | Move -> SPJ posY=0.53 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa to assess SPJ | move | PASS |
| 17 | Move -> SSV posY=0.58 posterior right leg | Action = "move" | Track SSV distally on posterior calf | move | PASS |
| 18 | Move -> Calf posY=0.61 medial right leg | Action = "move" | Follow GSV down medial calf | move | PASS |
| 19 | Move -> Calf posY=0.66 medial right leg | Action = "move" | Track GSV on medial calf | move | PASS |
| 20 | Move -> Calf posY=0.71 medial right leg | Action = "move" | Continue down medial calf | move | PASS |
| 21 | Move -> Calf posY=0.76 medial right leg | Action = "move" | Follow GSV toward ankle | move | PASS |
| 22 | Move -> Ankle posY=0.89 medial right leg | Action = "move" | Track GSV to medial ankle | move | PASS |
| 23 | Move -> Ankle posY=0.94 medial right leg | Action = "move" | Scan at medial malleolus | move | PASS |
| 24 | Move -> Calf posY=0.87 medial right leg | Action = "move" | Follow N3 tributary distally | move | PASS |
| 25 | Move -> Calf posY=0.80 medial right leg | Action = "move" | Track N3 tributary on calf | move | PASS |
| 26 | Mark: RP N3->N1 posY=0.72 Calf right leg | Action = "move" Must NOT = "maneuver" | Continue scanning distally to locate anatomical junction | move | PASS |
| 27 | Move -> Hunterian posY=0.45 medial right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 28 | Move -> Hunterian posY=0.40 medial right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 29 | Move -> Hunterian posY=0.35 medial right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 30 | Move -> Dodd posY=0.32 medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 31 | Move -> Dodd posY=0.28 medial right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 32 | Mark: RP N2->N1 posY=0.25 Dodd right leg | Action = "maneuver" Guidance contains any of: compress, tributary, Doppler, record | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 33 | Move -> Dodd posY=0.26 medial right leg | Action = "maneuver" Guidance contains any of: compress, tributary | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 34 | Move -> Calf posY=0.63 medial right leg | Action = "maneuver" | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 35 | Move -> Dodd posY=0.26 medial right leg | Action = "maneuver" | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 36 | Mark: EP N2->N3 posY=0.26 Dodd right leg Elim: No Reflux | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 37 | Move -> Dodd posY=0.26 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 38 | Move -> Calf posY=0.65 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 39 | Move -> SFJ posY=0.06 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE3_REFLUX

Type I+2 / Reflux (R1→R2→R3→R1): Same path as Type III but compression shows 'Reflux' => trunk has independent reflux => Type I+2 complete. 30 steps.

Checked: 25   |   Passed: 25   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: s4_type3_rf) | session_ready event | -- | -- | SKIP |
| 2 | Move -> SFJ posY=0.05 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Mark: EP N1->N2 posY=0.06 SFJ right leg | Action = "move" | Move distally along medial thigh | move | PASS |
| 4 | Move -> Upper Thigh posY=0.12 medial right leg | Action = "move" | Track GSV distally along medial thigh | move | PASS |
| 5 | Move -> Upper Thigh posY=0.18 medial right leg | Action = "move" | Continue along medial thigh | move | PASS |
| 6 | Move -> Dodd posY=0.23 medial right leg | Action = "move" | Move distally toward mid-thigh | move | PASS |
| 7 | Mark: EP N2->N3 posY=0.26 Dodd right leg | Action = "move" Must NOT = "complete" | Follow N3 tributary distally | move | PASS |
| 8 | Move -> Hunterian posY=0.36 medial right leg | Action = "move" | Track N3 tributary on medial thigh | move | PASS |
| 9 | Move -> Hunterian posY=0.44 medial right leg | Action = "move" | Move toward popliteal fossa | move | PASS |
| 10 | Move -> SPJ posY=0.49 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to assess SPJ | move | PASS |
| 11 | Move -> Calf posY=0.62 medial right leg | Action = "move" | Track GSV along medial calf | move | PASS |
| 12 | Move -> Calf posY=0.68 medial right leg | Action = "move" | Follow N3 tributary on medial calf | move | PASS |
| 13 | Move -> Calf posY=0.74 medial right leg | Action = "move" | Track medial calf distally | move | PASS |
| 14 | Move -> Ankle posY=0.90 medial right leg | Action = "move" | Move toward medial malleolus | move | PASS |
| 15 | Move -> Calf posY=0.81 medial right leg | Action = "move" | Follow GSV to medial ankle | move | PASS |
| 16 | Mark: RP N3->N1 posY=0.71 Calf right leg | Action = "move" Must NOT = "maneuver" | Continue scanning distally to locate anatomical junction | move | PASS |
| 17 | Move -> Hunterian posY=0.38 medial right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 18 | Move -> Dodd posY=0.29 medial right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 19 | Mark: RP N2->N1 posY=0.25 Dodd right leg | Action = "maneuver" Guidance contains any of: compress, tributary, Doppler, record | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 20 | Move -> Dodd posY=0.26 medial right leg | Action = "maneuver" Guidance contains any of: compress, tributary | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 21 | Move -> Calf posY=0.64 medial right leg | Action = "maneuver" | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 22 | Move -> Dodd posY=0.26 medial right leg | Action = "maneuver" | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 23 | Mark: EP N2->N3 posY=0.26 Dodd right leg Elim: Reflux | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 24 | Move -> Dodd posY=0.26 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 25 | Move -> SFJ posY=0.06 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 26 | Move -> Calf posY=0.62 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE4

Type IV (R1→R3→R2→R1): Both junctions competent; perforator exits direct into N3 (EP N1->N3); N3 fills trunk; trunk re-enters deep (RP N2->N1.  33 steps.

Checked: 31   |   Passed: 30   |   Failed: 1   |   Timeouts: 2

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: s5_type4_r) | session_ready event | -- | -- | SKIP |
| 2 | Move -> SFJ posY=0.05 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease | move | PASS |
| 3 | Move -> SFJ posY=0.07 anterior-medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 4 | Move -> Upper Thigh posY=0.12 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 5 | Move -> Upper Thigh posY=0.17 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 6 | Move -> Dodd posY=0.24 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 7 | Move -> Dodd posY=0.29 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 8 | Move -> Dodd posY=0.33 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 9 | Move -> Hunterian posY=0.37 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 10 | Move -> Hunterian posY=0.42 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 11 | Move -> Hunterian posY=0.46 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 12 | Move -> SPJ posY=0.49 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | -- | move | FAIL |
| x Guidance missing any of: popliteal, SPJ, posterior |  |  |  |  |  |
| 13 | Move -> SPJ posY=0.53 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa | move | PASS |
| 14 | Move -> SSV posY=0.58 posterior right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 15 | Move -> Calf posY=0.62 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 16 | Move -> Calf posY=0.67 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 17 | Move -> Calf posY=0.72 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 18 | Move -> Calf posY=0.77 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 19 | Move -> Ankle posY=0.86 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 20 | Move -> Ankle posY=0.92 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 21 | Move -> Calf posY=0.85 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 22 | Move -> Calf posY=0.79 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 23 | Mark: EP N1->N3 posY=0.73 Calf right leg | Action = "move" Must NOT = "complete" | Track N3 tributary distally | move | PASS |
| 24 | Move -> Calf posY=0.72 medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 25 | Move -> Calf posY=0.65 medial right leg | Action = "move" | Track N3 tributary distally | move | PASS |
| 26 | Move -> SPJ posY=0.52 posterior right leg | Action = "move" | Track N3 tributary distally | move | PASS |
| 27 | Move -> Hunterian posY=0.44 medial right leg | Action = "move" | Track N3 tributary distally | move | PASS |
| 28 | Move -> Hunterian posY=0.38 medial right leg | Action = "move" | Track N3 tributary distally | move | PASS |
| 29 | Move -> Dodd posY=0.31 medial right leg | Action = "move" | Track N3 tributary distally | move | PASS |
| 30 | Move -> Dodd posY=0.25 medial right leg | Action = "move" | Track N3 tributary distally | move | PASS |
| 31 | Mark: RP N2->N1 posY=0.24 Dodd right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 32 | Move -> Dodd posY=0.25 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 33 | Move -> Calf posY=0.65 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 34 | Move -> SFJ posY=0.06 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE5

Type V (R1→R3→R2→R3→R1): EP N1->N3 source; RP N3->N2 trunk fill; EP N2->N3 second escape; RP N3->N1 second re-entry. Rule 5b.  37 steps.

Checked: 36   |   Passed: 36   |   Failed: 0   |   Timeouts: 3

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: s6_type5_r) | session_ready event | -- | -- | SKIP |
| 2 | Move -> SFJ posY=0.05 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move -> SFJ posY=0.07 anterior-medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 4 | Move -> Upper Thigh posY=0.13 medial right leg | Action = "move" | Move proximally toward groin to assess femoral junction | move | PASS |
| 5 | Move -> Upper Thigh posY=0.18 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 6 | Move -> Dodd posY=0.23 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 7 | Move -> Dodd posY=0.28 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 8 | Move -> Dodd posY=0.33 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 9 | Move -> Hunterian posY=0.37 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 10 | Move -> Hunterian posY=0.42 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 11 | Move -> Hunterian posY=0.46 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 12 | Move -> SPJ posY=0.49 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | -- | -- | TIMEOUT |
| 13 | Move -> SPJ posY=0.54 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa to assess SPJ | move | PASS |
| 14 | Move -> SSV posY=0.58 posterior right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 15 | Move -> Calf posY=0.62 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 16 | Move -> Calf posY=0.67 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 17 | Mark: EP N1->N3 posY=0.65 Calf right leg | Action = "move" Must NOT = "complete" | Track N3 tributary distally on medial calf | move | PASS |
| 18 | Move -> Calf posY=0.60 medial right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 19 | Move -> SPJ posY=0.53 posterior right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 20 | Move -> Hunterian posY=0.45 medial right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 21 | Move -> Hunterian posY=0.39 medial right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 22 | Move -> Hunterian posY=0.34 medial right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 23 | Move -> Dodd posY=0.31 medial right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 24 | Mark: RP N3->N2 posY=0.29 Dodd right leg | Action = "move" Must NOT = "complete" | Move distally along medial calf | move | PASS |
| 25 | Move -> Dodd posY=0.28 medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 26 | Move -> Hunterian posY=0.38 medial right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 27 | Move -> Hunterian posY=0.44 medial right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 28 | Move -> SPJ posY=0.50 posterior right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 29 | Move -> Calf posY=0.60 medial right leg | Action = "move" | Track N3 tributary distally on medial calf | move | PASS |
| 30 | Move -> Calf posY=0.65 medial right leg | Action = "move" | Track N3 tributary distally on medial calf | move | PASS |
| 31 | Mark: EP N2->N3 posY=0.68 Calf right leg | Action = "move" Must NOT = "complete" | Track N3 tributary distally on medial calf | move | PASS |
| 32 | Move -> Calf posY=0.74 medial right leg | Action = "move" | Track N3 tributary distally on medial calf | move | PASS |
| 33 | Move -> Calf posY=0.80 medial right leg | Action = "move" | Track N3 tributary distally on medial calf | move | PASS |
| 34 | Move -> Ankle posY=0.89 medial right leg | Action = "move" | Trace N3 tributary distally toward re-entry perforator | move | PASS |
| 35 | Move -> Ankle posY=0.93 medial right leg | Action = "move" | Trace N3 tributary distally toward re-entry perforator | move | PASS |
| 36 | Move -> Calf posY=0.87 medial right leg | Action = "move" | Trace N3 tributary distally toward re-entry perforator | move | PASS |
| 37 | Mark: RP N3->N1 posY=0.83 Calf right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 38 | Move -> Calf posY=0.67 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 39 | Move -> Dodd posY=0.29 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 40 | Move -> SFJ posY=0.06 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE6

Type VI (R1→R3→R1): Both junctions competent; purely N3 lateral path; EP N1->N3 source perforator; RP N3->N1 re-entry; trunk NOT involved. 32 steps.

Checked: 29   |   Passed: 29   |   Failed: 0   |   Timeouts: 3

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: s7_type6_r) | session_ready event | -- | -- | SKIP |
| 2 | Move -> SFJ posY=0.05 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease | move | PASS |
| 3 | Move -> SFJ posY=0.07 anterior-medial right leg | Action = "move" | -- | -- | TIMEOUT |
| 4 | Move -> Upper Thigh posY=0.12 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 5 | Move -> Upper Thigh posY=0.18 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 6 | Move -> Dodd posY=0.23 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 7 | Move -> Dodd posY=0.28 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 8 | Move -> Dodd posY=0.33 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 9 | Move -> Hunterian posY=0.36 medial right leg | Action = "move" | -- | move | PASS |
| 10 | Move -> Hunterian posY=0.41 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 11 | Move -> Hunterian posY=0.46 medial right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 12 | Move -> SPJ posY=0.49 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | -- | -- | TIMEOUT |
| 13 | Move -> SPJ posY=0.53 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa | move | PASS |
| 14 | Move -> SSV posY=0.58 posterior right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 15 | Move -> Calf posY=0.63 lateral right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 16 | Move -> Calf posY=0.68 lateral right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 17 | Move -> Calf posY=0.73 lateral right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 18 | Move -> Calf posY=0.78 lateral right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 19 | Move -> Ankle posY=0.86 lateral right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 20 | Move -> Ankle posY=0.92 lateral right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 21 | Move -> Calf posY=0.87 lateral right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 22 | Move -> Calf posY=0.81 lateral right leg | Action = "move" | Move proximally toward groin | move | PASS |
| 23 | Mark: EP N1->N3 posY=0.89 Ankle right leg | Action = "move" Must NOT = "complete" | Track N3 tributary distally | move | PASS |
| 24 | Move -> Calf posY=0.82 lateral right leg | Action = "move" | Move distally along calf | move | PASS |
| 25 | Move -> Calf posY=0.76 lateral right leg | Action = "move" | Move distally along calf | move | PASS |
| 26 | Move -> Calf posY=0.70 medial right leg | Action = "move" | Move distally along medial calf | move | PASS |
| 27 | Move -> Calf posY=0.70 lateral right leg | Action = "move" | -- | -- | TIMEOUT |
| 28 | Move -> Calf posY=0.64 lateral right leg | Action = "move" | Move distally along calf | move | PASS |
| 29 | Move -> Calf posY=0.68 lateral right leg | Action = "move" | Move distally along calf | move | PASS |
| 30 | Mark: RP N3->N1 posY=0.71 Calf right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 31 | Move -> Calf posY=0.70 lateral right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 32 | Move -> SPJ posY=0.50 posterior right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 33 | Move -> SFJ posY=0.06 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |