# CHIVA Streaming Guidance — Test Set 2 Report

Date: 2026-06-18  14:19:37    |    API: http://localhost:7861    |    Scenarios: 1

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| type3_full | Type 3 full — SFJ entry, trunk reflux, Hunterian escape, calf re-entry, maneuver, elimination test (No Reflux), complete. | 21 | 2 | 0 |

OVERALL RESULT: FAILURES PRESENT

# Scenario: TYPE3_FULL

Type 3 full — SFJ entry, trunk reflux, Hunterian escape, calf re-entry, maneuver, elimination test (No Reflux), complete.

Steps checked: 23   |   Passed: 21   |   Failed: 2   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts2_type3_full) | session_ready event | -- | -- | SKIP |
| 2 | Move probe to SFJ posY = 0.06 ¦ anterior-medial surface ¦ right leg | Action = "move" Guidance must mention any of: SFJ, groin, femoral | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Mark clip: EP N1→N2 posY = 0.06 ¦ SFJ ¦ right leg | Action = "move" Guidance must mention any of: distal, thigh, GSV, trunk | Move distally along medial thigh toward mid-thigh | move | PASS |
| 4 | Move probe to UPPER_THIGH posY = 0.15 ¦ medial surface ¦ right leg | Action = "move" | Track GSV distally along medial thigh | move | PASS |
| 5 | Mark clip: RP N2→N1 posY = 0.15 ¦ UPPER_THIGH ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, mid-thigh, tributary, escape | Scan for tributary escape at Hunterian perforator | move | PASS |
| 6 | Move probe to HUNTERIAN posY = 0.22 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, tributary, escape, mid-thigh | Scan for tributary escape at Hunterian perforator | move | PASS |
| 7 | Move probe to HUNTERIAN posY = 0.27 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, tributary, escape, perforator | Scan for tributary escape at Hunterian perforator | move | PASS |
| 8 | Move probe to HUNTERIAN posY = 0.32 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, tributary, escape | Scan for tributary escape at Hunterian perforator | move | PASS |
| 9 | Move probe to POPLITEAL posY = 0.47 ¦ posterior surface ¦ right leg | Action = "move" Guidance must mention any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa for SPJ | move | PASS |
| 10 | Move probe to POPLITEAL posY = 0.51 ¦ posterior surface ¦ right leg | Action = "move" | Circuit mapped — sufficient findings for classification | complete | FAIL |
| x Action: got "complete", expected "move" |  |  |  |  |  |
| 11 | Move probe to HUNTERIAN posY = 0.29 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, tributary, escape | Circuit mapped — sufficient findings for classification | complete | FAIL |
| x Action: got "complete", expected "move" x Guidance missing any of: Hunterian, tributary, escape |  |  |  |  |  |
| 12 | Mark clip: EP N2→N3 posY = 0.29 ¦ HUNTERIAN ¦ right leg | Action = "move" Must NOT fire action = "maneuver" Guidance must mention any of: tributary, distal, follow | Follow N3 tributary distally on medial thigh | move | PASS |
| 13 | Move probe to DISTAL_THIGH posY = 0.38 ¦ medial surface ¦ right leg | Action = "move" | Track N3 tributary distally toward knee | move | PASS |
| 14 | Move probe to POPLITEAL posY = 0.44 ¦ medial surface ¦ right leg | Action = "move" | Scan for re-entry perforator near popliteal fossa | move | PASS |
| 15 | Move probe to CALF posY = 0.58 ¦ medial surface ¦ right leg | Action = "move" | Follow N3 tributary distally on medial calf | move | PASS |
| 16 | Move probe to CALF posY = 0.64 ¦ medial surface ¦ right leg | Action = "move" | Track medial calf distally for re-entry perforator | move | PASS |
| 17 | Move probe to CALF posY = 0.70 ¦ medial surface ¦ right leg | Action = "move" | Scan for re-entry perforator on medial lower calf | move | PASS |
| 18 | Mark clip: RP N3→N1 posY = 0.70 ¦ CALF ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, Doppler, record | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 19 | Move probe to POPLITEAL posY = 0.46 ¦ posterior surface ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, record | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 20 | Move probe to DISTAL_THIGH posY = 0.38 ¦ medial surface ¦ right leg | Action = "maneuver" | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 21 | Move probe to HUNTERIAN posY = 0.29 ¦ medial surface ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, Doppler | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 22 | Mark clip: EP N2→N3 posY = 0.29 ¦ HUNTERIAN ¦ right leg Elimination test: No Reflux | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 23 | Move probe to HUNTERIAN posY = 0.29 ¦ medial surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 24 | Move probe to UPPER_THIGH posY = 0.17 ¦ medial surface ¦ right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |