# Cygnus Med – Task-2 Active Guidance System

# LLM-Evaluated Clinical Test Report: Type 1+2 Shunt (Real Patient Case)

Test date:  2026-07-15 11:01
Source video:  Media - Shunt type 1.mp4  (Mindray M9CV, 30 fps, 3 min 4 s)
Diagnosis:  Type 1+2 combined shunt — EP N1→N2 SFJ + RP N2→N1 thigh + EP N2→N3 mid-calf (Reflux) + RP N3→N1 lower calf
Evaluation:  Claude claude-sonnet-4-6 (Anthropic) — no keyword lists, clinical expert reasoning
Steps:  22 examination states across 8 clinical phases

## 1. Summary Scoreboard

| Metric | Score | Verdict |
| --- | --- | --- |
| Guidance CORRECT (score 3) | 0/22 (0%) | NEEDS IMPROVEMENT |
| Guidance PARTIAL (score 2) | 0/22 |  |
| Guidance WRONG (score 1) | 0/22 | PASS |
| NO RESPONSE (score 0) | 22/22 | CRITICAL FAIL |
| Action flag correct | 22/22 | PASS |
| Avg crew latency | 4806 ms | < 15 s target |

## 2. Step-by-Step Evaluation

| Step (time) | Phase | Surgeon Action (Ground Truth Event) | Probe Position | Clips Count | System Guidance | Action Flag | Expected Action | Action OK? | Eval Score | LLM Evaluator Reasoning |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| #1 0–5 s | Ph1 SFJ Arrival | Probe first placed at anteromedial groin crease. B-mode shows two adjacent anechoic ovals: larger CFV (N1) and smaller GSV (N2) on the same depth plane at the junction. | region=SFJ posY=0.06 surface=anterior-medial | 0 | Move anteriorly toward GSV at SFJ junction in groin crease | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #2 5–15 s | Ph1 SFJ Orientation | Probe rotated to longitudinal view then back to transverse. Terminal valve identified just distal to SFJ. Probe centred exactly on the saphenofemoral junction. | region=SFJ posY=0.07 surface=anterior-medial | 0 | Move anteriorly toward GSV in saphenous compartment at upper thigh | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #3 15–30 s | Ph1 SFJ Maneuvers | Surgeon performs Valsalva and Paranà maneuvers at SFJ. Both tests positive — Doppler shows reversal of flow from CFV into GSV on both maneuvers. SFJ incompetence confirmed. | region=SFJ posY=0.06 surface=anterior-medial | 0 | Move medially toward GSV at SFJ junction in groin crease | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #4 30–42 s | Ph1 EP N1→N2 Marked | Surgeon marks EP N1→N2 at SFJ (posY 0.06). Clip confirmed. SFJ entry point for shunt circuit now established. Q1 answered. Probe remains at groin for a moment before moving distally. | region=SFJ posY=0.06 surface=anterior-medial | 1 | Move distally toward GSV in saphenous compartment at upper thigh | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #5 42–52 s | Ph2 Proximal Thigh | Probe moved to proximal anteromedial thigh, just below groin crease. GSV oval visible within the saphenous fascial compartment. No perforator identified at this level. | region=Upper Thigh posY=0.14 surface=anterior-medial | 1 | Move distally toward GSV at proximal thigh. | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #6 52–62 s | Ph2 Hunterian Zone | Probe at medial mid-thigh (Hunterian canal, proximal). GSV still prominent in fascial compartment. Hunterian perforator junction sought but not yet identified. | region=Hunterian posY=0.26 surface=anterior-medial | 1 | Move distally toward Dodd perforator on medial distal thigh | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #7 62–72 s | Ph2 Mid-Thigh Reflux Test | Probe stabilised at mid-thigh (Hunterian canal). Paranà maneuver applied. Doppler shows reflux exceeding 500 ms in the GSV. RP N2→N1 clip marked at posY 0.28. | region=Hunterian posY=0.28 surface=anterior-medial | 2 | Circuit complete — classification confirmed | complete | complete | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #8 72–82 s | Ph2 Dodd Zone Transition | Probe moves to distal thigh (Dodd perforator zone, just above knee). GSV still visible in fascial compartment. No escape to tributary at this level. Probe preparing to cross knee crease to calf. | region=Dodd posY=0.42 surface=anterior-medial | 2 | Move distally toward GSV in calf. | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #9 82–92 s | Ph3 Upper Calf Entry | Probe moved to upper medial calf just below knee crease. Small GSV oval enters the calf from the thigh. No tributary junction yet at this level. | region=Calf posY=0.61 surface=anterior-medial | 2 | Move distally toward GSV in medial calf. | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #10 92–102 s | Ph3 Mid-Calf Tracking | Probe at mid-calf, anteromedial. GSV smaller. VLM now shows a small N3 structure adjacent to the GSV — possible tributary junction. | region=Calf posY=0.67 surface=anterior-medial | 2 | Move distally toward GSV in medial calf. | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #11 102–112 s | Ph3 EP N2→N3 Confirmed | Paranà at mid-calf confirms flow from GSV into the adjacent N3 tributary. Surgeon marks EP N2→N3 at posY 0.68. Q3 answered. Three clips now confirmed. | region=Calf posY=0.68 surface=anterior-medial | 3 | Move distally toward re-entry perforator on medial lower calf. | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #12 112–120 s | Ph4 Tributary Tracking | Probe moved to lower medial calf following the N3 tributary distally. Tributary widens slightly as it approaches a perforator site. Re-entry perforator not yet confirmed. | region=Calf posY=0.76 surface=anterior-medial | 3 | Move medially toward re-entry perforator on medial lower calf. | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #13 120–130 s | Ph4 Re-entry Perforator Zone | Probe at lower calf near a fascial defect. Tributary appears to dive through the fascia. Diastolic inward flow visible on Paranà release — typical biphasic re-entry perforator pattern. | region=Calf posY=0.80 surface=anterior-medial | 3 | Move medially toward re-entry perforator on medial lower calf. | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #14 130–138 s | Ph4 RP N3→N1 Confirmed | RP N3→N1 marked at lower calf (posY 0.81). All four circuit clips confirmed: EP N1→N2 + RP N2→N1 + EP N2→N3 + RP N3→N1. Circuit is complete. Elimination test now required. | region=Calf posY=0.81 surface=anterior-medial | 4 | Perform elimination test at current zone | maneuver | maneuver | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #15 138–145 s | Ph5 Maneuver Requested | Probe remains at RP N3→N1 site. Surgeon acknowledges elimination test is needed. No new clips. The system should be directing the surgeon to perform the elimination test. | region=Calf posY=0.81 surface=anterior-medial | 4 | Perform elimination test at current zone | maneuver | maneuver | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #16 145–155 s | Ph6 SPJ Approach | Probe repositioned to popliteal fossa (posterior thigh, above knee). Two adjacent ovals visible: popliteal vein (N1, larger) and SSV (N2). Surgeon assessing whether SSV contributes a separate Type 2 circuit. | region=SPJ posY=0.52 surface=posterior | 4 | Perform elimination test at current zone | maneuver | maneuver | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #17 155–162 s | Ph6 SPJ Assessed | Paranà at SPJ: SSV shows no reflux into popliteal vein. SPJ is competent — no separate SSV-driven circuit. Surgeon prepares to return probe to mid-calf for elimination test. | region=SPJ posY=0.50 surface=posterior | 4 | Perform elimination test at current zone | maneuver | maneuver | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #18 162–168 s | Ph6 Return to Escape Site | Probe returns to medial mid-calf, positioning over the EP N2→N3 site at posY 0.68. This is the compression point for the elimination test. | region=Calf posY=0.68 surface=anterior-medial | 4 | Perform elimination test at current zone | maneuver | maneuver | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #19 168–175 s | Ph7 Elim Test Compression | Surgeon compresses the N3 tributary at the escape site while observing GSV Doppler at SFJ level (held by assistant). GSV reflux CONTINUES during compression — trunk reflux is independent of the escape. This indicates Type 1+2, NOT Type 3. | region=Calf posY=0.68 surface=anterior-medial | 4 | Perform elimination test at current zone | maneuver | maneuver | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #20 175–181 s | Ph7 Elim Test Result Recorded | Surgeon records elimTest=Reflux on the EP N2→N3 clip. This is the final diagnostic data point. Type 1+2 classification is now unambiguous. | region=Calf posY=0.68 surface=anterior-medial | 4 | Circuit complete — classification confirmed | complete | complete | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #21 181–184 s | Ph8 SFJ Return Post-Diagnosis | Probe returns to SFJ for anatomical documentation and skin marking. Circuit is fully classified. Surgeon confirms SFJ as primary ligation site. | region=SFJ posY=0.06 surface=anterior-medial | 4 | Move medially toward GSV in saphenous compartment at upper thigh | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |
| #22 184–187 s | Ph8 Final State Check | Final stable probe position at SFJ. Examination concluded. Type 1+2 diagnosis finalized. Ligation at SFJ and disconnection of the escape tributary to be planned. | region=SFJ posY=0.05 surface=anterior-medial | 4 | Move distally toward GSV in saphenous compartment at upper thigh | move | move | YES | NO RESPONSE (0/3) | Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted" |

## 3. Clinical Deep-Dive (per step)

### Step 1: 0–5 s — Phase 1 – SFJ Arrival

Surgeon action: Probe first placed at anteromedial groin crease. B-mode shows two adjacent anechoic ovals: larger CFV (N1) and smaller GSV (N2) on the same depth plane at the junction.
Probe: region=SFJ  posY=0.06  surface=anterior-medial
Clips confirmed: 0
System guidance: "Move anteriorly toward GSV at SFJ junction in groin crease"
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 2: 5–15 s — Phase 1 – SFJ Orientation

Surgeon action: Probe rotated to longitudinal view then back to transverse. Terminal valve identified just distal to SFJ. Probe centred exactly on the saphenofemoral junction.
Probe: region=SFJ  posY=0.07  surface=anterior-medial
Clips confirmed: 0
System guidance: "Move anteriorly toward GSV in saphenous compartment at upper thigh"
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 3: 15–30 s — Phase 1 – SFJ Maneuvers

Surgeon action: Surgeon performs Valsalva and Paranà maneuvers at SFJ. Both tests positive — Doppler shows reversal of flow from CFV into GSV on both maneuvers. SFJ incompetence confirmed.
Probe: region=SFJ  posY=0.06  surface=anterior-medial
Clips confirmed: 0
System guidance: "Move medially toward GSV at SFJ junction in groin crease"
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 4: 30–42 s — Phase 1 – EP N1→N2 Marked

Surgeon action: Surgeon marks EP N1→N2 at SFJ (posY 0.06). Clip confirmed. SFJ entry point for shunt circuit now established. Q1 answered. Probe remains at groin for a moment before moving distally.
Probe: region=SFJ  posY=0.06  surface=anterior-medial
Clips confirmed: 1
System guidance: "Move distally toward GSV in saphenous compartment at upper thigh"
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 5: 42–52 s — Phase 2 – Proximal Thigh

Surgeon action: Probe moved to proximal anteromedial thigh, just below groin crease. GSV oval visible within the saphenous fascial compartment. No perforator identified at this level.
Probe: region=Upper Thigh  posY=0.14  surface=anterior-medial
Clips confirmed: 1
System guidance: "Move distally toward GSV at proximal thigh."
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 6: 52–62 s — Phase 2 – Hunterian Zone

Surgeon action: Probe at medial mid-thigh (Hunterian canal, proximal). GSV still prominent in fascial compartment. Hunterian perforator junction sought but not yet identified.
Probe: region=Hunterian  posY=0.26  surface=anterior-medial
Clips confirmed: 1
System guidance: "Move distally toward Dodd perforator on medial distal thigh"
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 7: 62–72 s — Phase 2 – Mid-Thigh Reflux Test

Surgeon action: Probe stabilised at mid-thigh (Hunterian canal). Paranà maneuver applied. Doppler shows reflux exceeding 500 ms in the GSV. RP N2→N1 clip marked at posY 0.28.
Probe: region=Hunterian  posY=0.28  surface=anterior-medial
Clips confirmed: 2
System guidance: "Circuit complete — classification confirmed"
Action flag: complete  (expected: complete)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 8: 72–82 s — Phase 2 – Dodd Zone Transition

Surgeon action: Probe moves to distal thigh (Dodd perforator zone, just above knee). GSV still visible in fascial compartment. No escape to tributary at this level. Probe preparing to cross knee crease to calf.
Probe: region=Dodd  posY=0.42  surface=anterior-medial
Clips confirmed: 2
System guidance: "Move distally toward GSV in calf."
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 9: 82–92 s — Phase 3 – Upper Calf Entry

Surgeon action: Probe moved to upper medial calf just below knee crease. Small GSV oval enters the calf from the thigh. No tributary junction yet at this level.
Probe: region=Calf  posY=0.61  surface=anterior-medial
Clips confirmed: 2
System guidance: "Move distally toward GSV in medial calf."
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 10: 92–102 s — Phase 3 – Mid-Calf Tracking

Surgeon action: Probe at mid-calf, anteromedial. GSV smaller. VLM now shows a small N3 structure adjacent to the GSV — possible tributary junction.
Probe: region=Calf  posY=0.67  surface=anterior-medial
Clips confirmed: 2
System guidance: "Move distally toward GSV in medial calf."
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 11: 102–112 s — Phase 3 – EP N2→N3 Confirmed

Surgeon action: Paranà at mid-calf confirms flow from GSV into the adjacent N3 tributary. Surgeon marks EP N2→N3 at posY 0.68. Q3 answered. Three clips now confirmed.
Probe: region=Calf  posY=0.68  surface=anterior-medial
Clips confirmed: 3
System guidance: "Move distally toward re-entry perforator on medial lower calf."
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 12: 112–120 s — Phase 4 – Tributary Tracking

Surgeon action: Probe moved to lower medial calf following the N3 tributary distally. Tributary widens slightly as it approaches a perforator site. Re-entry perforator not yet confirmed.
Probe: region=Calf  posY=0.76  surface=anterior-medial
Clips confirmed: 3
System guidance: "Move medially toward re-entry perforator on medial lower calf."
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 13: 120–130 s — Phase 4 – Re-entry Perforator Zone

Surgeon action: Probe at lower calf near a fascial defect. Tributary appears to dive through the fascia. Diastolic inward flow visible on Paranà release — typical biphasic re-entry perforator pattern.
Probe: region=Calf  posY=0.80  surface=anterior-medial
Clips confirmed: 3
System guidance: "Move medially toward re-entry perforator on medial lower calf."
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 14: 130–138 s — Phase 4 – RP N3→N1 Confirmed

Surgeon action: RP N3→N1 marked at lower calf (posY 0.81). All four circuit clips confirmed: EP N1→N2 + RP N2→N1 + EP N2→N3 + RP N3→N1. Circuit is complete. Elimination test now required.
Probe: region=Calf  posY=0.81  surface=anterior-medial
Clips confirmed: 4
System guidance: "Perform elimination test at current zone"
Action flag: maneuver  (expected: maneuver)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 15: 138–145 s — Phase 5 – Maneuver Requested

Surgeon action: Probe remains at RP N3→N1 site. Surgeon acknowledges elimination test is needed. No new clips. The system should be directing the surgeon to perform the elimination test.
Probe: region=Calf  posY=0.81  surface=anterior-medial
Clips confirmed: 4
System guidance: "Perform elimination test at current zone"
Action flag: maneuver  (expected: maneuver)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 16: 145–155 s — Phase 6 – SPJ Approach

Surgeon action: Probe repositioned to popliteal fossa (posterior thigh, above knee). Two adjacent ovals visible: popliteal vein (N1, larger) and SSV (N2). Surgeon assessing whether SSV contributes a separate Type 2 circuit.
Probe: region=SPJ  posY=0.52  surface=posterior
Clips confirmed: 4
System guidance: "Perform elimination test at current zone"
Action flag: maneuver  (expected: maneuver)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 17: 155–162 s — Phase 6 – SPJ Assessed

Surgeon action: Paranà at SPJ: SSV shows no reflux into popliteal vein. SPJ is competent — no separate SSV-driven circuit. Surgeon prepares to return probe to mid-calf for elimination test.
Probe: region=SPJ  posY=0.50  surface=posterior
Clips confirmed: 4
System guidance: "Perform elimination test at current zone"
Action flag: maneuver  (expected: maneuver)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 18: 162–168 s — Phase 6 – Return to Escape Site

Surgeon action: Probe returns to medial mid-calf, positioning over the EP N2→N3 site at posY 0.68. This is the compression point for the elimination test.
Probe: region=Calf  posY=0.68  surface=anterior-medial
Clips confirmed: 4
System guidance: "Perform elimination test at current zone"
Action flag: maneuver  (expected: maneuver)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 19: 168–175 s — Phase 7 – Elim Test Compression

Surgeon action: Surgeon compresses the N3 tributary at the escape site while observing GSV Doppler at SFJ level (held by assistant). GSV reflux CONTINUES during compression — trunk reflux is independent of the escape. This indicates Type 1+2, NOT Type 3.
Probe: region=Calf  posY=0.68  surface=anterior-medial
Clips confirmed: 4
System guidance: "Perform elimination test at current zone"
Action flag: maneuver  (expected: maneuver)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 20: 175–181 s — Phase 7 – Elim Test Result Recorded

Surgeon action: Surgeon records elimTest=Reflux on the EP N2→N3 clip. This is the final diagnostic data point. Type 1+2 classification is now unambiguous.
Probe: region=Calf  posY=0.68  surface=anterior-medial
Clips confirmed: 4
System guidance: "Circuit complete — classification confirmed"
Action flag: complete  (expected: complete)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 21: 181–184 s — Phase 8 – SFJ Return Post-Diagnosis

Surgeon action: Probe returns to SFJ for anatomical documentation and skin marking. Circuit is fully classified. Surgeon confirms SFJ as primary ligation site.
Probe: region=SFJ  posY=0.06  surface=anterior-medial
Clips confirmed: 4
System guidance: "Move medially toward GSV in saphenous compartment at upper thigh"
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

### Step 22: 184–187 s — Phase 8 – Final State Check

Surgeon action: Final stable probe position at SFJ. Examination concluded. Type 1+2 diagnosis finalized. Ligation at SFJ and disconnection of the escape tributary to be planned.
Probe: region=SFJ  posY=0.05  surface=anterior-medial
Clips confirmed: 4
System guidance: "Move distally toward GSV in saphenous compartment at upper thigh"
Action flag: move  (expected: move)
Evaluator verdict: NO RESPONSE (0/3)
Evaluator reasoning: Evaluator error: "Could not resolve authentication method. Expected one of api_key, auth_token, or credentials to be set. Or for one of the `X-Api-Key` or `Authorization` headers to be explicitly omitted"

## 4. Phase-Level Summary

| Phase | Steps | CORRECT | PARTIAL/WRONG | Action OK |
| --- | --- | --- | --- | --- |
| Phase 1 | 4 | 0/4 | 4 | 4/4 |
| Phase 2 | 4 | 0/4 | 4 | 4/4 |
| Phase 3 | 3 | 0/3 | 3 | 3/3 |
| Phase 4 | 3 | 0/3 | 3 | 3/3 |
| Phase 5 | 1 | 0/1 | 1 | 1/1 |
| Phase 6 | 3 | 0/3 | 3 | 3/3 |
| Phase 7 | 2 | 0/2 | 2 | 2/2 |
| Phase 8 | 2 | 0/2 | 2 | 2/2 |