# Cygnus Med – Task-2 Active Guidance System

# Real-Data Scenario Test Report: Type 1 + 2 Shunt

Test date:      2026-07-10 14:31:04
Backend URL:    http://127.0.0.1:7861
Source video:   Media - Shunt type 1.mp4  (3 min 4 s, Mindray M9CV)
Diagnosis:      Type 1 + 2 shunt (CHIVA classification)
Patient:        Standing, right leg

## 1. Clinical Background

This test is built from a real CHIVA venous duplex ultrasound examination. The video (3 min 4 s) shows a surgeon using a Mindray M9CV scanner with an 8 MHz linear probe on a standing patient's right leg. The following clinical workflow was identified by frame-by-frame analysis:

Phase 1 (0–40 s) – SFJ Assessment: B-mode identifies the saphenofemoral junction. Colour Doppler activated, shows bidirectional turbulent flow. A large solid-RED signal (toward probe = retrograde) confirms significant reflux entering the GSV at the SFJ — the escape point of the Type 1 shunt. Probe physically at upper inner groin.

Phase 2 (40–80 s) – GSV Thigh Tracking: Probe moves distally along the anteromedial thigh tracking the GSV trunk. Colour Doppler confirms continuous red fill (retrograde) in the GSV through Upper Thigh → Hunterian canal → Dodd perforator zone. PW Doppler at mid-thigh captures a downward waveform (SVD≈16.6 mm, Angle −60°) — spectral confirmation of retrograde GSV flow. This is the full Type 1 shunt pathway.

Phase 3 (80–130 s) – Lower Leg Scan: Probe moved from knee to ankle on the anteromedial calf. B-mode shows the GSV as a single small anechoic oval in the fascial compartment at each level. Large cluster of vessels visible at popliteal area during transit. Surgeon maps the extent of the GSV reflux column down to the ankle.

Phase 4 (130–160 s) – SPJ Assessment: Probe placed at the popliteal fossa (posterior knee). Colour Doppler reveals TWO large adjacent anechoic ovals: popliteal vein (N1) and SSV (N2). A red signal at their interface = retrograde SSV flow entering the popliteal vein. PW Doppler gate positioned (Angle 60°). This confirms the Type 2 shunt: SPJ incompetence driving SSV reflux.

Phase 5 (160–183 s) – Elimination Test at SFJ: Probe returns to the groin. Colour Doppler shows large mixed RED+BLUE signal at SFJ — bidirectional turbulent flow during calf squeeze. PW Doppler spectral trace captured: prominent upward peak (antegrade on calf squeeze) followed by a downward deflection (retrograde on release). This POSITIVE elimination test confirms the SFJ as the sole escape point feeding the Type 1 reflux. Final diagnosis: Type 1 + 2 combined shunt.

## 2. Test Summary

Total tests:  33
Passed:  31  (93%)
Failed:  2

## 3. Detailed Test Results

| Phase | Test Name | Result | Expected | Actual | Time (ms) |
| --- | --- | --- | --- | --- | --- |
| Phase 0 – Health | Backend reachable at port 7861 | PASS | HTTP 200 | HTTP 200 | 14 |
| Phase 0 – Health | /api/scenarios returns scenario list | PASS | list with ≥1 entries | HTTP 200, 5 items | 1 |
| Phase 1 – SFJ | Single-reading localisation: SFJ (dist=0.05, front) | PASS | SFJ | SFJ | 14 |
| Phase 1 – SFJ | Batch localisation (10 readings): SFJ window settles | PASS | SFJ | SFJ | 15 |
| Phase 1 – SFJ | LLM prompt at SFJ contains clinical context keywords | PASS | all of: ['sfj', 'saphenofemoral', 'n2', 'n1'] | all found | 382 |
| Phase 1 – SFJ | LLM guidance response is non-empty and non-error at SFJ | FAIL | Non-empty guidance string, no error message, llm_raw non-empty | guidance='LLM error: LLM returned non-JSON: ', llm_raw_len=0, error='LLM returned non-JSON: ' | 1280 |
| Phase 1 – SFJ | /api/vein-frame?region=SFJ returns an image | PASS | HTTP 200 with vein frame | HTTP 200, vein=GSV_Prox, label=GSV proximal trunk | 25 |
| Phase 1 – SFJ | Wrong-region: SPJ flagged when SFJ expected | PASS | is_wrong=True | is_wrong=True, reason=Probe is scanning posterior anatomy (SPJ) but the protocol requires anterior exa | 13 |
| Phase 2 – GSV Thigh | Localisation: GSV-THI at upper thigh / ~Hunter proximal (dist≈0.25) | PASS | GSV-THI | GSV-THI | 15 |
| Phase 2 – GSV Thigh | Localisation: GSV-THI at mid thigh / Hunterian canal (dist≈0.45) | PASS | GSV-THI | GSV-THI | 16 |
| Phase 2 – GSV Thigh | Localisation: GSV-THI at distal thigh / Dodd perforator zone (dist≈0.65) | PASS | GSV-THI | GSV-THI | 1 |
| Phase 2 – GSV Thigh | LLM prompt at GSV-THI contains clinical context keywords | PASS | all of: ['gsv', 'thigh', 'n2', 'fascial'] | all found | 385 |
| Phase 2 – GSV Thigh | Transition: SFJ → GSV-THI (4 SFJ + 7 GSV-THI readings, window=10, threshold=0.6) | PASS | GSV-THI | GSV-THI | 15 |
| Phase 3 – Lower Leg | Localisation: GSV-CAL at upper calf (seg=1, dist≈0.2) | PASS | GSV-CAL | GSV-CAL | 16 |
| Phase 3 – Lower Leg | Localisation: GSV-CAL at mid calf (seg=1, dist≈0.45) | PASS | GSV-CAL | GSV-CAL | 14 |
| Phase 3 – Lower Leg | Localisation: GSV-CAL at lower calf/ankle (seg=1, dist≈0.8) | PASS | GSV-CAL | GSV-CAL | 1 |
| Phase 3 – Lower Leg | /api/vein-frame?region=GSV-CAL returns image | PASS | HTTP 200 | HTTP 200 | 14 |
| Phase 3 – Lower Leg | LLM prompt at GSV-CAL contains clinical context keywords | PASS | all of: ['gsv', 'calf', 'n2', 'fascial'] | all found | 449 |
| Phase 4 – SPJ | Localisation: SPJ from back of thigh (dist≈0.88, posterior) | PASS | SPJ | SPJ | 16 |
| Phase 4 – SPJ | Localisation: SPJ from posterior calf top (dist≈0.02, posterior) | PASS | SPJ | SPJ | 16 |
| Phase 4 – SPJ | LLM prompt at SPJ contains SSV + popliteal context | PASS | all of: ['spj', 'saphenopopliteal', 'n2'] | all found | 467 |
| Phase 4 – SPJ | /api/vein-frame?region=SPJ returns image | PASS | HTTP 200 | HTTP 200 | 21 |
| Phase 4 – SPJ | Wrong-region: GSV-CAL flagged when SPJ expected | PASS | is_wrong=True | is_wrong=True | 14 |
| Phase 5 – Elimination Test | Return to SFJ after full-leg scan: re-classified correctly | PASS | SFJ | SFJ | 16 |
| Phase 5 – Elimination Test | LLM prompt at SFJ (elimination) includes compression/reflux context | PASS | all of: ['sfj', 'saphenofemoral', 'n1'] | all found | 400 |
| Phase 5 – Elimination Test | LLM guidance response is non-empty at elimination-test SFJ | FAIL | Non-empty guidance, no LLM error | guidance='LLM error: LLM returned non-JSON: ', llm_raw_len=0, error='LLM returned non-JSON: ' | 866 |
| Phase 5 – Elimination Test | /api/vein-frame?region=SFJ&pos_y=0.07 returns image | PASS | HTTP 200 | HTTP 200 | 24 |
| Phase 5 – Elimination Test | /api/scenario/A endpoint reachable | PASS | HTTP 200 or 404 (not 500) | HTTP 404 | 1 |
| Phase 6 – Robustness | Boundary: dist=0.13 (SFJ/Upper Thigh threshold) | PASS | SFJ or Upper Thigh | SFJ | 15 |
| Phase 6 – Robustness | Boundary: dist=0.80, posterior (SPJ/Dodd threshold) | PASS | SPJ or Dodd | SPJ | 16 |
| Phase 6 – Robustness | Invalid payload returns 400 not 500 | PASS | HTTP 400 | HTTP 400 | 0 |
| Phase 6 – Robustness | /api/localize/reset returns {ok: true} | PASS | {"ok": true} | {'ok': True, 'session_id': 'shunt_type12_scenario_test'} | 15 |
| Phase 6 – Robustness | /api/guidance-regions returns ≥5 regions | PASS | list with ≥5 entries | HTTP 200, 5 items | 15 |

## 4. API Response Details (Failed Tests)

### LLM guidance response is non-empty and non-error at SFJ

Phase:    Phase 1 – SFJ
Expected: Non-empty guidance string, no error message, llm_raw non-empty
Actual:   guidance='LLM error: LLM returned non-JSON: ', llm_raw_len=0, error='LLM returned non-JSON: '

API Response (truncated):

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "error": "LLM returned non-JSON: ",
  "llm_raw_len": 0
}

### LLM guidance response is non-empty at elimination-test SFJ

Phase:    Phase 5 – Elimination Test
Expected: Non-empty guidance, no LLM error
Actual:   guidance='LLM error: LLM returned non-JSON: ', llm_raw_len=0, error='LLM returned non-JSON: '

API Response (truncated):

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "error": "LLM returned non-JSON: "
}

## 5. Full API Responses (All Tests)

### [PASS] Backend reachable at port 7861

Phase: Phase 0 – Health

{
  "groq_configured": true,
  "ok": true
}

### [PASS] /api/scenarios returns scenario list

Phase: Phase 0 – Health

{
  "scenarios": [
    "S1",
    "S2",
    "S3",
    "S4",
    "S5"
  ]
}

### [PASS] Single-reading localisation: SFJ (dist=0.05, front)

Phase: Phase 1 – SFJ

{
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, front, 5% along segment - Saphenofemoral Junction",
    "is_front": true,
    "leg": "left",
    "region": "SFJ",
    "region_full_name": "Saphenofemoral Junction",
    "segment_dist": 0.05,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Batch localisation (10 readings): SFJ window settles

Phase: Phase 1 – SFJ

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, front, 8% along segment - Saphenofemoral Junction",
    "is_front": true,
    "leg": "left",
    "region": "SFJ",
    "region_full_name": "Saphenofemoral Junction",
    "segment_dist": 0.077,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] LLM prompt at SFJ contains clinical context keywords

Phase: Phase 1 – SFJ

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "error": "LLM returned non-JSON: ",
  "prompt_length": 661
}

### [FAIL] LLM guidance response is non-empty and non-error at SFJ

Phase: Phase 1 – SFJ

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "error": "LLM returned non-JSON: ",
  "llm_raw_len": 0
}

### [PASS] /api/vein-frame?region=SFJ returns an image

Phase: Phase 1 – SFJ

{
  "_raw_status": 200,
  "_content_type": "image/jpeg",
  "_headers": {
    "Server": "Werkzeug/3.1.8 Python/3.12.10",
    "Date": "Fri, 10 Jul 2026 06:31:01 GMT",
    "Content-Disposition": "inline; filename=202401290912_51_obj00_f008029.jpg",
    "Content-Type": "image/jpeg",
    "Content-Length": "16819",
    "Last-Modified": "Wed, 08 Jul 2026 09:15:00 GMT",
    "Cache-Control": "no-store",
    "ETag": "\"1783502100.4147408-16819-1160588138\"",
    "Accept-Ranges": "bytes",
    "X-Vein-Type": "GSV_Prox",
    "X-Vein-Label": "GSV proximal trunk",
    "Access-Control-Expose-Headers": "X-Vein-Type, X-Vein-Label",
    "Access-Control-Allow-Origin": "*",
    "Connection": "close"
  }
}

### [PASS] Wrong-region: SPJ flagged when SFJ expected

Phase: Phase 1 – SFJ

{
  "is_wrong": true,
  "reason": "Probe is scanning posterior anatomy (SPJ) but the protocol requires anterior examination (SFJ). Patient should face the examiner.",
  "suggestion": "Ask the patient to face you, then reposition probe."
}

### [PASS] Localisation: GSV-THI at upper thigh / ~Hunter proximal (dist≈0.25)

Phase: Phase 2 – GSV Thigh

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, front, 27% along segment - Great Saphenous Vein - Thigh",
    "is_front": true,
    "leg": "left",
    "region": "GSV-THI",
    "region_full_name": "Great Saphenous Vein - Thigh",
    "segment_dist": 0.268,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Localisation: GSV-THI at mid thigh / Hunterian canal (dist≈0.45)

Phase: Phase 2 – GSV Thigh

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, front, 47% along segment - Great Saphenous Vein - Thigh",
    "is_front": true,
    "leg": "left",
    "region": "GSV-THI",
    "region_full_name": "Great Saphenous Vein - Thigh",
    "segment_dist": 0.468,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Localisation: GSV-THI at distal thigh / Dodd perforator zone (dist≈0.65)

Phase: Phase 2 – GSV Thigh

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, front, 67% along segment - Great Saphenous Vein - Thigh",
    "is_front": true,
    "leg": "left",
    "region": "GSV-THI",
    "region_full_name": "Great Saphenous Vein - Thigh",
    "segment_dist": 0.668,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] LLM prompt at GSV-THI contains clinical context keywords

Phase: Phase 2 – GSV Thigh

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "prompt_len": 680
}

### [PASS] Transition: SFJ → GSV-THI (4 SFJ + 7 GSV-THI readings, window=10, threshold=0.6)

Phase: Phase 2 – GSV Thigh

{
  "errors": [],
  "location": {
    "confidence": 0.7,
    "description": "Left thigh, front, 41% along segment - Great Saphenous Vein - Thigh",
    "is_front": true,
    "leg": "left",
    "region": "GSV-THI",
    "region_full_name": "Great Saphenous Vein - Thigh",
    "segment_dist": 0.41,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 11,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Localisation: GSV-CAL at upper calf (seg=1, dist≈0.2)

Phase: Phase 3 – Lower Leg

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left calf, front, 22% along segment - Great Saphenous Vein - Calf",
    "is_front": true,
    "leg": "left",
    "region": "GSV-CAL",
    "region_full_name": "Great Saphenous Vein - Calf",
    "segment_dist": 0.218,
    "segment_id": 1,
    "segment_type": "calf",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Localisation: GSV-CAL at mid calf (seg=1, dist≈0.45)

Phase: Phase 3 – Lower Leg

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left calf, front, 47% along segment - Great Saphenous Vein - Calf",
    "is_front": true,
    "leg": "left",
    "region": "GSV-CAL",
    "region_full_name": "Great Saphenous Vein - Calf",
    "segment_dist": 0.468,
    "segment_id": 1,
    "segment_type": "calf",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Localisation: GSV-CAL at lower calf/ankle (seg=1, dist≈0.8)

Phase: Phase 3 – Lower Leg

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left calf, front, 82% along segment - Great Saphenous Vein - Calf",
    "is_front": true,
    "leg": "left",
    "region": "GSV-CAL",
    "region_full_name": "Great Saphenous Vein - Calf",
    "segment_dist": 0.818,
    "segment_id": 1,
    "segment_type": "calf",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] /api/vein-frame?region=GSV-CAL returns image

Phase: Phase 3 – Lower Leg

{
  "_raw_status": 200,
  "_content_type": "image/jpeg",
  "_headers": {
    "Server": "Werkzeug/3.1.8 Python/3.12.10",
    "Date": "Fri, 10 Jul 2026 06:31:02 GMT",
    "Content-Disposition": "inline; filename=202401290912_51_obj01_f018599.jpg",
    "Content-Type": "image/jpeg",
    "Content-Length": "25094",
    "Last-Modified": "Wed, 08 Jul 2026 09:15:01 GMT",
    "Cache-Control": "no-store",
    "ETag": "\"1783502101.0156405-25094-2748132400\"",
    "Accept-Ranges": "bytes",
    "X-Vein-Type": "GSV_Distal",
    "X-Vein-Label": "GSV distal trunk",
    "Access-Control-Expose-Headers": "X-Vein-Type, X-Vein-Label",
    "Access-Control-Allow-Origin": "*",
    "Connection": "close"
  }
}

### [PASS] LLM prompt at GSV-CAL contains clinical context keywords

Phase: Phase 3 – Lower Leg

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "prompt_len": 684
}

### [PASS] Localisation: SPJ from back of thigh (dist≈0.88, posterior)

Phase: Phase 4 – SPJ

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, back, 88% along segment - Saphenopopliteal Junction",
    "is_front": false,
    "leg": "left",
    "region": "SPJ",
    "region_full_name": "Saphenopopliteal Junction",
    "segment_dist": 0.877,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Localisation: SPJ from posterior calf top (dist≈0.02, posterior)

Phase: Phase 4 – SPJ

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left calf, back, 4% along segment - Saphenopopliteal Junction",
    "is_front": false,
    "leg": "left",
    "region": "SPJ",
    "region_full_name": "Saphenopopliteal Junction",
    "segment_dist": 0.038,
    "segment_id": 1,
    "segment_type": "calf",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] LLM prompt at SPJ contains SSV + popliteal context

Phase: Phase 4 – SPJ

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "prompt_len": 661
}

### [PASS] /api/vein-frame?region=SPJ returns image

Phase: Phase 4 – SPJ

{
  "_raw_status": 200,
  "_content_type": "image/jpeg",
  "_headers": {
    "Server": "Werkzeug/3.1.8 Python/3.12.10",
    "Date": "Fri, 10 Jul 2026 06:31:03 GMT",
    "Content-Disposition": "inline; filename=frame_000048.jpg",
    "Content-Type": "image/jpeg",
    "Content-Length": "15013",
    "Last-Modified": "Wed, 08 Jul 2026 09:26:54 GMT",
    "Cache-Control": "no-store",
    "ETag": "\"1783502814.6436226-15013-1601185007\"",
    "Accept-Ranges": "bytes",
    "X-Vein-Type": "spj",
    "X-Vein-Label": "SPJ (saphenopopliteal junction)",
    "Access-Control-Expose-Headers": "X-Vein-Type, X-Vein-Label",
    "Access-Control-Allow-Origin": "*",
    "Connection": "close"
  }
}

### [PASS] Wrong-region: GSV-CAL flagged when SPJ expected

Phase: Phase 4 – SPJ

{
  "is_wrong": true,
  "reason": "Probe is scanning anterior anatomy (GSV-CAL) but the protocol requires posterior examination (SPJ). The patient needs to turn away from the examiner.",
  "suggestion": "Ask the patient to turn around, then reposition probe to popliteal area."
}

### [PASS] Return to SFJ after full-leg scan: re-classified correctly

Phase: Phase 5 – Elimination Test

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, front, 8% along segment - Saphenofemoral Junction",
    "is_front": true,
    "leg": "left",
    "region": "SFJ",
    "region_full_name": "Saphenofemoral Junction",
    "segment_dist": 0.077,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] LLM prompt at SFJ (elimination) includes compression/reflux context

Phase: Phase 5 – Elimination Test

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "prompt_len": 661
}

### [FAIL] LLM guidance response is non-empty at elimination-test SFJ

Phase: Phase 5 – Elimination Test

{
  "guidance": "LLM error: LLM returned non-JSON: ",
  "error": "LLM returned non-JSON: "
}

### [PASS] /api/vein-frame?region=SFJ&pos_y=0.07 returns image

Phase: Phase 5 – Elimination Test

{
  "_raw_status": 200,
  "_content_type": "image/jpeg",
  "_headers": {
    "Server": "Werkzeug/3.1.8 Python/3.12.10",
    "Date": "Fri, 10 Jul 2026 06:31:04 GMT",
    "Content-Disposition": "inline; filename=202401290912_51_obj00_f008029.jpg",
    "Content-Type": "image/jpeg",
    "Content-Length": "16819",
    "Last-Modified": "Wed, 08 Jul 2026 09:15:00 GMT",
    "Cache-Control": "no-store",
    "ETag": "\"1783502100.4147408-16819-1160588138\"",
    "Accept-Ranges": "bytes",
    "X-Vein-Type": "GSV_Prox",
    "X-Vein-Label": "GSV proximal trunk",
    "Access-Control-Expose-Headers": "X-Vein-Type, X-Vein-Label",
    "Access-Control-Allow-Origin": "*",
    "Connection": "close"
  }
}

### [PASS] /api/scenario/A endpoint reachable

Phase: Phase 5 – Elimination Test

{
  "error": "HTTP Error 404: NOT FOUND"
}

### [PASS] Boundary: dist=0.13 (SFJ/Upper Thigh threshold)

Phase: Phase 6 – Robustness

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, front, 13% along segment - Saphenofemoral Junction",
    "is_front": true,
    "leg": "left",
    "region": "SFJ",
    "region_full_name": "Saphenofemoral Junction",
    "segment_dist": 0.13,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Boundary: dist=0.80, posterior (SPJ/Dodd threshold)

Phase: Phase 6 – Robustness

{
  "errors": [],
  "location": {
    "confidence": 1.0,
    "description": "Left thigh, back, 80% along segment - Saphenopopliteal Junction",
    "is_front": false,
    "leg": "left",
    "region": "SPJ",
    "region_full_name": "Saphenopopliteal Junction",
    "segment_dist": 0.8,
    "segment_id": 0,
    "segment_type": "thigh",
    "stable": true,
    "x": null,
    "y": null
  },
  "readings_processed": 10,
  "wrong_region": {
    "is_wrong": false,
    "reason": null,
    "suggestion": null
  }
}

### [PASS] Invalid payload returns 400 not 500

Phase: Phase 6 – Robustness

(no JSON response)

### [PASS] /api/localize/reset returns {ok: true}

Phase: Phase 6 – Robustness

{
  "ok": true,
  "session_id": "shunt_type12_scenario_test"
}

### [PASS] /api/guidance-regions returns ≥5 regions

Phase: Phase 6 – Robustness

{
  "count": 5
}