# COMPREHENSIVE LLM EVALUATION REPORT

LLAMA 70B Versatile (Groq) vs Qwen2.5-7B V2 (Fine-tuned)

# Evaluation Setup

Timestamp: 2026-05-13T14:42:55.619230

Test Cases Evaluated: 22

Models Compared:

• LLAMA 70B Versatile (Groq API)

• Qwen V2 (Local: Qwen25-7B + qwen25_chiva_v2 merged)

Task 1: Shunt Classification (CHIVA rules, NO RAG)

Task 2: Ligation Planning (RAG + Cross-Encoder Reranking + BM25 + Few-shot examples)

Query Formats:

• V1: Clip notation (EP/RP with y-values) + Simple natural language

• V2: Pure medical terminology (no raw clip notation)

# TASK 1: SHUNT CLASSIFICATION (NO RAG)

## Test Case: shunt type 1+2 - large diameter (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: EP N2→N3  y=0.132 [GSV-to-TRIBUTARY-ENTRY: N2→N3]
  Clip 02: RP N3→N1  y=0.212 [TRIBUTARY-REFLUX: N3→N1]
  Clip 03: RP N2→N1  y=0.289 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ. The existence of EP N2→N3 along with RP N3→N1 and RP N2→N1, and considering the elimination test result, leads to the classification of TYPE 1+2.",
    "summary": "The patient has a TYPE 1+2 shunt due to the combination of SFJ incompetence, GSV reflux, and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; antegrade flow from saphenous trunk feeding into tributaries; retrograde reflux in tributary branches toward deep venous system; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ. The existence of EP N2→N3 along with RP N3→N1 and RP N2→N1, and considering the elimination test result, leads to the classification of TYPE 1+2.",
    "summary": "The shunt is classified as TYPE 1+2 due to the incompetent SFJ and specific reflux patterns."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

## Test Case: shunt type 1+2 - small diameter (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: EP N2→N3  y=0.132 [GSV-to-TRIBUTARY-ENTRY: N2→N3]
  Clip 02: RP N3→N1  y=0.212 [TRIBUTARY-REFLUX: N3→N1]
  Clip 03: RP N2→N1  y=0.289 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ. Additionally, EP N2→N3 and both RP N3→N1 and RP N2→N1 are present, which matches the criteria for Type 1+2. The elimination test result is not provided, but based on the given clips, the shunt type can be determined as Type 1+2 due to the combination of SFJ incompetence, tributary reflux, and GSV trunk reflux.",
    "summary": "The shunt is classified as Type 1+2 due to the combination of SFJ incompetence, tributary reflux,

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; antegrade flow from saphenous trunk feeding into tributaries; retrograde reflux in tributary branches toward deep venous system; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ. The existence of EP N2→N3 along with RP N3→N1 and RP N2→N1, and considering the elimination test result, leads to the classification of TYPE 1+2.",
    "summary": "The patient has a TYPE 1+2 shunt due to the combination of SFJ incompetence, GSV reflux, and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

## Test Case: shunt type 1 (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: RP N2→N1  y=0.132 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 1

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.95,
    "reasoning": "Clip 00 shows EP N1→N2, indicating an incompetent SFJ, and Clip 01 shows RP N2→N1, indicating reflux from the GSV to the deep venous system, with no EP N2→N3 present.",
    "summary": "The patient has a Type 1 shunt due to an incompetent SFJ with reflux from the GSV to the deep venous system."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Clip 01 confirms RP N2→N1. There is no EP N2→N3. By the rules, this matches: \'EP N1→N2 + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.95,
    "reasoning": "Clip 00 shows EP N1→N2, indicating an incompetent SFJ, and Clip 01 shows RP N2→N1, indicating reflux from the GSV trunk to the deep venous system, with no EP N2→N3 present.",
    "summary": "The patient has a Type 1 shunt due to an incompetent SFJ with reflux from the GSV trunk to the deep venous system."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Clip 01 confirms RP N2→N1. There is no EP N2→N3. By the rules, this matches: \'EP N1→N2 + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

## Test Case: shunt type 2 - equal calibre, equal distance (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]
  Clip 01: RP N3→N1  y=0.132 [TRIBUTARY-REFLUX: N3→N1]
  Clip 02: RP N3→N2  y=0.212 [TRIBUTARY-REFLUX: N3→N2]

### V1 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, signifying a perforator entry. There are RP N3→N1 and RP N3→N2 clips, indicating tributary reflux, but no RP N2→N1 clip, which is consistent with Type 2B.",
    "summary": "The patient has a Type 2B shunt with a competent SFJ and perforator entry."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). RP N3→N1 (N3 reflux) and RP N2→N1 (GSV trunk reflux) are present. There is no EP N1→N2 (no SFJ entry). By the critical rule, this matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + RP N2→N1 -> TYPE 2C'.",
    "summary": "No SFJ

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: retrograde reflux in tributary branches toward deep venous system; retrograde reflux in tributary branches toward saphenous trunk in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, signifying a perforator entry. Additionally, RP N3→N1 and RP N3→N2 clips are found, indicating tributary reflux, but no RP N2→N1 clip is present, which aligns with the criteria for Type 2B.",
    "summary": "The shunt is classified as Type 2B due to the presence of a perforator entry and tributary reflux without GSV trunk reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). RP N3→N1 (N3 reflux) and RP N2→N1 (GSV trunk reflux) are present. There is no EP N1→N2 (no SFJ entry). By the critical rule, this matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + RP N2→N1 -> TYPE 2C'.",
    "summary": "No SFJ

## Test Case: shunt type 2 - equal calibre, unequal distance (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]
  Clip 01: RP N3→N1  y=0.132 [TRIBUTARY-REFLUX: N3→N1]
  Clip 02: RP N3→N2  y=0.212 [TRIBUTARY-REFLUX: N3→N2]

### V1 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, signifying a perforator entry. Additionally, RP N3→N1 and RP N3→N2 clips are found, indicating tributary reflux, but no RP N2→N1 clip is present, which aligns with the characteristics of a Type 2B shunt.",
    "summary": "The patient has a Type 2B shunt with perforator entry and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). RP N3→N1 (N3 reflux) and RP N2→N1 (GSV trunk reflux) are present. There is no EP N1→N2 (no SFJ entry). By the critical rule, this matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + RP N2→N1 -> TYPE 2C'.",
    "summary": "No SFJ

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: retrograde reflux in tributary branches toward deep venous system; retrograde reflux in tributary branches toward saphenous trunk in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, indicating a perforator entry. There are RP N3→N1 and RP N3→N2 clips, indicating tributary reflux, but no RP N2→N1 clip, which is consistent with a Type 2B shunt.",
    "summary": "The patient has a Type 2B shunt with a competent SFJ and perforator entry."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). RP N3→N1 (N3 reflux) and RP N2→N1 (GSV trunk reflux) are present. There is no EP N1→N2 (no SFJ entry). By the critical rule, this matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + RP N2→N1 -> TYPE 2C'.",
    "summary": "No SFJ

## Test Case: shunt type 2 - unequal calibre, no drainage (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]
  Clip 01: RP N3→N1  y=0.132 [TRIBUTARY-REFLUX: N3→N1]
  Clip 02: RP N3→N2  y=0.212 [TRIBUTARY-REFLUX: N3→N2]

### V1 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, signifying a perforator entry. Additionally, RP N3→N1 and RP N3→N2 clips are found, indicating tributary reflux, but no RP N2→N1 clip is present, which aligns with the characteristics of a Type 2B shunt.",
    "summary": "The patient has a Type 2B shunt with perforator entry and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). RP N3→N1 (N3 reflux) and RP N2→N1 (GSV trunk reflux) are present. There is no EP N1→N2 (no SFJ entry). By the critical rule, this matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + RP N2→N1 -> TYPE 2C'.",
    "summary": "No SFJ

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: retrograde reflux in tributary branches toward deep venous system; retrograde reflux in tributary branches toward saphenous trunk in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, signifying a perforator entry. Additionally, RP N3→N1 and RP N3→N2 clips are found, indicating tributary reflux, but no RP N2→N1 clip is present, which aligns with the characteristics of a Type 2B shunt.",
    "summary": "The patient has a Type 2B shunt with perforator entry and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). RP N3→N1 (N3 reflux) and RP N2→N1 (GSV trunk reflux) are present. There is no EP N1→N2 (no SFJ entry). By the critical rule, this matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + RP N2→N1 -> TYPE 2C'.",
    "summary": "No SFJ

## Test Case: shunt type 2 - unequal calibre, yes drainage (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]
  Clip 01: RP N3→N1  y=0.132 [TRIBUTARY-REFLUX: N3→N1]
  Clip 02: RP N3→N2  y=0.212 [TRIBUTARY-REFLUX: N3→N2]

### V1 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, signifying a perforator entry. There are RP N3→N1 and RP N3→N2 clips, indicating tributary reflux, but no RP N2→N1 clip, which is consistent with Type 2B.",
    "summary": "The patient has a Type 2B shunt with a competent SFJ and perforator entry."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). RP N3→N1 (N3 reflux) and RP N2→N1 (GSV trunk reflux) are present. There is no EP N1→N2 (no SFJ entry). By the critical rule, this matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + RP N2→N1 -> TYPE 2C'.",
    "summary": "No SFJ

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: retrograde reflux in tributary branches toward deep venous system; retrograde reflux in tributary branches toward saphenous trunk in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, signifying a perforator entry. There are RP N3→N1 and RP N3→N2 clips, indicating tributary reflux, but no RP N2→N1 clip, which is consistent with Type 2B.",
    "summary": "The patient has a Type 2B shunt with a competent SFJ and perforator entry."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). RP N3→N1 (N3 reflux) and RP N2→N1 (GSV trunk reflux) are present. There is no EP N1→N2 (no SFJ entry). By the critical rule, this matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + RP N2→N1 -> TYPE 2C'.",
    "summary": "No SFJ

## Test Case: shunt type 2a (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N3  y=0.050 [GSV-to-TRIBUTARY-ENTRY: N2→N3]

### V1 Classification Results

Detected Type: TYPE 2A

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2A",
    "reasoning": "The presence of EP N2→N3 with no EP N1→N2 indicates a competent SFJ and a Type 2A shunt, where the GSV feeds a tributary without any reflux in the GSV trunk.",
    "summary": "The shunt is classified as Type 2A due to the presence of EP N2→N3 with no EP N1→N2."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2A",
    "confidence": 0.85,
    "reasoning": "There is an EP N2→N3 clip at y=0.050, indicating the GSV is feeding a tributary. There is no EP N1→N2 (SFJ entry) and no RP N2→N1 (no GSV reflux). By the rules, this matches Case C -> TYPE 2A.",
    "summary": "EP N2→N3 at y=0.050 with no EP N1→N2 and no RP N2→N1 -> TYPE 2A."
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from saphenous trunk feeding into tributaries in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2A

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2A",
    "reasoning": "Clip 00 shows EP N2→N3, indicating antegrade flow from the GSV to a tributary, with no EP N1→N2, suggesting a competent SFJ and no reflux from the deep venous system to the GSV. This pattern matches Type 2A, where the GSV feeds a tributary without any reflux from the deep system.",
    "summary": "The patient has a Type 2A shunt with antegrade flow from the GSV to a tributary."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2A",
    "confidence": 0.85,
    "reasoning": "There is an EP N2→N3 clip at y=0.050, indicating the GSV is feeding a tributary. There is no EP N1→N2 (SFJ entry) and no RP N2→N1 (no GSV reflux). By the rules, this matches Case C -> TYPE 2A.",
    "summary": "EP N2→N3 at y=0.050 with no EP N1→N2 and no RP N2→N1 -> TYPE 2A."
}

## Test Case: shunt type 2b (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]
  Clip 01: RP N3→N1  y=0.132 [TRIBUTARY-REFLUX: N3→N1]

### V1 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. The presence of EP N2→N2 with a perforator entry and RP N3→N1 without RP N2→N1 matches the criteria for Type 2B.",
    "summary": "The shunt is classified as Type 2B due to the presence of a perforator entry and tributary reflux without GSV trunk reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). There is no EP N1→N2 anywhere. The SFJ remains competent. RP N3→N1 at y=0.132 confirms tributary reflux. This matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + NO RP N2→N1 -> TYPE 2B'.",
    "summary": "No EP N1→N2 + EP N2

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: retrograde reflux in tributary branches toward deep venous system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. The presence of EP N2→N2 with a perforator entry and RP N3→N1 without RP N2→N1 matches the criteria for Type 2B.",
    "summary": "The shunt is classified as Type 2B due to the presence of a perforator entry and tributary reflux without GSV trunk reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). There is no EP N1→N2 anywhere. The SFJ remains competent. RP N3→N1 at y=0.132 confirms tributary reflux. This matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + NO RP N2→N1 -> TYPE 2B'.",
    "summary": "No EP N1→N2 + EP N2

## Test Case: shunt type 2c (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]
  Clip 01: RP N3→N1  y=0.132 [TRIBUTARY-REFLUX: N3→N1]
  Clip 02: RP N2→N1  y=0.212 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 2C

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2C",
    "reasoning": "No EP N1→N2, EP N2→N2 = perforator, RP N3→N1 and RP N2→N1 are present, indicating a Type 2C shunt with perforator entry and secondary GSV reflux",
    "summary": "The patient has a Type 2C shunt with perforator entry and secondary GSV reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). Combined with RP N2→N1 and RP N3→N1, this matches: "EP N2→N2 + RP N3 + RP N2→N1 + NO EP N1→N2" -> TYPE 2C.",
    "summary": "Perforator entry with GSV reflux and tributary reflux."
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: retrograde reflux in tributary branches toward deep venous system; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2C

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2C",
    "reasoning": "No EP N1→N2, EP N2→N2 = perforator, RP N3→N1 + RP N2→N1",
    "summary": "The patient has a Type 2C shunt with perforator entry and both tributary and GSV trunk reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). Combined with RP N2→N1 and RP N3→N1, this matches: "EP N2→N2 + RP N3 + RP N2→N1 + NO EP N1→N2" -> TYPE 2C.",
    "summary": "Perforator entry with GSV reflux and tributary reflux."
}

## Test Case: shunt type 3 variant 1 (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: EP N2→N3  y=0.132 [GSV-to-TRIBUTARY-ENTRY: N2→N3]
  Clip 02: RP N3→N2  y=0.212 [TRIBUTARY-REFLUX: N3→N2]
  Clip 03: RP N2→N1  y=0.289 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "confidence": 0.95,
    "reasoning": "Clip 00 indicates EP N1→N2, which means the SFJ is incompetent. Clip 01 shows EP N2→N3, indicating antegrade flow to a tributary. Clips 02 and 03 show RP N3→N2 and RP N2→N1, respectively, indicating both tributary reflux and GSV trunk reflux. The presence of EP N1→N2, EP N2→N3, RP N3→N2, and RP N2→N1 matches the pattern for TYPE 1+2.",
    "summary":

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with EP N1→N2 and RP N2→N1, no EP N2→N3 ->

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; antegrade flow from saphenous trunk feeding into tributaries; retrograde reflux in tributary branches toward saphenous trunk; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "Clip 00 shows EP N1→N2, indicating an incompetent SFJ. Clip 01 shows EP N2→N3, and Clip 02 and Clip 03 show RP N3→N2 and RP N2→N1, respectively. This pattern matches Type 1+2, which involves both SFJ incompetence and tributary reflux.",
    "summary": "The patient has a Type 1+2 shunt with both SFJ incompetence and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with EP N1→N2 and RP N2→N1, no EP N2→N3 ->

## Test Case: shunt type 3 variant 2 (json samples)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: EP N2→N3  y=0.132 [GSV-to-TRIBUTARY-ENTRY: N2→N3]
  Clip 02: RP N3→N1  y=0.212 [TRIBUTARY-REFLUX: N3→N1]
  Clip 03: RP N2→N1  y=0.289 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ. Additionally, EP N2→N3 and both RP N3→N1 and RP N2→N1 are present, which matches the criteria for Type 1+2. The elimination test result is not provided, but based on the given clips, the shunt type can be determined as Type 1+2 due to the combination of SFJ incompetence, tributary reflux, and GSV trunk reflux.",
    "summary": "The shunt is classified as Type 1+2 due to the combination of SFJ incompetence, tributary reflux,

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; antegrade flow from saphenous trunk feeding into tributaries; retrograde reflux in tributary branches toward deep venous system; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ. The existence of EP N2→N3, RP N3→N1, and RP N2→N1, along with the eliminationTest result, matches the criteria for TYPE 1+2.",
    "summary": "The shunt is classified as TYPE 1+2 due to the combination of SFJ incompetence, tributary reflux, and GSV trunk reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

## Test Case: 1 - no shunt types (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]

### V1 Classification Results

Detected Type: TYPE 1

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1",
    "reasoning": "Clip 00 shows EP N1→N2 with y=0.050 and SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Since there is no mention of EP N2→N3 or RP N3, but only RP N2→N1 is relevant for Type 1 classification, this pattern matches Type 1.",
    "summary": "The shunt is classified as Type 1 due to the presence of EP N1→N2 and RP N2→N1 without EP N2→N3."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, matching the pattern: EP N1→N2 + RP N2→N1 + NO EP N2→N3 -> TYPE 1.",
    "summary": "SFJ incompetent with EP N1→N2 and RP N2→N1, no EP N2→N3."
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1",
    "reasoning": "Clip 00 shows EP N1→N2 with y=0.050, indicating an incompetent SFJ, and there is no EP N2→N3, suggesting no tributary reflux, which matches the pattern for Type 1",
    "summary": "The presence of EP N1→N2 with no EP N2→N3 indicates a Type 1 shunt."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, matching the pattern: EP N1→N2 + RP N2→N1 + NO EP N2→N3 -> TYPE 1.",
    "summary": "SFJ incompetent with EP N1→N2 and RP N2→N1, no EP N2→N3."
}

## Test Case: 2 - shunt type 1 (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]

### V1 Classification Results

Detected Type: TYPE 1

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1",
    "reasoning": "Clip 00 shows EP N1→N2 with y=0.050, indicating an incompetent SFJ, and there is no mention of EP N2→N3 or RP N3, but the presence of RP N2→N1 suggests a Type 1 shunt.",
    "summary": "The patient has a Type 1 shunt due to an incompetent SFJ with reflux from the GSV to the deep venous system."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, matching the pattern: EP N1→N2 + RP N2→N1 + NO EP N2→N3 -> TYPE 1.",
    "summary": "SFJ incompetent with EP N1→N2 and RP N2→N1, no EP N2→N3."
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1",
    "reasoning": "Clip 00 shows EP N1→N2 with y=0.050 and SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Since there is no mention of EP N2→N3 or RP N3, but only RP N2→N1 is relevant for Type 1 classification, this pattern matches Type 1.",
    "summary": "The shunt is classified as Type 1 due to the presence of EP N1→N2 and RP N2→N1 without EP N2→N3."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, matching the pattern: EP N1→N2 + RP N2→N1 + NO EP N2→N3 -> TYPE 1.",
    "summary": "SFJ incompetent with EP N1→N2 and RP N2→N1, no EP N2→N3."
}

## Test Case: 1 - no shunt types (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]

### V1 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "reasoning": "Clip 00 shows EP N2→N2 with y=0.050, indicating a perforator entry, and SFJ is competent. There is no EP N1→N2, which means SFJ is not involved. The presence of EP N2→N2 with no RP N2→N1 suggests a Type 2B shunt.",
    "summary": "The patient has a Type 2B shunt with a perforator entry and competent SFJ."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050 with SFJ marker, indicating a perforator entry (NOT SFJ). There is RP N3→N1 at posYRatio 0.132, and no EP N1→N2 or RP N2→N1. By the rules, this matches: \"No EP N1→N2  + EP N2→N2 + RP N3 + NO RP N2→N1 -> TYPE 2B\"",
    "summary": "No EP N1→N

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates:  in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "reasoning": "Clip 00 shows EP N2→N2 with y=0.050, indicating a perforator entry with competent SFJ, and no EP N1→N2 or RP N2→N1, matching the pattern for TYPE 2B",
    "summary": "The patient has a TYPE 2B shunt with perforator entry and competent SFJ."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050 with SFJ marker, indicating a perforator entry (NOT SFJ). There is RP N3→N1 at posYRatio 0.132, and no EP N1→N2 or RP N2→N1. By the rules, this matches: \"No EP N1→N2  + EP N2→N2 + RP N3 + NO RP N2→N1 -> TYPE 2B\"",
    "summary": "No EP N1→N

## Test Case: 2 - shunt type 2b (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]
  Clip 01: RP N3→N1  y=0.132 [TRIBUTARY-REFLUX: N3→N1]

### V1 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, signifying a perforator entry. Additionally, an RP N3→N1 clip is found, indicating tributary reflux, but no RP N2→N1 clip is present, which aligns with the characteristics of a Type 2B shunt.",
    "summary": "The shunt is classified as Type 2B due to the presence of a perforator entry and tributary reflux without GSV trunk reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). There is no EP N1→N2 anywhere. The SFJ remains competent. RP N3→N1 at y=0.132 confirms tributary reflux. This matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + NO RP N2→N1 -> TYPE 2B'.",
    "summary": "No EP N1→N2 + EP N2

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: retrograde reflux in tributary branches toward deep venous system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2B

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2B",
    "reasoning": "No EP N1→N2 clip exists, indicating a competent SFJ. An EP N2→N2 clip is present, which signifies a perforator entry. Additionally, there is an RP N3→N1 clip, indicating tributary reflux, but no RP N2→N1 clip, which means there is no GSV trunk reflux. This pattern matches the criteria for a Type 2B shunt.",
    "summary": "The patient has a Type 2B shunt with a competent SFJ, perforator entry, and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2B",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). There is no EP N1→N2 anywhere. The SFJ remains competent. RP N3→N1 at y=0.132 confirms tributary reflux. This matches: 'No EP N1→N2 + EP N2→N2 + RP N3 + NO RP N2→N1 -> TYPE 2B'.",
    "summary": "No EP N1→N2 + EP N2

## Test Case: 3 - shunt type 2c (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N2→N2  y=0.050 [PERFORATOR-ENTRY: N2→N2, SFJ=COMPETENT]
  Clip 01: RP N3→N1  y=0.132 [TRIBUTARY-REFLUX: N3→N1]
  Clip 02: RP N2→N1  y=0.212 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 2C

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2, EP N2→N2 present indicating perforator entry, RP N3→N1 and RP N2→N1 present indicating tributary reflux and GSV trunk reflux respectively",
    "summary": "The patient has a Type 2C shunt with perforator entry and both tributary and GSV trunk reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). Combined with RP N2→N1 and RP N3→N1, this matches: "EP N2→N2 + RP N3 + RP N2→N1 + NO EP N1→N2" -> TYPE 2C.",
    "summary": "Perforator entry with GSV reflux and tributary reflux."
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: retrograde reflux in tributary branches toward deep venous system; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 2C

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.95,
    "reasoning": "No EP N1→N2, EP N2→N2 present indicating perforator entry, RP N3→N1 and RP N2→N1 present indicating tributary reflux and GSV trunk reflux respectively",
    "summary": "The patient has a Type 2C shunt with perforator entry and both tributary and GSV trunk reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 2C",
    "confidence": 0.9,
    "reasoning": "Clip 00 shows EP N2→N2 at posYRatio 0.050, indicating a perforator entry (NOT SFJ). Combined with RP N2→N1 and RP N3→N1, this matches: "EP N2→N2 + RP N3 + RP N2→N1 + NO EP N1→N2" -> TYPE 2C.",
    "summary": "Perforator entry with GSV reflux and tributary reflux."
}

## Test Case: 1 - no shunt types (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]

### V1 Classification Results

Detected Type: TYPE 1

#### LLAMA 70B Response

```json
{
    "shunt_type": "TYPE 1",
    "reasoning": "Clip 00 shows EP N1→N2 with y=0.050, indicating an incompetent SFJ, and there is no EP N2→N3, suggesting no tributary reflux, which matches the pattern for Type 1",
    "summary": "The presence of EP N1→N2 with no EP N2→N3 indicates a Type 1 shunt."
}
```

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, matching the pattern: EP N1→N2 + RP N2→N1 + NO EP N2→N3 -> TYPE 1.",
    "summary": "SFJ incompetent with EP N1→N2 and RP N2→N1, no EP N2→N3."
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1",
    "reasoning": "Clip 00 shows EP N1→N2 with y=0.050 and SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Since there's no mention of EP N2→N3 or RP N3, but only RP N2→N1 is relevant for Type 1 classification, this pattern matches Type 1.",
    "summary": "The shunt is classified as Type 1 due to the presence of EP N1→N2 with SFJ incompetence and RP N2→N1."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, matching the pattern: EP N1→N2 + RP N2→N1 + NO EP N2→N3 -> TYPE 1.",
    "summary": "SFJ incompetent with EP N1→N2 and RP N2→N1, no EP N2→N3."
}

## Test Case: 2 - no shunt types (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: EP N2→N3  y=0.132 [GSV-to-TRIBUTARY-ENTRY: N2→N3]

### V1 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "confidence": 0.9,
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ, and the presence of EP N2→N3 along with RP N3→N1 and RP N2→N1 suggests a complex reflux pattern, which matches the criteria for Type 1+2.",
    "summary": "The patient has a Type 1+2 shunt with both SFJ incompetence and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Clip 01 confirms EP N2→N3. There is no RP N3→N2, RP N3→N1, or RP N2→N1. By the rules, this matches: \'EP N1→N2 + EP N2→N3 + NO RP = TYPE 1\'.",
    "summary": "SFJ incompetent with EP N2→N3 and no RP, match case 1."
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; antegrade flow from saphenous trunk feeding into tributaries in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 3

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 3",
    "reasoning": "Clip 00 indicates EP N1→N2 with SFJ-ENTRY=INCOMPETENT, and Clip 01 shows EP N2→N3, which matches the pattern for TYPE 3: EP N1→N2 + EP N2→N3 + RP N3→N1, no RP N2→N1",
    "summary": "The patient has a TYPE 3 shunt with incompetent SFJ and reflux from the tributary to the deep system."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Clip 01 confirms EP N2→N3. There is no RP N3→N2, RP N3→N1, or RP N2→N1. By the rules, this matches: \'EP N1→N2 + EP N2→N3 + NO RP = TYPE 1\'.",
    "summary": "SFJ incompetent with EP N2→N3 and no RP, match case 1."
}

## Test Case: 3 - shunt type 3 variant 1 (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: EP N2→N3  y=0.132 [GSV-to-TRIBUTARY-ENTRY: N2→N3]
  Clip 02: RP N3→N1  y=0.212 [TRIBUTARY-REFLUX: N3→N1]

### V1 Classification Results

Detected Type: TYPE 3

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 3",
    "reasoning": "Clip 00 indicates EP N1→N2 with SFJ-ENTRY=INCOMPETENT, Clip 01 shows EP N2→N3, and Clip 02 indicates RP N3→N1, which matches the pattern for TYPE 3: EP N1→N2 + EP N2→N3 + RP N3→N1, no RP N2→N1",
    "summary": "The patient has a TYPE 3 shunt with incompetent SFJ, EP N2→N3, and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Clip 01 shows EP N2→N3, and Clip 02 shows RP N3→N1. There is no RP N2→N1. By the rules, this matches: \'EP N1→N2 + EP N2→N3 + RP N3→N1, no RP N2→N1 -> TYPE 3\'. However, the quick decision table indicates: \'EP N1→N2 + EP N

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; antegrade flow from saphenous trunk feeding into tributaries; retrograde reflux in tributary branches toward deep venous system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 3

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 3",
    "reasoning": "Clip 00 indicates EP N1→N2 with SFJ-ENTRY=INCOMPETENT, Clip 01 shows EP N2→N3, and Clip 02 indicates RP N3→N1, which matches the pattern for TYPE 3: EP N1→N2 + EP N2→N3 + RP N3→N1, no RP N2→N1",
    "summary": "The patient has a TYPE 3 shunt with incompetent SFJ, EP N2→N3, and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with SFJ-ENTRY=INCOMPETENT, indicating SFJ incompetence. Clip 01 shows EP N2→N3, and Clip 02 shows RP N3→N1. There is no RP N2→N1. By the rules, this matches: \'EP N1→N2 + EP N2→N3 + RP N3→N1, no RP N2→N1 -> TYPE 3\'. However, the quick decision table indicates: \'EP N1→N2 + EP N

## Test Case: 4 - shunt type 3 variant 2 (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: EP N2→N3  y=0.132 [GSV-to-TRIBUTARY-ENTRY: N2→N3]
  Clip 02: RP N3→N1  y=0.212 [TRIBUTARY-REFLUX: N3→N1]
  Clip 03: RP N2→N1  y=0.289 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "Clip 00 shows EP N1→N2, indicating an incompetent SFJ. Clip 01 shows EP N2→N3, and Clip 02 and Clip 03 show RP N3→N1 and RP N2→N1, respectively, which matches the pattern for Type 1+2.",
    "summary": "The patient has a Type 1+2 shunt due to the presence of EP N1→N2, EP N2→N3, RP N3→N1, and RP N2→N1."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; antegrade flow from saphenous trunk feeding into tributaries; retrograde reflux in tributary branches toward deep venous system; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ, and the combination of EP N2→N3, RP N3→N1, and RP N2→N1 with an elimination test result of 'Reflux' matches the criteria for a Type 1+2 shunt.",
    "summary": "The patient has a Type 1+2 shunt due to an incompetent SFJ with reflux in both the GSV trunk and tributaries."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

## Test Case: 5 - shunt type 1+2 (after making ep23 reflux) (multiple shunts in 1 sesh)

### V1 Query

Classify the shunt types given these clips:
  Clip 00: EP N1→N2  y=0.050 [SFJ-ENTRY=INCOMPETENT]
  Clip 01: EP N2→N3  y=0.132 [GSV-to-TRIBUTARY-ENTRY: N2→N3]
  Clip 02: RP N3→N1  y=0.212 [TRIBUTARY-REFLUX: N3→N1]
  Clip 03: RP N2→N1  y=0.289 [GSV-TRUNK-REFLUX: N2→N1]

### V1 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ. The existence of EP N2→N3 along with RP N3→N1 and RP N2→N1, and the elimination test result of 'Reflux', leads to the classification of TYPE 1+2.",
    "summary": "The shunt is classified as TYPE 1+2 due to the incompetent SFJ and specific reflux patterns."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

### V2 Query

Based on the following duplex findings:
Duplex ultrasound demonstrates: antegrade flow from deep femoral vein to saphenous trunk indicating saphenofemoral junction incompetence; antegrade flow from saphenous trunk feeding into tributaries; retrograde reflux in tributary branches toward deep venous system; retrograde reflux within saphenous trunk toward deep system in patient with chronic venous insufficiency.

Determine the CHIVA shunt type.

### V2 Classification Results

Detected Type: TYPE 1+2

#### LLAMA 70B Response

{
    "shunt_type": "TYPE 1+2",
    "reasoning": "The presence of EP N1→N2 indicates an incompetent SFJ. Additionally, EP N2→N3 and RP N3→N1 are present, along with RP N2→N1. This pattern matches the criteria for Type 1+2, which involves both SFJ incompetence and tributary reflux.",
    "summary": "The patient has a Type 1+2 shunt due to incompetent SFJ and tributary reflux."
}

#### Qwen V2 Response

{
    "shunt_type": "TYPE 1",
    "confidence": 0.85,
    "reasoning": "Clip 00 shows EP N1→N2 with [SFJ-ENTRY=INCOMPETENT], indicating SFJ incompetence. Clip 03 confirms RP N2→N1 (GSV trunk reflux). There is no EP N2→N3. By the rules, this matches: \'SFJ INCOMPETENT + NO EP N2→N3 + RP N2→N1 = TYPE 1\'.",
    "summary": "SFJ incompetent with RP N2→N1, no EP N2→N3 -> TYPE 1"
}

# TASK 2: LIGATION PLANNING (WITH RAG + RERANKING)

## Test Case: shunt type 1+2 - large diameter (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate SFJ at y=0.050, Ligate refluxing tributary at N2->N3 junction y=0.132, Ligate RP N2->N1 at y=0.289, Ligate RP N3->N1 at y=0.212", "ligation_reasoning": "The presence of EP N1->N2, EP N2->N3, RP N3->N1, and RP N2->N1 indicates a Type 1+2 shunt, requiring ligation of both th

#### LLAMA 70B - Reasoning

e SFJ and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate SFJ/Hunterian, ligate RP N2->N1 at N2 junction, ligate RP N3->N1", "ligation_reasoning": "EP N1->N2 confirms SFJ/Hunterian incompetence. Combine with RP N2->N1 and RP N3->N1 per rule 3 (type 1+2)."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate saphenofemoral junction, Ligate refluxing tributaries along saphenous trunk, Preserve distal GSV if quality permits, Consider phlebectomy of residual varicosities", "ligation_reasoning": "The patient has saphenofemoral junction incompetence with both antegrade flow from th

#### LLAMA 70B - Reasoning

e deep femoral vein to the saphenous trunk and retrograde reflux within the saphenous trunk and trib

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ/Hunterian, ligate RP N2→N1 at N2 junction, ligate RP N3→N2, ligate RP N3→N1", "ligation_reasoning": "EP N1→N2, EP N2→N3, RP N3→N1, RP N2→N1 match: TYPE 1+2 -> ligate SFJ/Hunterian + every RP N2→N1 + RP N3→N2 + RP N3→N1"}

#### Qwen V2 - Reasoning

## Test Case: shunt type 1+2 - small diameter (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate SFJ at y=0.050, Ligate refluxing tributary at N2->N3 junction y=0.132, Ligate all RP N2->N1 sites along GSV, Ligate below each RP N2->N1 except the most distal", "ligation_reasoning": "The presence of EP N1->N2, EP N2->N3, RP N3->N1, and RP N2->N1 indicates a TYPE 1+2 shun

#### LLAMA 70B - Reasoning

t, requiring combined ligation of SFJ and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate SFJ/Hunterian, ligate RP N2->N1 at N2 junction, ligate RP N3->N1", "ligation_reasoning": "EP N1->N2 confirms SFJ/Hunterian incompetence. Combine with RP N2->N1 and RP N3->N1 per rule 3 (type 1+2)."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate saphenofemoral junction, Ligate refluxing tributaries, Preserve distal GSV if quality permits, Consider simultaneous ligation of all refluxing sites", "ligation_reasoning": "The patient has saphenofemoral junction incompetence with both antegrade flow from the deep venous

#### LLAMA 70B - Reasoning

system to the saphenous trunk and retrograde reflux in tributary branches and the saphenous trunk, i

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ/Hunterian, ligate RP N2→N1 at N2 junction, ligate RP N3→N2, ligate RP N3→N1", "ligation_reasoning": "EP N1→N2, EP N2→N3, RP N3→N1, RP N2→N1 match: TYPE 1+2 -> ligate SFJ/Hunterian + every RP N2→N1 + RP N3→N2 + RP N3→N1"}

#### Qwen V2 - Reasoning

## Test Case: shunt type 1 (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate at saphenofemoral junction (y≤0.098)", "ligation_reasoning": "The presence of EP N1->N2 and RP N2->N1 indicates a Type 1 shunt, requiring ligation at the saphenofemoral junction to prevent reflux."}

#### LLAMA 70B - Reasoning

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ (y<=0.098) or Hunterian (y<=0.353)", "ligation_reasoning": "EP N1->N2 indicates SFJ/Hunterian incompetence. RP N2->N1 confirms retrograde flow. There is no EP N2->N3, so this is a simple SFJ/Hunterian case."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate at saphenofemoral junction, Preserve distal GSV if quality permits, Ligate below each RP N2→N1 except the most distal, Confirm competence of remaining venous segments", "ligation_reasoning": "The patient has saphenofemoral junction incompetence with retrograde reflux, indi

#### LLAMA 70B - Reasoning

cating a Type 1 venous shunt that requires ligation at the junction to prevent further reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ", "ligation_reasoning": "EP N1→N2 present with no EP N2→N3, matching Case A: 'Has EP N1→N2? YES + no EP N2→N3 + RP N2→N1 -> TYPE 1'"}

#### Qwen V2 - Reasoning

## Test Case: shunt type 2 - equal calibre, equal distance (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2->N2 at y=0.050, Identify and ligate all RP N3->N1 and RP N3->N2 refluxing tributaries, Use duplex guidance for precise ligation, Monitor patient for potential future reflux development", "ligation_reasoning": "The presence of EP N2->N2 with RP N3->N1 and

#### LLAMA 70B - Reasoning

RP N3->N2 indicates a Type 2B shunt, requiring ligation of the perforator entry point and refluxing

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP N2->N2 (perforator entry), RP N3->N1, RP N3->N2", "ligation_reasoning": "No EP N1->N2, EP N2->N2 indicates perforator, RP at N3 plus RP N2->N1 matches Case B2'}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2→N2 (perforator entry point), Identify and ligate all tributary branches with reflux, Preserve the saphenous trunk if possible, Follow up with duplex ultrasound to assess results", "ligation_reasoning": "The patient has a Type 2B pattern with competent SFJ

#### LLAMA 70B - Reasoning

and reflux in tributary branches, so ligation of the perforator entry point is recommended."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry), ligate RP N3→N1, ligate RP N2→N1 at N2 junction", "ligation_reasoning": "EP N2→N2 indicates perforator, not SFJ entry. Follow up at N3 (RP N3→N1) and RP N2→N1 along GSV."}

#### Qwen V2 - Reasoning

## Test Case: shunt type 2 - equal calibre, unequal distance (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2->N2 at y=0.050, Identify and ligate all RP N3->N1 and RP N3->N2, Use duplex guidance for precise ligation, Monitor for potential GSV reflux development", "ligation_reasoning": "The presence of EP N2->N2 with RP N3->N1 and RP N3->N2 indicates a Type 2B shu

#### LLAMA 70B - Reasoning

nt, requiring ligation of the perforator entry point and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP N2->N2 (perforator entry), RP N3->N1, RP N3->N2", "ligation_reasoning": "No EP N1->N2, EP N2->N2 indicates perforator, RP at N3 plus RP N2->N1 matches Case B2'}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2→N2, Identify perforator entry point, Ligate perforator entry, Verify competence of SFJ", "ligation_reasoning": "The patient has a Type 2B classification with EP N2→N2 and RP N3→N2 or N3→N1, indicating a perforator entry point that needs to be ligated to p

#### LLAMA 70B - Reasoning

revent further reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry), ligate RP N3→N1, ligate RP N2→N1 at N2 junction", "ligation_reasoning": "EP N2→N2 indicates perforator, not SFJ entry. Follow up at N3 (RP N3→N1) and RP N2→N1 along GSV."}

#### Qwen V2 - Reasoning

## Test Case: shunt type 2 - unequal calibre, no drainage (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2->N2 at y=0.050, Identify and ligate all RP N3->N1 and RP N3->N2 tributaries, Use duplex guidance for precise ligation, Monitor for potential GSV reflux development", "ligation_reasoning": "The presence of EP N2->N2 with RP N3->N1 and RP N3->N2 indicates a

#### LLAMA 70B - Reasoning

Type 2B shunt, requiring ligation of the perforator entry point and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP N2->N2 (perforator entry), RP N3->N1, RP N3->N2", "ligation_reasoning": "No EP N1->N2, EP N2->N2 indicates perforator, RP at N3 plus RP N2->N1 matches Case B2'}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2→N2, Identify perforator entry point, Ligate perforator entry, Verify competency of SFJ", "ligation_reasoning": "The patient has a Type 2B classification with EP N2→N2 and RP N3→N2 or N3→N1, indicating a perforator entry point that needs to be ligated to p

#### LLAMA 70B - Reasoning

revent further reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry), ligate RP N3→N1, ligate RP N2→N1 at N2 junction", "ligation_reasoning": "EP N2→N2 indicates perforator, not SFJ entry. Follow up at N3 (RP N3→N1) and RP N2→N1 along GSV."}

#### Qwen V2 - Reasoning

## Test Case: shunt type 2 - unequal calibre, yes drainage (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2->N2 at y=0.050, Identify and ligate all RP N3->N1 and RP N3->N2, Use duplex guidance for precise ligation, Monitor for potential GSV reflux development", "ligation_reasoning": "The presence of EP N2->N2 with RP N3->N1 and RP N3->N2 indicates a Type 2B shu

#### LLAMA 70B - Reasoning

nt, requiring ligation of the perforator entry point and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP N2->N2 (perforator entry), RP N3->N1, RP N3->N2", "ligation_reasoning": "No EP N1->N2, EP N2->N2 indicates perforator, RP at N3 plus RP N2->N1 matches Case B2'}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2→N2, Identify perforator entry point, Ligate perforator entry, Verify competence of SFJ", "ligation_reasoning": "The patient has a Type 2B classification with EP N2→N2 and RP N3→N2 or N3→N1, indicating a perforator entry point that needs to be ligated to p

#### LLAMA 70B - Reasoning

revent further reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry), ligate RP N3→N1, ligate RP N2→N1 at N2 junction", "ligation_reasoning": "EP N2→N2 indicates perforator, not SFJ entry. Follow up at N3 (RP N3→N1) and RP N2→N1 along GSV."}

#### Qwen V2 - Reasoning

## Test Case: shunt type 2a (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Identify the highest EP N2->N3 junction, Ligate the highest EP N2->N3 junction, Use duplex guidance for precise ligation, Follow up 6-12 months to monitor for potential GSV reflux development", "ligation_reasoning": "Ligation is planned at the N2->N3 junction because the duplex f

#### LLAMA 70B - Reasoning

indings indicate a TYPE 2A pattern with EP N2->N3 present and no EP N1->N2, suggesting a competent S

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP at N2->N3 junction.", "ligation_reasoning": "No EP N1->N2 exists -> SFJ competent. EP N2->N3 indicates perforator entry, not SFJ. Follow up at 6-12 months; ligate SFJ if N2 reflux develops."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate highest EP at N2→N3 junction, Preserve distal GSV if quality permits, Monitor for potential future reflux, Follow up in 6-12 months", "ligation_reasoning": "The patient has TYPE 2A classification with antegrade flow from saphenous trunk to tributaries, indicating a need fo

#### LLAMA 70B - Reasoning

r selective perforator ligation at the N2→N3 junction."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP at N2→N3 junction", "ligation_reasoning": "No EP N1→N2, EP N2→N3 present -> TYPE 2A"}

#### Qwen V2 - Reasoning

## Test Case: shunt type 2b (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2->N2 at y=0.050, Verify perforator entry point, Ligate perforator entry point, Monitor patient for further reflux", "ligation_reasoning": "The presence of EP N2->N2 with RP N3->N1 indicates a Type 2B shunt, requiring ligation of the perforator entry point

#### LLAMA 70B - Reasoning

to prevent further reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP at N2->N2 (perforator entry).", "ligation_reasoning": "No EP N1->N2 exists; EP N2->N2 indicates a perforator entry, not SFJ. SFJ remains competent."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2→N2, Identify perforator entry point, Ligate perforator entry, Verify competence of SFJ", "ligation_reasoning": "The patient has a Type 2B classification with EP N2→N2 and RP N3→N2 or N3→N1, indicating a perforator entry point that needs to be ligated to p

#### LLAMA 70B - Reasoning

revent reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry), ligate RP N3→N1", "ligation_reasoning": "No EP N1→N2, EP N2→N2 indicates perforator, RP N3→N1 present, ligate both"}

#### Qwen V2 - Reasoning

## Test Case: shunt type 2c (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate perforator entry point at y=0.050, Ligate all GSV reflux sites along trunk, Prioritize ligation of RP N2->N1 at y=0.212, Verify competence of SFJ post-ligation", "ligation_reasoning": "The presence of EP N2->N2 and RP N3->N1 along with RP N2->N1 indicates a Type 2C shunt,

#### LLAMA 70B - Reasoning

requiring ligation of the perforator entry and all refluxing sites."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP N2->N2 (perforator entry), Ligate RP N2->N1 at N1->N2 junction, Ligate RP N3->N1 at N2->N3 junction", "ligation_reasoning": "No EP N1->N2, EP N2->N2 indicates perforator, RP N3->N1 + RP N2->N1 match case 2C pattern'}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate perforator entry point, Ligate all GSV reflux sites along trunk, Preserve distal GSV if quality permits, Monitor for residual reflux", "ligation_reasoning": "The patient has Type 2C venous insufficiency with perforator entry and secondary GSV reflux, requiring ligation of

#### LLAMA 70B - Reasoning

both the perforator and refluxing GSV sites."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry), ligate RP N2→N1 at N1 junction of each branch, ligate RP N3→N1 at N1 junction of each branch", "ligation_reasoning": "EP N2→N2 indicates perforator entry (NOT SFJ). Reflux at N3 (RP N3→N1) plus RP N2→N1 matches Case B3: TYPE 2C. Ligate perforat

#### Qwen V2 - Reasoning

or entry AND all RP N2→N1 and RP N3→N1 sites."}

## Test Case: shunt type 3 variant 1 (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate SFJ at y=0.050, Ligate refluxing tributary at N2->N3 junction y=0.132, Ligate all RP N2->N1 sites along GSV at y=0.289, Ligate below each RP N2->N1 except the most distal", "ligation_reasoning": "The presence of EP N1->N2, EP N2->N3, RP N3->N2, and RP N2->N1 indicates a Ty

#### LLAMA 70B - Reasoning

pe 1+2 shunt, requiring ligation of both the SFJ and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate SFJ/Hunterian, ligate RP N2->N1 at N2 junction, ligate RP N3->N2, ligate EP N2->N3", "ligation_reasoning": "EP N1->N2 confirms SFJ/Hunterian incompetence. Follow CHIVA 2: ligate EP N2->N3 first, then SFJ/Hunterian and RP N2->N1 sites."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate saphenofemoral junction, Ligate refluxing tributaries, Preserve distal GSV if quality permits, Consider follow-up for potential additional interventions", "ligation_reasoning": "The patient has a Type 1+2 venous shunt with saphenofemoral junction incompetence and refluxing

#### LLAMA 70B - Reasoning

tributaries, requiring a combined ligation approach to address both issues."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ/Hunterian, ligate RP N2→N1 at N2 junction, ligate RP N3→N2, ligate RP N3→N1", "ligation_reasoning": "EP N1→N2, EP N2→N3, RP N3→N1, RP N2→N1 match: TYPE 1+2 -> ligate SFJ/Hunterian + every RP N2→N1 + RP N3→N1"}

#### Qwen V2 - Reasoning

## Test Case: shunt type 3 variant 2 (json samples)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate SFJ at y=0.050, Ligate refluxing tributary at N2->N3 junction y=0.132, Ligate RP N2->N1 at y=0.289, Ligate RP N3->N1 at y=0.212", "ligation_reasoning": "The presence of EP N1->N2, EP N2->N3, RP N3->N1, and RP N2->N1 indicates a Type 1+2 shunt, requiring ligation of both th

#### LLAMA 70B - Reasoning

e SFJ and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate SFJ/Hunterian, ligate RP N2->N1 at N2 junction, ligate RP N3->N1", "ligation_reasoning": "EP N1->N2 confirms SFJ/Hunterian incompetence. Combine with RP N2->N1 and RP N3->N1 per rule 3 (type 1+2)."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate saphenofemoral junction, Ligate refluxing tributaries, Preserve distal GSV if quality permits, Monitor for residual reflux", "ligation_reasoning": "The patient has saphenofemoral junction incompetence with reflux in both the saphenous trunk and tributary branches, indicati

#### LLAMA 70B - Reasoning

ng a TYPE 1+2 pattern requiring combined ligation of the SFJ and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ/Hunterian, ligate RP N2→N1 at N2 junction, ligate RP N3→N2, ligate RP N3→N1", "ligation_reasoning": "EP N1→N2, EP N2→N3, RP N3→N1, RP N2→N1 match: TYPE 1+2 -> ligate SFJ/Hunterian + every RP N2→N1 + RP N3→N2 + RP N3→N1"}

#### Qwen V2 - Reasoning

## Test Case: 1 - no shunt types (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate at saphenofemoral junction (y≤0.098), Preserve distal GSV if quality permits, Ligate below each RP N2→N1 except the most distal, Verify competence of SFJ post-ligation", "ligation_reasoning": "The presence of EP N1→N2 indicates an incompetent saphenofemoral junction, requi

#### LLAMA 70B - Reasoning

ring ligation to prevent reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ (y<=0.098)", "ligation_reasoning": "EP N1->N2 exists at y=0.050, indicating SFJ incompetence. There is no EP N2->N3, so this is a classic SFJ entry (NOT perforator). By the critical rule, SFJ/Hunterian is incompetent when EP N1->N2 is present. Follow up at 6-12 months;

#### Qwen V2 - Reasoning

if N2 reflux develops subsequently, ligate SFJ/Hunterian."}

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate at saphenofemoral junction, Preserve distal GSV if quality permits, Ligate below each RP N2→N1 except the most distal, Verify competence of SFJ post-ligation", "ligation_reasoning": "The patient has saphenofemoral junction incompetence with antegrade flow from the deep fem

#### LLAMA 70B - Reasoning

oral vein to the saphenous trunk, indicating a Type 1 classification."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ", "ligation_reasoning": "EP N1→N2 present at SFJ, SFJ/Hunterian incompetent, no EP N2→N3, RP N2→N1 only"}

#### Qwen V2 - Reasoning

## Test Case: 2 - shunt type 1 (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate at saphenofemoral junction (y≤0.098), Preserve distal GSV if quality permits, No ligation of tributaries is required, Follow standard post-ligation care", "ligation_reasoning": "The presence of EP N1->N2 indicates an incompetent saphenofemoral junction, requiring ligation

#### LLAMA 70B - Reasoning

to prevent reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ (y<=0.098)", "ligation_reasoning": "EP N1->N2 exists at y=0.050, indicating SFJ incompetence. There is no EP N2->N3, so this is a classic SFJ entry (NOT perforator). By the critical rule, SFJ/Hunterian is incompetent when EP N1->N2 is present. Follow up at 6-12 months;

#### Qwen V2 - Reasoning

if N2 reflux develops subsequently, ligate SFJ/Hunterian."}

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate at saphenofemoral junction, Preserve distal GSV if quality permits, Ligate below each RP N2→N1 except the most distal, No additional steps required", "ligation_reasoning": "The patient has a Type 1 classification with saphenofemoral junction incompetence and reflux from th

#### LLAMA 70B - Reasoning

e saphenous trunk to the deep femoral vein, requiring ligation at the junction."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ", "ligation_reasoning": "EP N1→N2 present at SFJ, SFJ/Hunterian incompetent, no EP N2→N3, RP N2→N1 only"}

#### Qwen V2 - Reasoning

## Test Case: 1 - no shunt types (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2->N2 at y=0.050, Verify perforator entry point, Ligate perforator entry point, Follow up post-operatively", "ligation_reasoning": "The presence of EP N2->N2 with no EP N1->N2 and no RP N2->N1 indicates a Type 2B shunt, requiring ligation of the perforator

#### LLAMA 70B - Reasoning

entry point."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP at N2->N2 (perforator entry)", "ligation_reasoning": "EP N2->N2 at any posYRatio indicates a perforator entry, not an SFJ entry. SFJ remains competent."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2→N2, Identify perforator entry point, Ligate perforator entry, Verify competence of SFJ", "ligation_reasoning": "The patient has a Type 2B classification with EP N2→N2 and RP N3→N1, indicating a perforator entry point that needs to be ligated to prevent re

#### LLAMA 70B - Reasoning

flux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry)", "ligation_reasoning": "EP N2→N2 by definition is a perforator entry, not SFJ. SFJ remains competent."}

#### Qwen V2 - Reasoning

## Test Case: 2 - shunt type 2b (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2->N2 at y=0.050, Verify perforator entry point, Check for multiple RP at N3 tributaries, Consider ask_branching flag if necessary", "ligation_reasoning": "The presence of EP N2->N2 with RP N3->N1 indicates a Type 2B shunt, requiring ligation of the perfora

#### LLAMA 70B - Reasoning

tor entry point to eliminate reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP at N2->N2 (perforator entry).", "ligation_reasoning": "No EP N1->N2 exists; EP N2->N2 indicates a perforator entry, not SFJ. SFJ remains competent."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate the highest EP N2→N2 (perforator entry point), Identify and ligate all RP N3→N2 or N3→N1 refluxing tributaries, Preserve the GSV trunk if possible, Follow up with duplex ultrasound to assess results", "ligation_reasoning": "The patient has a Type 2B pattern with EP N2→N2 i

#### LLAMA 70B - Reasoning

ndicating perforator entry and RP N3→N2 or N3→N1 indicating tributary reflux, requiring ligation of

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry), ligate RP N3→N1", "ligation_reasoning": "No EP N1→N2, EP N2→N2 indicates perforator, RP N3→N1 present, ligate both"}

#### Qwen V2 - Reasoning

## Test Case: 3 - shunt type 2c (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate perforator entry point at y=0.050, Ligate all GSV reflux sites along trunk at y=0.212, Preserve distal GSV if quality permits, Monitor for potential future reflux", "ligation_reasoning": "The presence of EP N2->N2 and RP N3->N1 and RP N2->N1 indicates a Type 2C shunt, requ

#### LLAMA 70B - Reasoning

iring ligation of the perforator entry point and all GSV reflux sites."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP N2->N2 (perforator entry), Ligate RP N2->N1 at N1->N2 junction, Ligate RP N3->N1 at N2->N3 junction", "ligation_reasoning": "No EP N1->N2, EP N2->N2 indicates perforator, RP N3->N1 + RP N2->N1 match case 2C pattern'}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate perforator entry point, Ligate all GSV reflux sites along trunk, Preserve distal GSV if quality permits, Monitor for residual reflux", "ligation_reasoning": "The patient has Type 2C venous insufficiency with perforator entry and secondary GSV reflux, requiring ligation of

#### LLAMA 70B - Reasoning

both the perforator and refluxing GSV sites."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP N2→N2 (perforator entry), ligate RP N2→N1 at N1 junction of each branch, ligate RP N3→N1 at N1 junction of each branch", "ligation_reasoning": "EP N2→N2 indicates perforator entry (NOT SFJ). Reflux at N3 (RP N3→N1) plus RP N2→N1 matches Case B3: TYPE 2C. Ligate perforat

#### Qwen V2 - Reasoning

or entry AND all RP N2→N1 and RP N3→N1 sites."}

## Test Case: 1 - no shunt types (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate at saphenofemoral junction (y≤0.098), Preserve distal GSV if quality permits, Ligate below each RP N2→N1 except the most distal, Ligate refluxing tributaries if present", "ligation_reasoning": "The presence of EP N1→N2 indicates an incompetent saphenofemoral junction, requ

#### LLAMA 70B - Reasoning

iring ligation at the junction to prevent further reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ (y<=0.098)", "ligation_reasoning": "EP N1->N2 exists at y=0.050, indicating SFJ incompetence. There is no EP N2->N3, so this is a classic SFJ entry (NOT perforator). By the critical rule, SFJ/Hunterian is incompetent when EP N1->N2 is present. Follow up at 6-12 months;

#### Qwen V2 - Reasoning

if N2 reflux develops subsequently, ligate SFJ/Hunterian."}

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate at saphenofemoral junction, Preserve distal GSV if quality permits, Ligate below each RP N2→N1 except the most distal, Verify competence of remaining venous segments", "ligation_reasoning": "The patient has saphenofemoral junction incompetence with antegrade flow from the

#### LLAMA 70B - Reasoning

deep femoral vein to the saphenous trunk, indicating a Type 1 venous shunt that requires ligation at

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ", "ligation_reasoning": "EP N1→N2 present at SFJ, SFJ/Hunterian incompetent, no EP N2→N3, RP N2→N1 only"}

#### Qwen V2 - Reasoning

## Test Case: 2 - no shunt types (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate SFJ at y=0.050, Ligate refluxing tributaries at N2->N3 junction, Preserve distal GSV if quality permits, Monitor for potential future ligation of remaining refluxing sites", "ligation_reasoning": "The presence of EP N1->N2 and EP N2->N3 indicates a Type 1+2 shunt, requirin

#### LLAMA 70B - Reasoning

g ligation of both the SFJ and refluxing tributaries to prevent further reflux."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ/Hunterian, ligate RP N2->N1 at N2 junction, ligate RP N3->N1, ligate RP N2->N1 at N2 junction", "ligation_reasoning": "EP N1->N2 indicates SFJ/Hunterian entry. EP N2->N3 exists. Follow up at 6-12 months; if N2 reflux develops, ligate SFJ. For now, ligate SFJ/Hunterian

#### Qwen V2 - Reasoning

plus all RP N2->N1 sites (below each except the most distal), and RP N3->N1."}

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate tributary at N2→N3 junction, Follow up 6-12 months, If GSV reflux develops, ligate SFJ", "ligation_reasoning": "The patient has a Type 3 classification with EP N1→N2 and EP N2→N3 present, and RP N3→N1, indicating incompetence at the saphenofemoral junction and reflux into

#### LLAMA 70B - Reasoning

tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP at N2→N3 junction, follow up 6-12 months", "ligation_reasoning": "EP N1→N2 + EP N2→N3 + RP N3→N1 matches: 'Has EP N1→N2? YES + EP N2→N3 + RP N3 only -> TYPE 3'"}

#### Qwen V2 - Reasoning

## Test Case: 3 - shunt type 3 variant 1 (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate tributary at N2->N3 junction, Follow up 6-12 months, If GSV reflux develops, ligate SFJ", "ligation_reasoning": "The presence of EP N1->N2, EP N2->N3, and RP N3->N1 indicates a Type 3 shunt, requiring ligation of the tributary at the N2->N3 junction."}

#### LLAMA 70B - Reasoning

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate EP at N2->N3 (ligation point marker). Follow up 6-12 months.", "ligation_reasoning": "No RP N2->N1, EP N1->N2, and RP N3->N1 match Case C, subtype 3: ligate N2->N3 and monitor."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate tributary at N2→N3 junction, Follow up 6-12 months, If GSV reflux develops, ligate SFJ", "ligation_reasoning": "The patient has a Type 3 classification with saphenofemoral junction incompetence and reflux in tributary branches, requiring ligation of the tributary at the N2

#### LLAMA 70B - Reasoning

→N3 junction."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate EP at N2→N3 junction, follow up 6-12 months", "ligation_reasoning": "EP N1→N2 + EP N2→N3 + RP N3→N1 matches: 'Has EP N1→N2? YES + EP N2→N3 + RP N3 only -> TYPE 3'"}

#### Qwen V2 - Reasoning

## Test Case: 4 - shunt type 3 variant 2 (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate SFJ at y=0.050, Ligate refluxing tributary at N2->N3 junction y=0.132, Ligate RP N2->N1 at y=0.289, Ligate any additional refluxing tributaries", "ligation_reasoning": "The presence of EP N1->N2, EP N2->N3, RP N3->N1, and RP N2->N1 indicates a Type 1+2 shunt, requiring lig

#### LLAMA 70B - Reasoning

ation of both the SFJ and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate SFJ/Hunterian, ligate RP N2->N1 at N2 junction, ligate RP N3->N1", "ligation_reasoning": "EP N1->N2 confirms SFJ/Hunterian incompetence. Combine with RP N2->N1 and RP N3->N1 per rule 3 (type 1+2)."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate saphenofemoral junction, Ligate refluxing tributaries, Preserve distal GSV if quality permits, Consider simultaneous ligation of all refluxing sites", "ligation_reasoning": "The patient has saphenofemoral junction incompetence with both antegrade flow from the deep femoral

#### LLAMA 70B - Reasoning

vein to the saphenous trunk and retrograde reflux within the saphenous trunk and tributary branches

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ/Hunterian, ligate RP N2→N1 at N2 junction, ligate RP N3→N2, ligate RP N3→N1", "ligation_reasoning": "EP N1→N2, EP N2→N3, RP N3→N1, RP N2→N1 match: TYPE 1+2 -> ligate SFJ/Hunterian + every RP N2→N1 + RP N3→N2 + RP N3→N1"}

#### Qwen V2 - Reasoning

## Test Case: 5 - shunt type 1+2 (after making ep23 reflux) (multiple shunts in 1 sesh)

### V1 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate SFJ at y=0.050, Ligate refluxing tributary at N2->N3 junction y=0.132, Ligate RP N2->N1 at y=0.289, Ligate RP N3->N1 at y=0.212", "ligation_reasoning": "The presence of EP N1->N2, EP N2->N3, RP N3->N1, and RP N2->N1 indicates a TYPE 1+2 shunt, requiring ligation of both th

#### LLAMA 70B - Reasoning

e SFJ and refluxing tributaries."}

#### Qwen V2 - Ligation Steps

{"ligation_steps": "Ligate SFJ/Hunterian, ligate RP N2->N1 at N2 junction, ligate RP N3->N1", "ligation_reasoning": "EP N1->N2 confirms SFJ/Hunterian incompetence. Combine with RP N2->N1 and RP N3->N1 per rule 3 (type 1+2)."}

#### Qwen V2 - Reasoning

### V2 Ligation Plan

#### LLAMA 70B - Ligation Steps

{"ligation_steps": "Ligate saphenofemoral junction, Ligate refluxing tributaries, Preserve distal GSV if quality permits, Monitor for residual reflux", "ligation_reasoning": "The patient has saphenofemoral junction incompetence with both antegrade flow from the deep femoral vein to the saphenous tru

#### LLAMA 70B - Reasoning

nk and retrograde reflux within the saphenous trunk and tributaries, indicating a TYPE 1+2 classific

#### Qwen V2 - Ligation Steps

{"ligation_steps": "ligate SFJ/Hunterian, ligate RP N2→N1 at N2 junction, ligate RP N3→N2, ligate RP N3→N1", "ligation_reasoning": "EP N1→N2, EP N2→N3, RP N3→N1, RP N2→N1 match: TYPE 1+2 -> ligate SFJ/Hunterian + every RP N2→N1 + RP N3→N2 + RP N3→N1"}

#### Qwen V2 - Reasoning

# EVALUATION SUMMARY TABLES

## Table 1: Shunt Classification Evaluation

Instructions: Fill in columns 2-5 with accuracy scores (0-100) and reasoning quality ratings (1-5)

| Model | V1 Accuracy | V2 Accuracy | V1 Reasoning Quality | V2 Reasoning Quality |
| --- | --- | --- | --- | --- |
| LLAMA 70B Versatile | [Enter score] | [Enter score] | [Enter score] | [Enter score] |
| Qwen V2 Fine-tuned | [Enter score] | [Enter score] | [Enter score] | [Enter score] |

## Table 2: Ligation Planning Evaluation

Instructions: Fill in columns 2-5 with quality ratings (1-5) and reasoning quality (1-5)

| Model | V1 Quality | V2 Quality | V1 Reasoning Quality | V2 Reasoning Quality |
| --- | --- | --- | --- | --- |
| LLAMA 70B Versatile | [Enter score] | [Enter score] | [Enter score] | [Enter score] |
| Qwen V2 Fine-tuned | [Enter score] | [Enter score] | [Enter score] | [Enter score] |