# CHIVA Guidance Test Report - SMOKE TEST

Date: 2026-06-17 12:21:44   API: http://localhost:7861

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| type1 | Type 1 - EP N1->N2 at SFJ + RP N2->N1 in trunk | 1 | 1 | 0 |
| type3 | Type 3 - elimination test No Reflux | 2 | 0 | 0 |
| type6 | Type 6 - pure perforator circuit | 0 | 0 | 1 |

# Scenario: TYPE1

Type 1 - EP N1->N2 at SFJ + RP N2->N1 in trunk

| # | Step | Event | Status | Action | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | stream_start | stream_start | SKIP |  |  |
| 2 | P1 SFJ probe | probe_move | PASS | move | Move to groin femoral junction |
| 3 | P6 KEY complete | probe_move | FAIL | move | Move distally along medial thigh |
| x action=move, want=complete |  |  |  |  |  |

# Scenario: TYPE3

Type 3 - elimination test No Reflux

| # | Step | Event | Status | Action | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | P4 maneuver | probe_move | PASS | maneuver | Compress tributary at mid-thigh |
| 2 | P5 complete | probe_move | PASS | complete | Circuit mapped |

# Scenario: TYPE6

Type 6 - pure perforator circuit

| # | Step | Event | Status | Action | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | P3 KEY timeout | probe_move | TIMEOUT |  |  |