# CHIVA Streaming Guidance — Test Run Report

Date: 2026-06-17  12:28:36    |    API: http://localhost:7861    |    Scenarios: 6

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| type1 | Type 1 — EP N1→N2 at SFJ + RP N2→N1 in GSV trunk. No tributary escape. | 5 | 2 | 1 |
| type2a | Type 2A — EP N1→N2 at SPJ (posterior) + RP N2→N1 in SSV. SFJ competent. | 3 | 2 | 1 |
| type3 | Type 3 — SFJ EP + trunk RP + tributary escape. Elimination test: No Reflux. | 6 | 3 | 1 |
| type1p2 | Type 1+2 — SFJ EP + trunk RP + tributary escape. Elimination test: Reflux. | 3 | 1 | 1 |
| type4 | Type 4 — EP N1→N3 perforator direct + RP N2→N1 trunk. No SFJ entry. | 2 | 3 | 1 |
| type6 | Type 6 — EP N1→N3 + RP N3→N1 only. Pure perforator circuit, no trunk. | 3 | 1 | 1 |

OVERALL RESULT: FAILURES PRESENT ✗

# Scenario: TYPE1

Type 1 — EP N1→N2 at SFJ + RP N2→N1 in GSV trunk. No tributary escape.

Steps checked: 7   |   Passed: 5   |   Failed: 2   |   Timeouts: 1

| # | Step | Event | Status | Action Received | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | stream_start |  | SKIP | — | — |
| 2 | P1 probe at SFJ — no clips yet | probe_move | FAIL | move | Move distally along medial thigh toward mid-thigh |
| ✗ guidance missing any of ['SFJ', 'groin', 'femoral', 'junction', 'saphenofemoral'] |  |  |  |  |  |
| 3 | clip_mark EP N1→N2 at SFJ | clip_mark | PASS | move | Track GSV distally along medial thigh |
| 4 | P2 probe upper thigh — 1 EP clip | probe_move | PASS | move | Continue distally along medial thigh |
| 5 | clip_mark RP N2→N1 upper thigh | clip_mark | FAIL | move | Move proximally to groin -- scan femoral junction transversely |
| ✗ guidance missing any of ['Hunterian', 'distal', 'mid-thigh', 'tributary', 'escape', 'perforator'] |  |  |  |  |  |
| 6 | P3 probe Hunterian — EP+RP present | probe_move | PASS | move | Scan for perforators at Hunterian zone |
| 7 | P4 probe popliteal — should check SPJ competence | probe_move | PASS | move | Scan posteriorly at knee level for popliteal junction |
| 8 | P5 mid-thigh after EP+RP — must NOT fire maneuver (no EP N2→N3) | probe_move | PASS | move | Track GSV distally along medial thigh |
| 9 | P6 KEY — EP+RP confirmed, no N2→N3 → must fire complete |  | TIMEOUT |  |  |

# Scenario: TYPE2A

Type 2A — EP N1→N2 at SPJ (posterior) + RP N2→N1 in SSV. SFJ competent.

Steps checked: 5   |   Passed: 3   |   Failed: 2   |   Timeouts: 1

| # | Step | Event | Status | Action Received | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | stream_start |  | SKIP | — | — |
| 2 | P1 probe at SFJ — competent, no clip | probe_move | FAIL | move | Move distally along medial thigh toward mid-thigh |
| ✗ guidance missing any of ['SFJ', 'groin', 'femoral', 'junction'] |  |  |  |  |  |
| 3 | P2 probe at popliteal — Q1 still open, should assess SPJ | probe_move | PASS | move | Scan posteriorly at popliteal fossa for SPJ |
| 4 | clip_mark EP N1→N2 at SPJ (posY=0.47 posterior) | clip_mark | PASS | move | Move distally along posterior calf following saphenous trunk |
| 5 | P3 probe calf posterior — should trace SSV for RP | probe_move | PASS | move | Track medial calf distally following saphenous trunk |
| 6 | clip_mark RP N2→N1 SSV calf (posY=0.62 posterior) | clip_mark | FAIL | move | Move proximally to popliteal fossa |
| ✗ action='move', want='complete' ✗ guidance missing any of ['circuit', 'classification', 'complete', 'mapped'] |  |  |  |  |  |
| 7 | P4 KEY — EP at SPJ + RP in SSV → complete |  | TIMEOUT |  |  |

# Scenario: TYPE3

Type 3 — SFJ EP + trunk RP + tributary escape. Elimination test: No Reflux.

Steps checked: 9   |   Passed: 6   |   Failed: 3   |   Timeouts: 1

| # | Step | Event | Status | Action Received | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | stream_start |  | SKIP | — | — |
| 2 | P1 probe at SFJ | probe_move | FAIL | move | Move distally along medial thigh toward mid-thigh |
| ✗ guidance missing any of ['SFJ', 'groin', 'femoral', 'junction'] |  |  |  |  |  |
| 3 | clip_mark EP N1→N2 SFJ | clip_mark | PASS | move | Track GSV distally along medial thigh |
| 4 | clip_mark RP N2→N1 upper thigh | clip_mark | PASS | move | Move distally along medial thigh toward mid-thigh |
| 5 | P2 probe Hunterian — looking for EP N2→N3 | probe_move | FAIL | move | Move distally along medial thigh toward popliteal fossa |
| ✗ guidance missing any of ['tributary', 'escape', 'Hunterian', 'perforator', 'mid-thigh'] |  |  |  |  |  |
| 6 | clip_mark EP N2→N3 Hunterian (no elimTest yet) | clip_mark | PASS | move | Follow N3 tributary distally on medial thigh |
| 7 | P3 probe calf — follow tributary for re-entry | probe_move | PASS | move | Track medial calf distally following N3 tributary |
| 8 | clip_mark RP N3→N1 calf (re-entry found) | clip_mark | FAIL | complete | Circuit mapped — sufficient findings for classification |
| ✗ action='complete', want='maneuver' ✗ guidance missing any of ['compress', 'tributary', 'Doppler', 'GSV', 'record'] |  |  |  |  |  |
| 9 | P4 KEY — probe after all 3 clips + no elimTest → must fire maneuver | probe_move | PASS | maneuver | Compress tributary at mid-thigh — record whether GSV Doppler changes |
| 10 | clip_mark EP N2→N3 with elimTest=No Reflux (Type 3 confirmed) | clip_mark | PASS | complete | Circuit mapped — sufficient findings for classification |
| 11 | P5 KEY — No Reflux recorded → must fire complete |  | TIMEOUT |  |  |

# Scenario: TYPE1P2

Type 1+2 — SFJ EP + trunk RP + tributary escape. Elimination test: Reflux.

Steps checked: 4   |   Passed: 3   |   Failed: 1   |   Timeouts: 1

| # | Step | Event | Status | Action Received | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | stream_start |  | SKIP | — | — |
| 2 | clip_mark EP N1→N2 SFJ |  | SKIP | move | Move distally along medial thigh toward mid-thigh |
| 3 | clip_mark RP N2→N1 upper thigh |  | SKIP | move | Move distally along medial thigh toward Hunterian zone |
| 4 | clip_mark EP N2→N3 Hunterian | clip_mark | PASS | move | Follow N3 tributary distally on medial thigh |
| 5 | clip_mark RP N3→N1 calf — maneuver must fire | clip_mark | FAIL | complete | Circuit mapped — sufficient findings for classification |
| ✗ action='complete', want='maneuver' ✗ guidance missing any of ['compress', 'tributary', 'Doppler', 'record'] |  |  |  |  |  |
| 6 | P1 KEY — probe after all 3 clips + no elimTest → maneuver | probe_move | PASS | maneuver | Compress tributary at Hunterian zone — record whether GSV Doppler changes |
| 7 | clip_mark EP N2→N3 with elimTest=Reflux (Type 1+2 confirmed) | clip_mark | PASS | complete | Circuit mapped — sufficient findings for classification |
| 8 | P2 KEY — Reflux recorded → complete |  | TIMEOUT |  |  |

# Scenario: TYPE4

Type 4 — EP N1→N3 perforator direct + RP N2→N1 trunk. No SFJ entry.

Steps checked: 5   |   Passed: 2   |   Failed: 3   |   Timeouts: 1

| # | Step | Event | Status | Action Received | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | stream_start |  | SKIP | — | — |
| 2 | P1 probe at SFJ — competent, no clip | probe_move | FAIL | move | Move distally along medial thigh toward mid-thigh |
| ✗ guidance missing any of ['SFJ', 'groin', 'femoral'] |  |  |  |  |  |
| 3 | P2 probe at popliteal — SPJ competent | probe_move | FAIL | move | Move proximally to groin — scan femoral junction transversely |
| ✗ guidance missing any of ['popliteal', 'SPJ', 'posterior'] |  |  |  |  |  |
| 4 | P3 probe calf — looking for perforators | probe_move | PASS | move | Track medial calf distally following saphenous trunk |
| 5 | clip_mark EP N1→N3 calf perforator | clip_mark | PASS | move | Follow N3 tributary distally on medial lower calf |
| 6 | clip_mark RP N2→N1 GSV trunk | clip_mark | FAIL | move | Move proximally to groin -- scan femoral junction transversely |
| ✗ action='move', want='complete' ✗ guidance missing any of ['circuit', 'classification', 'complete', 'mapped'] |  |  |  |  |  |
| 7 | P4 KEY — EP N1→N3 + RP N2→N1 → complete |  | TIMEOUT |  |  |

# Scenario: TYPE6

Type 6 — EP N1→N3 + RP N3→N1 only. Pure perforator circuit, no trunk.

Steps checked: 4   |   Passed: 3   |   Failed: 1   |   Timeouts: 1

| # | Step | Event | Status | Action Received | Guidance |
| --- | --- | --- | --- | --- | --- |
| 1 | stream_start |  | SKIP | — | — |
| 2 | P1 probe at SFJ — competent | probe_move | FAIL | move | Move distally along medial thigh toward mid-thigh |
| ✗ guidance missing any of ['SFJ', 'groin', 'femoral'] |  |  |  |  |  |
| 3 | P2 probe at popliteal — SPJ competent | probe_move | PASS | move | Scan posteriorly at popliteal fossa for SPJ |
| 4 | clip_mark EP N1→N3 calf perforator (posY=0.68) | clip_mark | PASS | move | Track N3 tributary distally on lateral lower calf |
| 5 | clip_mark RP N3→N1 distal perforator (posY=0.78) | clip_mark | PASS | complete | Circuit mapped — sufficient findings for classification |
| 6 | P3 KEY — EP N1→N3 + RP N3→N1 only → complete (no trunk needed) |  | TIMEOUT |  |  |