# CHIVA Streaming Guidance — Test Run Report

Date: 2026-06-18  12:01:40    |    API: http://localhost:7861    |    Scenarios: 1

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| type1 | Type 1 — EP N1→N2 at SFJ + RP N2→N1 in GSV trunk. No tributary escape. | 5 | 3 | 0 |

OVERALL RESULT: FAILURES PRESENT ✗

# Scenario: TYPE1

Type 1 — EP N1→N2 at SFJ + RP N2→N1 in GSV trunk. No tributary escape.

Steps checked: 8   |   Passed: 5   |   Failed: 3   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: test_type1) | session_ready event | — | — | SKIP |
| 2 | Move probe to SFJ posY = 0.06 ¦ anterior-medial surface ¦ right leg | Action = "move" Guidance must mention any of: SFJ, groin, femoral, junction, saphenofemoral | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Mark clip: EP N1→N2 posY = 0.06 ¦ SFJ ¦ right leg | Action = "move" Guidance must mention any of: distal, thigh, trunk, GSV, medial | Move distally along medial thigh toward mid-thigh | move | PASS |
| 4 | Move probe to UPPER_THIGH posY = 0.18 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: trunk, reflux, squeeze, retrograde, saphenous, thigh | Track medial thigh distally following saphenous trunk | move | PASS |
| 5 | Mark clip: RP N2→N1 posY = 0.18 ¦ UPPER_THIGH ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, distal, mid-thigh, tributary, escape, perforator | Circuit mapped — sufficient findings for classification | complete | FAIL |
| ✗ Action: got "complete", expected "move" ✗ Guidance missing any of: Hunterian, distal, mid-thigh, tributary, escape, perforator |  |  |  |  |  |
| 6 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, tributary, escape, perforator, mid-thigh | Circuit mapped — sufficient findings for classification | complete | FAIL |
| ✗ Action: got "complete", expected "move" ✗ Guidance missing any of: Hunterian, tributary, escape, perforator, mid-thigh |  |  |  |  |  |
| 7 | Move probe to POPLITEAL posY = 0.47 ¦ posterior surface ¦ right leg | Action = "move" Guidance must mention any of: popliteal, SPJ, SSV, posterior, junction | Circuit mapped — sufficient findings for classification | complete | FAIL |
| ✗ Action: got "complete", expected "move" ✗ Guidance missing any of: popliteal, SPJ, SSV, posterior, junction |  |  |  |  |  |
| 8 | Move probe to MID_THIGH posY = 0.36 ¦ medial surface ¦ right leg | Must NOT fire action = "maneuver" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 9 | Move probe to MID_THIGH posY = 0.25 ¦ medial surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |