# CHIVA Streaming Guidance — Test Run Report

Date: 2026-06-18  12:07:43    |    API: http://localhost:7861    |    Scenarios: 1

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| type3 | Type 3 — SFJ EP + trunk RP + tributary escape. Elimination test: No Reflux. | 10 | 0 | 0 |

OVERALL RESULT: ALL PASS ✓

# Scenario: TYPE3

Type 3 — SFJ EP + trunk RP + tributary escape. Elimination test: No Reflux.

Steps checked: 10   |   Passed: 10   |   Failed: 0   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: test_type3) | session_ready event | — | — | SKIP |
| 2 | Move probe to SFJ posY = 0.06 ¦ anterior-medial surface ¦ right leg | Action = "move" Guidance must mention any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Mark clip: EP N1→N2 posY = 0.06 ¦ SFJ ¦ right leg | Action = "move" Guidance must mention any of: distal, thigh, trunk, GSV | Move distally along medial thigh toward mid-thigh | move | PASS |
| 4 | Mark clip: RP N2→N1 posY = 0.18 ¦ UPPER_THIGH ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, distal, tributary, escape | Scan medially at mid-thigh for tributary escape | move | PASS |
| 5 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: tributary, escape, Hunterian, perforator, mid-thigh | Scan medially at Hunterian perforator for tributary escape | move | PASS |
| 6 | Mark clip: EP N2→N3 posY = 0.28 ¦ HUNTERIAN ¦ right leg | Action = "move" Must NOT fire action = "maneuver" Guidance must mention any of: tributary, distal, calf, re-entry, follow | Follow N3 tributary distally on medial thigh | move | PASS |
| 7 | Move probe to CALF posY = 0.65 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: tributary, distal, calf, perforator, re-entry | Track medial calf distally following tributary | move | PASS |
| 8 | Mark clip: RP N3→N1 posY = 0.65 ¦ CALF ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, Doppler, GSV, record | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 9 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, record, Doppler | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 10 | Mark clip: EP N2→N3 posY = 0.28 ¦ HUNTERIAN ¦ right leg Elimination test: No Reflux | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 11 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |