# CHIVA Streaming Guidance — Test Run Report

Date: 2026-06-18  15:48:45    |    API: http://localhost:7861    |    Scenarios: 6

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| type1 | Type 1 — EP N1→N2 at SFJ + RP N2→N1 in GSV trunk. No tributary escape. | 8 | 0 | 0 |
| type2a | Type 2A — EP N1→N2 at SPJ (posterior) + RP N2→N1 in SSV. SFJ competent. | 6 | 0 | 0 |
| type3 | Type 3 — SFJ EP + trunk RP + tributary escape. Elimination test: No Reflux. | 10 | 0 | 0 |
| type1p2 | Type 1+2 — SFJ EP + trunk RP + tributary escape. Elimination test: Reflux. | 5 | 0 | 0 |
| type4 | Type 4 — EP N1→N3 perforator direct + RP N2→N1 trunk. No SFJ entry. | 6 | 0 | 0 |
| type6 | Type 6 — EP N1→N3 + RP N3→N1 only. Pure perforator circuit, no trunk. | 5 | 0 | 0 |

OVERALL RESULT: ALL PASS ✓

# Scenario: TYPE1

Type 1 — EP N1→N2 at SFJ + RP N2→N1 in GSV trunk. No tributary escape.

Steps checked: 8   |   Passed: 8   |   Failed: 0   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: test_type1) | session_ready event | — | — | SKIP |
| 2 | Move probe to SFJ posY = 0.06 ¦ anterior-medial surface ¦ right leg | Action = "move" Guidance must mention any of: SFJ, groin, femoral, junction, saphenofemoral | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Mark clip: EP N1→N2 posY = 0.06 ¦ SFJ ¦ right leg | Action = "move" Guidance must mention any of: distal, thigh, trunk, GSV, medial | Move distally along medial thigh toward mid-thigh | move | PASS |
| 4 | Move probe to UPPER_THIGH posY = 0.18 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: trunk, reflux, squeeze, retrograde, saphenous, thigh | Track medial thigh distally following saphenous trunk | move | PASS |
| 5 | Mark clip: RP N2→N1 posY = 0.18 ¦ UPPER_THIGH ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, distal, mid-thigh, tributary, escape, perforator | Scan medially at mid-thigh for tributary escape | move | PASS |
| 6 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, tributary, escape, perforator, mid-thigh | Scan medially at Hunterian zone for tributary escape | move | PASS |
| 7 | Move probe to POPLITEAL posY = 0.47 ¦ posterior surface ¦ right leg | Action = "move" Guidance must mention any of: popliteal, SPJ, SSV, posterior, junction | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 8 | Move probe to MID_THIGH posY = 0.36 ¦ medial surface ¦ right leg | Must NOT fire action = "maneuver" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 9 | Move probe to MID_THIGH posY = 0.25 ¦ medial surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE2A

Type 2A — EP N1→N2 at SPJ (posterior) + RP N2→N1 in SSV. SFJ competent.

Steps checked: 6   |   Passed: 6   |   Failed: 0   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: test_type2a) | session_ready event | — | — | SKIP |
| 2 | Move probe to SFJ posY = 0.06 ¦ anterior-medial surface ¦ right leg | Action = "move" Guidance must mention any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe to POPLITEAL posY = 0.47 ¦ posterior surface ¦ right leg | Action = "move" Guidance must mention any of: popliteal, SPJ, posterior, SSV, junction | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 4 | Mark clip: EP N1→N2 posY = 0.47 ¦ POPLITEAL ¦ right leg | Action = "move" Guidance must mention any of: distal, SSV, posterior, calf, trunk | Move distally along posterior calf toward mid-calf | move | PASS |
| 5 | Move probe to CALF posY = 0.62 ¦ posterior surface ¦ right leg | Action = "move" Guidance must mention any of: SSV, posterior, calf, reflux, trunk | Track posterior calf distally following saphenous trunk | move | PASS |
| 6 | Mark clip: RP N2→N1 posY = 0.62 ¦ CALF ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 7 | Move probe to CALF posY = 0.62 ¦ posterior surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE3

Type 3 — SFJ EP + trunk RP + tributary escape. Elimination test: No Reflux.

Steps checked: 10   |   Passed: 10   |   Failed: 0   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: test_type3) | session_ready event | — | — | SKIP |
| 2 | Move probe to SFJ posY = 0.06 ¦ anterior-medial surface ¦ right leg | Action = "move" Guidance must mention any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Mark clip: EP N1→N2 posY = 0.06 ¦ SFJ ¦ right leg | Action = "move" Guidance must mention any of: distal, thigh, trunk, GSV | Move distally along medial thigh toward mid-thigh | move | PASS |
| 4 | Mark clip: RP N2→N1 posY = 0.18 ¦ UPPER_THIGH ¦ right leg | Action = "move" Guidance must mention any of: Hunterian, distal, tributary, escape | Scan for tributary escape at Hunterian perforator | move | PASS |
| 5 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: tributary, escape, Hunterian, perforator, mid-thigh | Scan for tributary escape at Hunterian perforator | move | PASS |
| 6 | Mark clip: EP N2→N3 posY = 0.28 ¦ HUNTERIAN ¦ right leg | Action = "move" Must NOT fire action = "maneuver" Guidance must mention any of: tributary, distal, calf, re-entry, follow | Move distally along medial thigh to track tributary | move | PASS |
| 7 | Move probe to CALF posY = 0.65 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: tributary, distal, calf, perforator, re-entry | Track medial calf distally following tributary | move | PASS |
| 8 | Mark clip: RP N3→N1 posY = 0.65 ¦ CALF ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, Doppler, GSV, record | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 9 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, record, Doppler | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 10 | Mark clip: EP N2→N3 posY = 0.28 ¦ HUNTERIAN ¦ right leg Elimination test: No Reflux | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 11 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE1P2

Type 1+2 — SFJ EP + trunk RP + tributary escape. Elimination test: Reflux.

Steps checked: 5   |   Passed: 5   |   Failed: 0   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: test_type1p2) | session_ready event | — | — | SKIP |
| 2 | Mark clip: EP N1→N2 posY = 0.06 ¦ SFJ ¦ right leg | No assertion (observe only) | Given the current probe state and confirmed findings, we can synthesize the information as follows: 1. **Geometric Position**: The probe is currently at the SFJ zone (posY 0.06), which is the primary location for assessing the saphenofemoral junction. 2. **Confirmed Findings**: There is a confirmed EP N1→N2 at posY 0. | move | SKIP |
| 3 | Mark clip: RP N2→N1 posY = 0.18 ¦ UPPER_THIGH ¦ right leg | No assertion (observe only) | Given the current probe state and confirmed findings, we can synthesize the information as follows: 1. **Geometric Position**: The probe is currently at the upper thigh region (posY 0.18), specifically in the Hunterian zone, which is a common location for perforators. 2. **Confirmed Findings**: There is a confirmed EP N1→N2 at the SFJ ( | move | SKIP |
| 4 | Mark clip: EP N2→N3 posY = 0.28 ¦ HUNTERIAN ¦ right leg | Must NOT fire action = "maneuver" | Given the current probe state and confirmed findings, we can synthesize the information as follows: 1. **Geometric Position**: The probe is currently at the Hunterian zone (posY 0.28), which is a region known for perforators. 2. **Confirmed Findings**: There is a confirmed EP N1→N2 at the SFJ, a confirmed RP N2→N | move | PASS |
| 5 | Mark clip: RP N3→N1 posY = 0.65 ¦ CALF ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, Doppler, record | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 6 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "maneuver" Guidance must mention any of: compress, tributary, record | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 7 | Mark clip: EP N2→N3 posY = 0.28 ¦ HUNTERIAN ¦ right leg Elimination test: Reflux | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 8 | Move probe to HUNTERIAN posY = 0.28 ¦ medial surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE4

Type 4 — EP N1→N3 perforator direct + RP N2→N1 trunk. No SFJ entry.

Steps checked: 6   |   Passed: 6   |   Failed: 0   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: test_type4) | session_ready event | — | — | SKIP |
| 2 | Move probe to SFJ posY = 0.06 ¦ anterior-medial surface ¦ right leg | Action = "move" Guidance must mention any of: SFJ, groin, femoral | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe to POPLITEAL posY = 0.47 ¦ posterior surface ¦ right leg | Action = "move" Guidance must mention any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 4 | Move probe to CALF posY = 0.65 ¦ medial surface ¦ right leg | Action = "move" Guidance must mention any of: perforator, calf, tributary | Track medial calf distally following saphenous trunk | move | PASS |
| 5 | Mark clip: EP N1→N3 posY = 0.65 ¦ CALF ¦ right leg | Action = "move" Guidance must mention any of: tributary, trunk, GSV, trace, distal | Follow N3 tributary distally on medial lower calf | move | PASS |
| 6 | Mark clip: RP N2→N1 posY = 0.30 ¦ HUNTERIAN ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 7 | Move probe to HUNTERIAN posY = 0.30 ¦ medial surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE6

Type 6 — EP N1→N3 + RP N3→N1 only. Pure perforator circuit, no trunk.

Steps checked: 5   |   Passed: 5   |   Failed: 0   |   Timeouts: 0

| # | What Surgeon Did | Expected Guidance | LLM Guidance | LLM Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: test_type6) | session_ready event | — | — | SKIP |
| 2 | Move probe to SFJ posY = 0.06 ¦ anterior-medial surface ¦ right leg | Action = "move" Guidance must mention any of: SFJ, groin, femoral | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe to POPLITEAL posY = 0.47 ¦ posterior surface ¦ right leg | Action = "move" Guidance must mention any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 4 | Mark clip: EP N1→N3 posY = 0.68 ¦ CALF ¦ right leg | Action = "move" Guidance must mention any of: perforator, tributary, N3, distal, re-entry | Track lateral calf distally following tributary | move | PASS |
| 5 | Mark clip: RP N3→N1 posY = 0.78 ¦ CALF ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 6 | Move probe to CALF posY = 0.78 ¦ lateral surface ¦ right leg | Action = "complete" Guidance must mention any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |