# CHIVA Streaming — Test Set 3 Report (9 Scenarios)

Date: 2026-06-18  17:12:27    |    API: http://localhost:7861    |    Scenarios: 9

# Overall Summary

| Scenario | Description | Passed | Failed | Timeouts |
| --- | --- | --- | --- | --- |
| hunterian_entry | Hunterian perforator entry (SFJ competent) — Type 1 via mid-thigh EP N1→N2; full distal sweep to ankle; complete fires at RP N2→N1 clip_mark. | 23 | 0 | 0 |
| ssv_extended | SSV extended — SPJ entry, full SSV sweep to ankle and back; complete fires at RP N2→N1 clip_mark (no escape found, max_visited=0.88). | 21 | 0 | 0 |
| left_type4 | Left leg Type 4 — SFJ+SPJ left competent; EP N1→N3 left calf; RP N2→N1 left Hunterian → Type 4 complete (ep_n1_n3 + rp_n2_n1). | 20 | 0 | 0 |
| ankle_type6 | Ankle Type 6 — both junctions competent; EP N1→N3 ankle lateral; RP N3→N1 calf lateral → Type 6 complete (no trunk). | 21 | 0 | 1 |
| type3_no_reflux | Type 3 escape circuit (No Reflux elim) — SFJ entry; EP N2→N3 marked before RP N2→N1 to block Rule 6; full sweep; RP N3→N1 + RP N2→N1 → maneuver; elim='No Reflux' → Type 3 complete. | 26 | 0 | 0 |
| type1p2_reflux | Type 1+2 escape circuit (Reflux elim) — SPJ/SSV entry; EP N2→N3 along SSV before RP N2→N1; full ankle sweep; RP N3→N1 + RP N2→N1 → maneuver; elim='Reflux' → Type 1+2 complete. | 24 | 0 | 0 |
| type5_complex | Type 5 four-clip perforator circuit — both junctions competent; EP N1→N3 Hunterian; RP N3→N2 calf; EP N2→N3 distal calf; RP N3→N1 ankle → Rule 5b complete (no rp_n2_n1). | 26 | 0 | 0 |
| sfj_entry_long | Type 1/2A standard SFJ entry — EP N1→N2 at SFJ; long multi-zone sweep to ankle (max_visited=0.87); RP N2→N1 at calf → Rule 6 complete. | 23 | 0 | 0 |
| calf_medial_t4 | Type 4 distal perforator — EP N1→N3 at ankle (0.88); long proximal sweep; RP N2→N1 at Hunterian → Rule 4 complete immediately (no max_visited gate). | 25 | 0 | 0 |

OVERALL: FAILURES PRESENT

# Scenario: HUNTERIAN_ENTRY

Hunterian perforator entry (SFJ competent) — Type 1 via mid-thigh EP N1→N2; full distal sweep to ankle; complete fires at RP N2→N1 clip_mark.

Checked: 23   |   Passed: 23   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_hunt_entry) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → SFJ posY=0.09 anterior-medial right leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 4 | Move probe → UPPER_THIGH posY=0.14 medial right leg | Action = "move" | Move proximally toward groin to assess femoral junction | move | PASS |
| 5 | Move probe → UPPER_THIGH posY=0.20 medial right leg | Action = "move" | Move proximally toward groin to assess femoral junction | move | PASS |
| 6 | Move probe → HUNTERIAN posY=0.24 medial right leg | Action = "move" | Move proximally toward groin to assess femoral junction | move | PASS |
| 7 | Mark: EP N1→N2 posY=0.26 HUNTERIAN right leg | Action = "move" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 8 | Move probe → HUNTERIAN posY=0.31 medial right leg | Action = "move" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 9 | Move probe → DISTAL_THIGH posY=0.38 medial right leg | Action = "move" | Move distally along medial thigh toward popliteal fossa | move | PASS |
| 10 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 11 | Move probe → POPLITEAL posY=0.53 posterior right leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 12 | Move probe → CALF posY=0.60 posterior right leg | Action = "move" | Track posterior calf distally following small saphenous vein | move | PASS |
| 13 | Move probe → CALF posY=0.65 medial right leg | Action = "move" | Track medial calf distally following great saphenous vein | move | PASS |
| 14 | Move probe → CALF posY=0.72 medial right leg | Action = "move" | Track medial calf distally following great saphenous vein | move | PASS |
| 15 | Move probe → ANKLE posY=0.87 medial right leg | Action = "move" | Scan medially at ankle level for saphenous termination | move | PASS |
| 16 | Move probe → CALF posY=0.78 medial right leg | Action = "move" | Track medial calf distally following great saphenous vein | move | PASS |
| 17 | Move probe → CALF posY=0.68 medial right leg | Action = "move" | Track medial calf distally following great saphenous vein | move | PASS |
| 18 | Move probe → POPLITEAL posY=0.51 posterior right leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 19 | Move probe → DISTAL_THIGH posY=0.40 medial right leg | Action = "move" | Move distally along medial thigh toward knee | move | PASS |
| 20 | Move probe → HUNTERIAN posY=0.32 medial right leg | Action = "move" | Move distally along medial thigh toward knee | move | PASS |
| 21 | Move probe → HUNTERIAN posY=0.26 medial right leg | Action = "move" | Scan transversely at Hunterian zone to assess saphenous vein | move | PASS |
| 22 | Mark: RP N2→N1 posY=0.71 CALF right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 23 | Move probe → HUNTERIAN posY=0.28 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 24 | Move probe → CALF posY=0.65 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: SSV_EXTENDED

SSV extended — SPJ entry, full SSV sweep to ankle and back; complete fires at RP N2→N1 clip_mark (no escape found, max_visited=0.88).

Checked: 21   |   Passed: 21   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_ssv_ext) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 4 | Move probe → POPLITEAL posY=0.51 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 5 | Mark: EP N1→N2 posY=0.48 POPLITEAL right leg | Action = "move" | Move distally along posterior thigh toward calf | move | PASS |
| 6 | Move probe → CALF posY=0.57 posterior right leg | Action = "move" | Move distally along posterior calf toward ankle | move | PASS |
| 7 | Move probe → CALF posY=0.63 posterior right leg | Action = "move" | Track posterior calf distally following saphenous trunk | move | PASS |
| 8 | Move probe → CALF posY=0.68 posterior right leg | Action = "move" | Track posterior calf distally following saphenous trunk | move | PASS |
| 9 | Move probe → CALF posY=0.74 posterior right leg | Action = "move" | Move distally along posterior calf toward ankle | move | PASS |
| 10 | Move probe → ANKLE posY=0.88 posterior right leg | Action = "move" | Scan posteriorly at ankle to locate saphenous termination | move | PASS |
| 11 | Move probe → CALF posY=0.81 posterior right leg | Action = "move" | Track medial calf distally following saphenous trunk | move | PASS |
| 12 | Move probe → CALF posY=0.73 posterior right leg | Action = "move" | Track medial calf distally following saphenous trunk | move | PASS |
| 13 | Move probe → CALF posY=0.65 posterior right leg | Action = "move" | Move proximally along posterior calf toward popliteal | move | PASS |
| 14 | Move probe → CALF posY=0.58 posterior right leg | Action = "move" | Move proximally along posterior calf toward popliteal | move | PASS |
| 15 | Move probe → POPLITEAL posY=0.53 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa to assess junction | move | PASS |
| 16 | Move probe → POPLITEAL posY=0.48 posterior right leg | Action = "move" | Scan transversely at popliteal fossa to assess saphenopopliteal junction | move | PASS |
| 17 | Move probe → CALF posY=0.57 posterior right leg | Action = "move" | Move proximally along posterior calf toward popliteal | move | PASS |
| 18 | Move probe → CALF posY=0.63 posterior right leg | Action = "move" | Move proximally along posterior calf toward popliteal | move | PASS |
| 19 | Mark: RP N2→N1 posY=0.65 CALF right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 20 | Move probe → CALF posY=0.62 posterior right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 21 | Move probe → POPLITEAL posY=0.49 posterior right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |
| 22 | Move probe → SFJ posY=0.07 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: LEFT_TYPE4

Left leg Type 4 — SFJ+SPJ left competent; EP N1→N3 left calf; RP N2→N1 left Hunterian → Type 4 complete (ep_n1_n3 + rp_n2_n1).

Checked: 20   |   Passed: 20   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_left_t4) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial left leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → POPLITEAL posY=0.47 posterior left leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 4 | Move probe → POPLITEAL posY=0.52 posterior left leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 5 | Move probe → CALF posY=0.58 medial left leg | Action = "move" | Track medial calf distally following saphenous trunk | move | PASS |
| 6 | Move probe → CALF posY=0.63 medial left leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 7 | Move probe → CALF posY=0.69 medial left leg | Action = "move" | Track medial calf distally following saphenous trunk | move | PASS |
| 8 | Move probe → CALF posY=0.76 medial left leg | Action = "move" | Move distally along medial calf toward ankle | move | PASS |
| 9 | Mark: EP N1→N3 posY=0.69 CALF left leg | Action = "move" | Follow N3 tributary distally on medial lower calf | move | PASS |
| 10 | Move probe → POPLITEAL posY=0.50 posterior left leg | Action = "move" | Move proximally along posterior thigh toward Hunterian zone | move | PASS |
| 11 | Move probe → DISTAL_THIGH posY=0.41 medial left leg | Action = "move" | Scan medially at mid-thigh for Hunterian perforator | move | PASS |
| 12 | Move probe → HUNTERIAN posY=0.35 medial left leg | Action = "move" | Track medial thigh proximally toward SFJ | move | PASS |
| 13 | Move probe → HUNTERIAN posY=0.29 medial left leg | Action = "move" | Move proximally along medial thigh toward groin | move | PASS |
| 14 | Move probe → HUNTERIAN posY=0.23 medial left leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 15 | Move probe → UPPER_THIGH posY=0.17 medial left leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 16 | Move probe → UPPER_THIGH posY=0.13 medial left leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 17 | Move probe → HUNTERIAN posY=0.22 medial left leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 18 | Move probe → HUNTERIAN posY=0.28 medial left leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 19 | Mark: RP N2→N1 posY=0.30 HUNTERIAN left leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 20 | Move probe → UPPER_THIGH posY=0.17 medial left leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 21 | Move probe → CALF posY=0.65 medial left leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: ANKLE_TYPE6

Ankle Type 6 — both junctions competent; EP N1→N3 ankle lateral; RP N3→N1 calf lateral → Type 6 complete (no trunk).

Checked: 21   |   Passed: 21   |   Failed: 0   |   Timeouts: 1

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_ankle_t6) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 4 | Move probe → POPLITEAL posY=0.52 posterior right leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 5 | Move probe → CALF posY=0.59 medial right leg | Action = "move" | Track medial calf distally following saphenous trunk | move | PASS |
| 6 | Move probe → CALF posY=0.65 medial right leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 7 | Move probe → CALF posY=0.62 lateral right leg | Action = "move" | Scan laterally at mid-calf for saphenous vein | move | PASS |
| 8 | Move probe → CALF posY=0.69 lateral right leg | Action = "move" | Move proximally along lateral calf toward popliteal fossa | move | PASS |
| 9 | Move probe → CALF posY=0.75 lateral right leg | Action = "move" | Move proximally along lateral calf toward knee | move | PASS |
| 10 | Move probe → CALF posY=0.79 posterior right leg | Action = "move" | Scan posteriorly at lower calf for perforators | move | PASS |
| 11 | Move probe → ANKLE posY=0.87 lateral right leg | Action = "move" | Move proximally along lateral ankle toward calf | move | PASS |
| 12 | Move probe → ANKLE posY=0.91 lateral right leg | Action = "move" | Move proximally along lateral ankle toward lower calf | move | PASS |
| 13 | Mark: EP N1→N3 posY=0.89 ANKLE right leg | Action = "move" Must NOT = "complete" | Track N3 tributary distally on lateral ankle | move | PASS |
| 14 | Move probe → ANKLE posY=0.91 lateral right leg | Action = "move" | -- | -- | TIMEOUT |
| 15 | Move probe → CALF posY=0.84 lateral right leg | Action = "move" | Follow N3 tributary proximally on lateral calf | move | PASS |
| 16 | Move probe → CALF posY=0.80 lateral right leg | Action = "move" | Move proximally along lateral calf toward popliteal fossa | move | PASS |
| 17 | Move probe → CALF posY=0.76 lateral right leg | Action = "move" | Track N3 tributary proximally on lateral calf | move | PASS |
| 18 | Move probe → CALF posY=0.72 lateral right leg | Action = "move" | Move proximally along lateral calf toward popliteal fossa | move | PASS |
| 19 | Move probe → CALF posY=0.67 lateral right leg | Action = "move" | Scan posteriorly at popliteal fossa for re-entry perforator | move | PASS |
| 20 | Move probe → CALF posY=0.63 posterior right leg | Action = "move" | Move proximally along posterior calf toward popliteal fossa | move | PASS |
| 21 | Mark: RP N3→N1 posY=0.76 CALF right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 22 | Move probe → CALF posY=0.76 lateral right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 23 | Move probe → POPLITEAL posY=0.48 posterior right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE3_NO_REFLUX

Type 3 escape circuit (No Reflux elim) — SFJ entry; EP N2→N3 marked before RP N2→N1 to block Rule 6; full sweep; RP N3→N1 + RP N2→N1 → maneuver; elim='No Reflux' → Type 3 complete.

Checked: 26   |   Passed: 26   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_t3_noreflux) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Mark: EP N1→N2 posY=0.07 SFJ right leg | Action = "move" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 4 | Move probe → UPPER_THIGH posY=0.13 medial right leg | Action = "move" | Track GSV distally along medial thigh | move | PASS |
| 5 | Move probe → UPPER_THIGH posY=0.20 medial right leg | Action = "move" | Continue distally along medial thigh toward mid-thigh | move | PASS |
| 6 | Move probe → HUNTERIAN posY=0.27 medial right leg | Action = "move" | Scan transversely at Hunterian zone to assess perforator | move | PASS |
| 7 | Move probe → HUNTERIAN posY=0.33 medial right leg | Action = "move" | Move distally along medial thigh toward popliteal fossa | move | PASS |
| 8 | Move probe → HUNTERIAN posY=0.38 medial right leg | Action = "move" | Move distally toward popliteal fossa | move | PASS |
| 9 | Mark: EP N2→N3 posY=0.38 HUNTERIAN right leg | Action = "move" Must NOT = "complete" | Follow N3 tributary distally on medial thigh | move | PASS |
| 10 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to assess SPJ | move | PASS |
| 11 | Move probe → POPLITEAL posY=0.53 posterior right leg | Action = "move" | Move distally along posterior calf | move | PASS |
| 12 | Move probe → CALF posY=0.60 posterior right leg | Action = "move" | Track N3 tributary distally on posterior calf | move | PASS |
| 13 | Move probe → CALF posY=0.66 medial right leg | Action = "move" | Follow N3 tributary distally on medial lower calf | move | PASS |
| 14 | Move probe → CALF posY=0.72 medial right leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 15 | Move probe → ANKLE posY=0.85 medial right leg | Action = "move" | Scan medially at ankle to locate perforator | move | PASS |
| 16 | Move probe → CALF posY=0.78 medial right leg | Action = "move" | Track medial calf proximally toward popliteal fossa | move | PASS |
| 17 | Move probe → CALF posY=0.72 medial right leg | Action = "move" | Move proximally along medial thigh toward Hunterian | move | PASS |
| 18 | Mark: RP N3→N1 posY=0.72 CALF right leg | Action = "move" Must NOT = "maneuver" | Continue scanning distally to locate anatomical junction | move | PASS |
| 19 | Move probe → CALF posY=0.65 medial right leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 20 | Move probe → CALF posY=0.58 medial right leg | Action = "move" | Move proximally along medial calf toward popliteal | move | PASS |
| 21 | Move probe → HUNTERIAN posY=0.33 medial right leg | Action = "move" | Scan transversely at Hunterian zone | move | PASS |
| 22 | Move probe → HUNTERIAN posY=0.28 medial right leg | Action = "move" | Move distally along medial thigh toward calf | move | PASS |
| 23 | Mark: RP N2→N1 posY=0.28 HUNTERIAN right leg | Action = "maneuver" Guidance contains any of: compress, tributary | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 24 | Move probe → CALF posY=0.65 medial right leg | Action = "maneuver" | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 25 | Mark: EP N2→N3 posY=0.38 HUNTERIAN right leg Elim: No Reflux | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 26 | Move probe → CALF posY=0.65 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 27 | Move probe → HUNTERIAN posY=0.28 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE1P2_REFLUX

Type 1+2 escape circuit (Reflux elim) — SPJ/SSV entry; EP N2→N3 along SSV before RP N2→N1; full ankle sweep; RP N3→N1 + RP N2→N1 → maneuver; elim='Reflux' → Type 1+2 complete.

Checked: 24   |   Passed: 24   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_t1p2_reflux) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to assess junction | move | PASS |
| 4 | Move probe → POPLITEAL posY=0.52 posterior right leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 5 | Mark: EP N1→N2 posY=0.48 POPLITEAL right leg | Action = "move" | Move distally along posterior thigh toward calf | move | PASS |
| 6 | Move probe → CALF posY=0.55 posterior right leg | Action = "move" | Track posterior calf distally following saphenous trunk | move | PASS |
| 7 | Move probe → CALF posY=0.61 posterior right leg | Action = "move" | Move distally along posterior calf toward ankle | move | PASS |
| 8 | Move probe → CALF posY=0.67 posterior right leg | Action = "move" | Track posterior calf distally following saphenous trunk | move | PASS |
| 9 | Mark: EP N2→N3 posY=0.67 CALF right leg | Action = "move" Must NOT = "complete" | Follow N3 tributary distally on posterior lower calf | move | PASS |
| 10 | Move probe → CALF posY=0.73 posterior right leg | Action = "move" | Follow N3 tributary distally on posterior lower calf | move | PASS |
| 11 | Move probe → CALF posY=0.79 posterior right leg | Action = "move" | Follow N3 tributary distally toward ankle | move | PASS |
| 12 | Move probe → ANKLE posY=0.89 posterior right leg | Action = "move" | Scan posteriorly at ankle level for re-entry perforator | move | PASS |
| 13 | Move probe → ANKLE posY=0.83 posterior right leg | Action = "move" | Scan posteriorly at ankle level for re-entry perforator | move | PASS |
| 14 | Move probe → CALF posY=0.77 posterior right leg | Action = "move" | Follow N3 tributary proximally on posterior calf | move | PASS |
| 15 | Move probe → CALF posY=0.71 posterior right leg | Action = "move" | Follow N3 tributary proximally on posterior calf | move | PASS |
| 16 | Mark: RP N3→N1 posY=0.87 ANKLE right leg | Action = "move" Must NOT = "maneuver" | Continue scanning distally to locate anatomical junction | move | PASS |
| 17 | Move probe → CALF posY=0.77 posterior right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 18 | Move probe → CALF posY=0.70 posterior right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 19 | Move probe → POPLITEAL posY=0.57 posterior right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 20 | Move probe → POPLITEAL posY=0.50 posterior right leg | Action = "move" | Continue scanning distally to locate anatomical junction | move | PASS |
| 21 | Mark: RP N2→N1 posY=0.65 CALF right leg | Action = "maneuver" Guidance contains any of: compress, tributary | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 22 | Move probe → CALF posY=0.60 posterior right leg | Action = "maneuver" | Compress tributary — record whether GSV Doppler changes | maneuver | PASS |
| 23 | Mark: EP N2→N3 posY=0.67 CALF right leg Elim: Reflux | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 24 | Move probe → POPLITEAL posY=0.49 posterior right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 25 | Move probe → SFJ posY=0.07 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: TYPE5_COMPLEX

Type 5 four-clip perforator circuit — both junctions competent; EP N1→N3 Hunterian; RP N3→N2 calf; EP N2→N3 distal calf; RP N3→N1 ankle → Rule 5b complete (no rp_n2_n1).

Checked: 26   |   Passed: 26   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_t5_complex) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to assess popliteal junction | move | PASS |
| 4 | Move probe → POPLITEAL posY=0.52 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa to assess popliteal junction | move | PASS |
| 5 | Move probe → UPPER_THIGH posY=0.15 medial right leg | Action = "move" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 6 | Move probe → HUNTERIAN posY=0.21 medial right leg | Action = "move" | Scan transversely at Hunterian zone to assess perforators | move | PASS |
| 7 | Move probe → HUNTERIAN posY=0.27 medial right leg | Action = "move" | Move distally along medial thigh toward popliteal fossa | move | PASS |
| 8 | Move probe → HUNTERIAN posY=0.33 medial right leg | Action = "move" | Move distally along medial thigh toward popliteal fossa | move | PASS |
| 9 | Mark: EP N1→N3 posY=0.30 HUNTERIAN right leg | Action = "move" Must NOT = "complete" | Track N3 tributary distally on medial thigh | move | PASS |
| 10 | Move probe → DISTAL_THIGH posY=0.40 medial right leg | Action = "move" | Move distally along medial thigh toward popliteal fossa | move | PASS |
| 11 | Move probe → POPLITEAL posY=0.48 posterior right leg | Action = "move" | Scan posteriorly at popliteal fossa to assess popliteal junction | move | PASS |
| 12 | Move probe → CALF posY=0.56 posterior right leg | Action = "move" | Follow N3 tributary distally on posterior calf | move | PASS |
| 13 | Mark: RP N3→N2 posY=0.60 CALF right leg | Action = "move" Must NOT = "complete" | Track trunk distally along posterior calf | move | PASS |
| 14 | Move probe → CALF posY=0.65 posterior right leg | Action = "move" | Track trunk distally along posterior calf | move | PASS |
| 15 | Move probe → CALF posY=0.71 medial right leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 16 | Move probe → CALF posY=0.77 medial right leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 17 | Move probe → ANKLE posY=0.87 medial right leg | Action = "move" | Scan medially at ankle to assess saphenous termination | move | PASS |
| 18 | Move probe → CALF posY=0.80 medial right leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 19 | Move probe → CALF posY=0.73 medial right leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 20 | Move probe → CALF posY=0.66 medial right leg | Action = "move" | Move proximally along medial calf toward popliteal | move | PASS |
| 21 | Mark: EP N2→N3 posY=0.68 CALF right leg | Action = "move" Must NOT = "complete" | Follow N3 tributary distally on medial lower calf | move | PASS |
| 22 | Move probe → CALF posY=0.75 medial right leg | Action = "move" | Follow N3 tributary distally on medial lower calf | move | PASS |
| 23 | Move probe → ANKLE posY=0.85 medial right leg | Action = "move" | Scan medially at ankle to assess saphenous termination | move | PASS |
| 24 | Move probe → ANKLE posY=0.90 medial right leg | Action = "move" | Move proximally along medial calf toward calf | move | PASS |
| 25 | Mark: RP N3→N1 posY=0.88 ANKLE right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 26 | Move probe → CALF posY=0.65 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 27 | Move probe → HUNTERIAN posY=0.30 medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: SFJ_ENTRY_LONG

Type 1/2A standard SFJ entry — EP N1→N2 at SFJ; long multi-zone sweep to ankle (max_visited=0.87); RP N2→N1 at calf → Rule 6 complete.

Checked: 23   |   Passed: 23   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_sfj_long) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → SFJ posY=0.09 anterior-medial right leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 4 | Mark: EP N1→N2 posY=0.07 SFJ right leg | Action = "move" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 5 | Move probe → UPPER_THIGH posY=0.13 medial right leg | Action = "move" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 6 | Move probe → UPPER_THIGH posY=0.18 medial right leg | Action = "move" | Move distally along medial thigh toward mid-thigh | move | PASS |
| 7 | Move probe → UPPER_THIGH posY=0.23 medial right leg | Action = "move" | Move distally along medial thigh toward Hunterian zone | move | PASS |
| 8 | Move probe → HUNTERIAN posY=0.28 medial right leg | Action = "move" | Move distally along medial thigh toward popliteal fossa | move | PASS |
| 9 | Move probe → HUNTERIAN posY=0.33 medial right leg | Action = "move" | Move distally along medial thigh toward popliteal fossa | move | PASS |
| 10 | Move probe → HUNTERIAN posY=0.38 medial right leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 11 | Move probe → DISTAL_THIGH posY=0.43 medial right leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 12 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to assess SPJ | move | PASS |
| 13 | Move probe → POPLITEAL posY=0.53 posterior right leg | Action = "move" | Track popliteal vein distally toward calf | move | PASS |
| 14 | Move probe → CALF posY=0.60 posterior right leg | Action = "move" | Track medial calf distally following saphenous trunk | move | PASS |
| 15 | Move probe → CALF posY=0.66 medial right leg | Action = "move" | Follow N3 tributary distally on medial lower calf | move | PASS |
| 16 | Move probe → CALF posY=0.72 medial right leg | Action = "move" | Follow N3 tributary distally on medial lower calf | move | PASS |
| 17 | Move probe → CALF posY=0.78 medial right leg | Action = "move" | Track medial calf distally toward ankle | move | PASS |
| 18 | Move probe → ANKLE posY=0.87 medial right leg | Action = "move" | Move proximally along medial calf to reassess saphenous trunk | move | PASS |
| 19 | Move probe → CALF posY=0.80 medial right leg | Action = "move" | Move proximally along medial thigh toward Hunterian zone | move | PASS |
| 20 | Move probe → CALF posY=0.74 medial right leg | Action = "move" | Move proximally along medial thigh toward mid-thigh | move | PASS |
| 21 | Move probe → CALF posY=0.67 medial right leg | Action = "move" | Scan transversely at mid-thigh to assess saphenous trunk | move | PASS |
| 22 | Mark: RP N2→N1 posY=0.68 CALF right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 23 | Move probe → POPLITEAL posY=0.50 posterior right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 24 | Move probe → SFJ posY=0.07 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |

# Scenario: CALF_MEDIAL_T4

Type 4 distal perforator — EP N1→N3 at ankle (0.88); long proximal sweep; RP N2→N1 at Hunterian → Rule 4 complete immediately (no max_visited gate).

Checked: 25   |   Passed: 25   |   Failed: 0   |   Timeouts: 0

| # | Surgeon Action | Expected | LLM Guidance | Action | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Start session (id: ts3_calf_t4) | session_ready event | -- | -- | SKIP |
| 2 | Move probe → SFJ posY=0.06 anterior-medial right leg | Action = "move" Guidance contains any of: SFJ, groin, femoral, junction | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 3 | Move probe → POPLITEAL posY=0.47 posterior right leg | Action = "move" Guidance contains any of: popliteal, SPJ, posterior | Scan posteriorly at popliteal fossa to locate popliteal junction | move | PASS |
| 4 | Move probe → POPLITEAL posY=0.52 posterior right leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 5 | Move probe → CALF posY=0.59 posterior right leg | Action = "move" | Move distally along posterior calf toward ankle | move | PASS |
| 6 | Move probe → CALF posY=0.64 medial right leg | Action = "move" | Track medial calf distally following saphenous trunk | move | PASS |
| 7 | Move probe → CALF posY=0.70 medial right leg | Action = "move" | Follow medial calf distally toward ankle | move | PASS |
| 8 | Move probe → CALF posY=0.76 medial right leg | Action = "move" | Track medial calf distally toward medial ankle | move | PASS |
| 9 | Move probe → ANKLE posY=0.85 medial right leg | Action = "move" | Scan medially at ankle level for saphenous termination | move | PASS |
| 10 | Move probe → ANKLE posY=0.91 lateral right leg | Action = "move" | Scan laterally at ankle level for short saphenous junction | move | PASS |
| 11 | Move probe → ANKLE posY=0.85 medial right leg | Action = "move" | Move proximally along medial calf toward calf | move | PASS |
| 12 | Move probe → CALF posY=0.78 medial right leg | Action = "move" | Move proximally along medial calf toward popliteal fossa | move | PASS |
| 13 | Mark: EP N1→N3 posY=0.88 ANKLE right leg | Action = "move" Must NOT = "complete" | Track N3 tributary distally on medial ankle | move | PASS |
| 14 | Move probe → CALF posY=0.80 lateral right leg | Action = "move" | Move proximally along lateral calf toward popliteal fossa | move | PASS |
| 15 | Move probe → CALF posY=0.74 posterior right leg | Action = "move" | Move proximally along posterior calf toward popliteal fossa | move | PASS |
| 16 | Move probe → CALF posY=0.67 posterior right leg | Action = "move" | Move proximally along posterior calf toward thigh | move | PASS |
| 17 | Move probe → POPLITEAL posY=0.54 posterior right leg | Action = "move" | Scan posteriorly at knee level for popliteal junction | move | PASS |
| 18 | Move probe → POPLITEAL posY=0.48 posterior right leg | Action = "move" | Move proximally along posterior thigh toward mid-thigh | move | PASS |
| 19 | Move probe → DISTAL_THIGH posY=0.41 medial right leg | Action = "move" | Move proximally along medial thigh toward groin | move | PASS |
| 20 | Move probe → HUNTERIAN posY=0.35 medial right leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 21 | Move probe → HUNTERIAN posY=0.29 medial right leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 22 | Move probe → HUNTERIAN posY=0.23 medial right leg | Action = "move" | Move distally along medial thigh toward Hunterian zone | move | PASS |
| 23 | Move probe → UPPER_THIGH posY=0.16 medial right leg | Action = "move" | Scan transversely at groin crease to assess femoral junction | move | PASS |
| 24 | Mark: RP N2→N1 posY=0.28 HUNTERIAN right leg | Action = "complete" Guidance contains any of: circuit, classification, complete, mapped | Circuit mapped — sufficient findings for classification | complete | PASS |
| 25 | Move probe → CALF posY=0.65 medial right leg | Action = "complete" Guidance contains any of: circuit, classification | Circuit mapped — sufficient findings for classification | complete | PASS |
| 26 | Move probe → SFJ posY=0.07 anterior-medial right leg | Action = "complete" | Circuit mapped — sufficient findings for classification | complete | PASS |