# Shunt Classification RAG Relevance Report

| Config | Value |
| --- | --- |
| Generated | 2026-04-20 17:10:13 |
| Vector DB | Qdrant ¦ collection=shunt_classification_db |
| Embedding model | llama3.2:1b |
| LLM (ablation) | llama-3.3-70b-versatile |
| Test cases | 7 |
| k values tested | [1, 3, 5, 7] |
| Keywords checked | 36 |
| Focus | Shunt type classification only |

Collection 'shunt_classification_db' — 75 vectors loaded.

# Test 1 — Chunk Inspection (top-3 per case)

For each shunt pattern the classification-focused RAG query is issued against shunt_classification_db. Top-3 chunks are shown with cosine similarity scores and matching classification keywords.

## Type 1 — SFJ incompetent, GSV trunk reflux only

| Field | Value |
| --- | --- |
| Expected shunt type | Type 1 |
| RAG query | CHIVA shunt classification Type 1 shunt SFJ incompetent GSV trunk reflux N1-N2-N1 closed shunt EP: N1→N2. RP: N2→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Chunks retrieved | 3 |
| Chunks with classification keywords | 3 / 3 (100.0%) |
| Avg cosine similarity | 0.6379 |

Chunk 1  |  score=0.6660  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, type 3, chiva, n2, n3, escape point, re-entry, saphenous, gsv, ssv, reflux, tributary, closed shunt, popliteal

saphenous veins of one leg. Mostly these refluxes are interconnected. It is very seldom to find independent refluxes affecting both superficial collectors. In this case, they have to be treated isolately considering each as one recirculation circuit. Often, especially in persons after sports with trauma on the calf, different muscle perforating veins with reflux feeding superficial N3 vessels independently are found. This is another situation with lots of independent recirculations, but not affecting saphenous veins. The two scenarios most often found is the connection of great and small saphenous vein either through the Giacomini vein or through a tributary below the knee. In both situations, either vein can serve as drainage for the other. #### 6.11.6.1 Connection via the Giacomini Vein …

Chunk 2  |  score=0.6330  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: chiva, n1, n2, n3, ep , rp , saphenous, gsv, ssv, reflux, femoral, popliteal, venous insufficiency

from a reunion of the two previously separated stumps (the saphenous trunk and the femoral-popliteal vein in case of a R Delfrate - CHIVA strategy in the treatment of venous insufficiency useful for lower limb or coronary bypasses if the B-mode appearance is, most of the time, regular (fig.2). ## CHIVA Hemodynamic basis The venous hemodynamics takes into account various venous pressure parameters 32-33. **Transmural Pressure**: **TMP** is the pressure resulting from the intra-venous pressure IVP and the extra-venous pressure EVP opposition. So, it increases with the rise of IVP, decrease of EVP, and vice versa. IVP is composed of Residual Pressure (RP) provided by the arterial pressure through the micro-circulation resistance, Gravitational Hydrostatic Pressure (GHP) that varies with the v…

Chunk 3  |  score=0.6146  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, chiva, n1, n2, n3, ep , escape point, re-entry, saphenous, gsv, sfj, reflux, retrograde, antegrade, perforator, closed shunt, femoral, venous insufficiency, n1-n2, n2-n3

easily recognized under duplex investigation. However, most of the CHIVA group in Europe still continue to adopt the above described classification for superficial venous insufficiency. ## 2. Deep Shunts Deep shunts are CS or VOS but never ODS. **Shunt's Classification** 71 ## 3. Superficial Shunts Superficial shunts are superficial shunting veins that deviate only superficial venous flows when ODS is activated. They can deviate deep or superficial flows if VOS or CS. ### 3.1. Shunt 0: Shunt 0 is an ODS or a VOS where, contrary to shunt 2 (N2-N3-N1), the drainage direction is normal (N3-N2-N1), even if flow in the N2 segment is retrograde. For example, when only the sapheno-femoral junction valve is competent and distal valves are incompetent, tributaries of the arch are drained during the…

## Type 2A — GSV feeds tributary, SFJ competent

| Field | Value |
| --- | --- |
| Expected shunt type | Type 2A |
| RAG query | CHIVA shunt classification Type 2A shunt SFJ competent GSV tributary open deviated shunt N2-N3 EP: N2→N3. RP: N3→N2. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Chunks retrieved | 3 |
| Chunks with classification keywords | 3 / 3 (100.0%) |
| Avg cosine similarity | 0.6717 |

Chunk 1  |  score=0.6938  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, type 3, chiva, n2, n3, escape point, re-entry, saphenous, gsv, ssv, reflux, tributary, closed shunt, popliteal

saphenous veins of one leg. Mostly these refluxes are interconnected. It is very seldom to find independent refluxes affecting both superficial collectors. In this case, they have to be treated isolately considering each as one recirculation circuit. Often, especially in persons after sports with trauma on the calf, different muscle perforating veins with reflux feeding superficial N3 vessels independently are found. This is another situation with lots of independent recirculations, but not affecting saphenous veins. The two scenarios most often found is the connection of great and small saphenous vein either through the Giacomini vein or through a tributary below the knee. In both situations, either vein can serve as drainage for the other. #### 6.11.6.1 Connection via the Giacomini Vein …

Chunk 2  |  score=0.6666  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: chiva, n1, n2, n3, ep , rp , saphenous, gsv, ssv, reflux, femoral, popliteal, venous insufficiency

from a reunion of the two previously separated stumps (the saphenous trunk and the femoral-popliteal vein in case of a R Delfrate - CHIVA strategy in the treatment of venous insufficiency useful for lower limb or coronary bypasses if the B-mode appearance is, most of the time, regular (fig.2). ## CHIVA Hemodynamic basis The venous hemodynamics takes into account various venous pressure parameters 32-33. **Transmural Pressure**: **TMP** is the pressure resulting from the intra-venous pressure IVP and the extra-venous pressure EVP opposition. So, it increases with the rise of IVP, decrease of EVP, and vice versa. IVP is composed of Residual Pressure (RP) provided by the arterial pressure through the micro-circulation resistance, Gravitational Hydrostatic Pressure (GHP) that varies with the v…

Chunk 3  |  score=0.6546  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, chiva, n1, n2, n3, ep , escape point, re-entry, saphenous, gsv, sfj, reflux, retrograde, antegrade, perforator, closed shunt, femoral, venous insufficiency, n1-n2, n2-n3

easily recognized under duplex investigation. However, most of the CHIVA group in Europe still continue to adopt the above described classification for superficial venous insufficiency. ## 2. Deep Shunts Deep shunts are CS or VOS but never ODS. **Shunt's Classification** 71 ## 3. Superficial Shunts Superficial shunts are superficial shunting veins that deviate only superficial venous flows when ODS is activated. They can deviate deep or superficial flows if VOS or CS. ### 3.1. Shunt 0: Shunt 0 is an ODS or a VOS where, contrary to shunt 2 (N2-N3-N1), the drainage direction is normal (N3-N2-N1), even if flow in the N2 segment is retrograde. For example, when only the sapheno-femoral junction valve is competent and distal valves are incompetent, tributaries of the arch are drained during the…

## Type 2B — perforator entry, tributary reflux, no GSV reflux

| Field | Value |
| --- | --- |
| Expected shunt type | Type 2B |
| RAG query | CHIVA shunt classification Type 2B shunt perforator entry SFJ competent N2-N2 tributary reflux EP: N2→N2. RP: N3→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Chunks retrieved | 3 |
| Chunks with classification keywords | 3 / 3 (100.0%) |
| Avg cosine similarity | 0.6564 |

Chunk 1  |  score=0.6770  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, type 3, chiva, n2, n3, escape point, re-entry, saphenous, gsv, ssv, reflux, tributary, closed shunt, popliteal

saphenous veins of one leg. Mostly these refluxes are interconnected. It is very seldom to find independent refluxes affecting both superficial collectors. In this case, they have to be treated isolately considering each as one recirculation circuit. Often, especially in persons after sports with trauma on the calf, different muscle perforating veins with reflux feeding superficial N3 vessels independently are found. This is another situation with lots of independent recirculations, but not affecting saphenous veins. The two scenarios most often found is the connection of great and small saphenous vein either through the Giacomini vein or through a tributary below the knee. In both situations, either vein can serve as drainage for the other. #### 6.11.6.1 Connection via the Giacomini Vein …

Chunk 2  |  score=0.6578  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: chiva, n1, n2, n3, ep , rp , saphenous, gsv, ssv, reflux, femoral, popliteal, venous insufficiency

from a reunion of the two previously separated stumps (the saphenous trunk and the femoral-popliteal vein in case of a R Delfrate - CHIVA strategy in the treatment of venous insufficiency useful for lower limb or coronary bypasses if the B-mode appearance is, most of the time, regular (fig.2). ## CHIVA Hemodynamic basis The venous hemodynamics takes into account various venous pressure parameters 32-33. **Transmural Pressure**: **TMP** is the pressure resulting from the intra-venous pressure IVP and the extra-venous pressure EVP opposition. So, it increases with the rise of IVP, decrease of EVP, and vice versa. IVP is composed of Residual Pressure (RP) provided by the arterial pressure through the micro-circulation resistance, Gravitational Hydrostatic Pressure (GHP) that varies with the v…

Chunk 3  |  score=0.6345  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, chiva, n1, n2, n3, ep , escape point, re-entry, saphenous, gsv, sfj, reflux, retrograde, antegrade, perforator, closed shunt, femoral, venous insufficiency, n1-n2, n2-n3

easily recognized under duplex investigation. However, most of the CHIVA group in Europe still continue to adopt the above described classification for superficial venous insufficiency. ## 2. Deep Shunts Deep shunts are CS or VOS but never ODS. **Shunt's Classification** 71 ## 3. Superficial Shunts Superficial shunts are superficial shunting veins that deviate only superficial venous flows when ODS is activated. They can deviate deep or superficial flows if VOS or CS. ### 3.1. Shunt 0: Shunt 0 is an ODS or a VOS where, contrary to shunt 2 (N2-N3-N1), the drainage direction is normal (N3-N2-N1), even if flow in the N2 segment is retrograde. For example, when only the sapheno-femoral junction valve is competent and distal valves are incompetent, tributaries of the arch are drained during the…

## Type 2C — perforator entry + tributary reflux + GSV reflux

| Field | Value |
| --- | --- |
| Expected shunt type | Type 2C |
| RAG query | CHIVA shunt classification Type 2C shunt perforator entry secondary GSV reflux EP: N2→N2. RP: N3→N1, N2→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Chunks retrieved | 3 |
| Chunks with classification keywords | 3 / 3 (100.0%) |
| Avg cosine similarity | 0.6484 |

Chunk 1  |  score=0.6675  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, type 3, chiva, n2, n3, escape point, re-entry, saphenous, gsv, ssv, reflux, tributary, closed shunt, popliteal

saphenous veins of one leg. Mostly these refluxes are interconnected. It is very seldom to find independent refluxes affecting both superficial collectors. In this case, they have to be treated isolately considering each as one recirculation circuit. Often, especially in persons after sports with trauma on the calf, different muscle perforating veins with reflux feeding superficial N3 vessels independently are found. This is another situation with lots of independent recirculations, but not affecting saphenous veins. The two scenarios most often found is the connection of great and small saphenous vein either through the Giacomini vein or through a tributary below the knee. In both situations, either vein can serve as drainage for the other. #### 6.11.6.1 Connection via the Giacomini Vein …

Chunk 2  |  score=0.6486  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: chiva, n1, n2, n3, ep , rp , saphenous, gsv, ssv, reflux, femoral, popliteal, venous insufficiency

from a reunion of the two previously separated stumps (the saphenous trunk and the femoral-popliteal vein in case of a R Delfrate - CHIVA strategy in the treatment of venous insufficiency useful for lower limb or coronary bypasses if the B-mode appearance is, most of the time, regular (fig.2). ## CHIVA Hemodynamic basis The venous hemodynamics takes into account various venous pressure parameters 32-33. **Transmural Pressure**: **TMP** is the pressure resulting from the intra-venous pressure IVP and the extra-venous pressure EVP opposition. So, it increases with the rise of IVP, decrease of EVP, and vice versa. IVP is composed of Residual Pressure (RP) provided by the arterial pressure through the micro-circulation resistance, Gravitational Hydrostatic Pressure (GHP) that varies with the v…

Chunk 3  |  score=0.6290  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, chiva, n1, n2, n3, ep , escape point, re-entry, saphenous, gsv, sfj, reflux, retrograde, antegrade, perforator, closed shunt, femoral, venous insufficiency, n1-n2, n2-n3

easily recognized under duplex investigation. However, most of the CHIVA group in Europe still continue to adopt the above described classification for superficial venous insufficiency. ## 2. Deep Shunts Deep shunts are CS or VOS but never ODS. **Shunt's Classification** 71 ## 3. Superficial Shunts Superficial shunts are superficial shunting veins that deviate only superficial venous flows when ODS is activated. They can deviate deep or superficial flows if VOS or CS. ### 3.1. Shunt 0: Shunt 0 is an ODS or a VOS where, contrary to shunt 2 (N2-N3-N1), the drainage direction is normal (N3-N2-N1), even if flow in the N2 segment is retrograde. For example, when only the sapheno-femoral junction valve is competent and distal valves are incompetent, tributaries of the arch are drained during the…

## Type 3 — SFJ entry + tributary escape, no GSV reflux

| Field | Value |
| --- | --- |
| Expected shunt type | Type 3 |
| RAG query | CHIVA shunt classification Type 3 shunt SFJ incompetent tributary escape N1-N2-N3-N1 EP: N1→N2, N2→N3. RP: N3→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Chunks retrieved | 3 |
| Chunks with classification keywords | 3 / 3 (100.0%) |
| Avg cosine similarity | 0.659 |

Chunk 1  |  score=0.6802  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, type 3, chiva, n2, n3, escape point, re-entry, saphenous, gsv, ssv, reflux, tributary, closed shunt, popliteal

saphenous veins of one leg. Mostly these refluxes are interconnected. It is very seldom to find independent refluxes affecting both superficial collectors. In this case, they have to be treated isolately considering each as one recirculation circuit. Often, especially in persons after sports with trauma on the calf, different muscle perforating veins with reflux feeding superficial N3 vessels independently are found. This is another situation with lots of independent recirculations, but not affecting saphenous veins. The two scenarios most often found is the connection of great and small saphenous vein either through the Giacomini vein or through a tributary below the knee. In both situations, either vein can serve as drainage for the other. #### 6.11.6.1 Connection via the Giacomini Vein …

Chunk 2  |  score=0.6666  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: chiva, n1, n2, n3, ep , rp , saphenous, gsv, ssv, reflux, femoral, popliteal, venous insufficiency

from a reunion of the two previously separated stumps (the saphenous trunk and the femoral-popliteal vein in case of a R Delfrate - CHIVA strategy in the treatment of venous insufficiency useful for lower limb or coronary bypasses if the B-mode appearance is, most of the time, regular (fig.2). ## CHIVA Hemodynamic basis The venous hemodynamics takes into account various venous pressure parameters 32-33. **Transmural Pressure**: **TMP** is the pressure resulting from the intra-venous pressure IVP and the extra-venous pressure EVP opposition. So, it increases with the rise of IVP, decrease of EVP, and vice versa. IVP is composed of Residual Pressure (RP) provided by the arterial pressure through the micro-circulation resistance, Gravitational Hydrostatic Pressure (GHP) that varies with the v…

Chunk 3  |  score=0.6302  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, chiva, n1, n2, n3, ep , escape point, re-entry, saphenous, gsv, sfj, reflux, retrograde, antegrade, perforator, closed shunt, femoral, venous insufficiency, n1-n2, n2-n3

easily recognized under duplex investigation. However, most of the CHIVA group in Europe still continue to adopt the above described classification for superficial venous insufficiency. ## 2. Deep Shunts Deep shunts are CS or VOS but never ODS. **Shunt's Classification** 71 ## 3. Superficial Shunts Superficial shunts are superficial shunting veins that deviate only superficial venous flows when ODS is activated. They can deviate deep or superficial flows if VOS or CS. ### 3.1. Shunt 0: Shunt 0 is an ODS or a VOS where, contrary to shunt 2 (N2-N3-N1), the drainage direction is normal (N3-N2-N1), even if flow in the N2 segment is retrograde. For example, when only the sapheno-femoral junction valve is competent and distal valves are incompetent, tributaries of the arch are drained during the…

## Type 1+2 — SFJ + tributary + GSV reflux, eliminationTest=Reflux

| Field | Value |
| --- | --- |
| Expected shunt type | Type 1+2 |
| RAG query | CHIVA shunt classification Type 1+2 mixed shunt SFJ incompetent tributary reflux elimination test EP: N1→N2, N2→N3. RP: N3→N1, N2→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Chunks retrieved | 3 |
| Chunks with classification keywords | 3 / 3 (100.0%) |
| Avg cosine similarity | 0.429 |

Chunk 1  |  score=0.4456  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, type 3, chiva, n2, n3, escape point, re-entry, saphenous, gsv, ssv, reflux, tributary, closed shunt, popliteal

saphenous veins of one leg. Mostly these refluxes are interconnected. It is very seldom to find independent refluxes affecting both superficial collectors. In this case, they have to be treated isolately considering each as one recirculation circuit. Often, especially in persons after sports with trauma on the calf, different muscle perforating veins with reflux feeding superficial N3 vessels independently are found. This is another situation with lots of independent recirculations, but not affecting saphenous veins. The two scenarios most often found is the connection of great and small saphenous vein either through the Giacomini vein or through a tributary below the knee. In both situations, either vein can serve as drainage for the other. #### 6.11.6.1 Connection via the Giacomini Vein …

Chunk 2  |  score=0.4207  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, chiva, n1, n2, ep , re-entry, saphenous, gsv, sfj, reflux, perforator, femoral, venous insufficiency

valves prevents reflux when the gradient is reversed. The pressure gradient is physiologically reversed during systole of the lower limbs and thoracoabdominal pumps (coughing, defecation efforts, Valsalva maneuver). It is reversed pathologically at rest as well as during pump systole when run-off resistances increase and consequently also the residual pressure). The reflux always manifests the valve incontinence of the perforator, therefore a pathology of the perforator vein, but this valvular pathology does not always create pathogenic conditions (venous function impairment). **Saphenous femoral junction (SFJ):** the SFJ is a strategic point where several different hemodynamic patterns may be misinterpreted. As a matter of fact, the N1>N2 reflux at the GSV end assessed by Paraná/squeezing…

Chunk 3  |  score=0.4207  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: chiva, n1, n2, n3, ep , rp , saphenous, gsv, ssv, reflux, femoral, popliteal, venous insufficiency

from a reunion of the two previously separated stumps (the saphenous trunk and the femoral-popliteal vein in case of a R Delfrate - CHIVA strategy in the treatment of venous insufficiency useful for lower limb or coronary bypasses if the B-mode appearance is, most of the time, regular (fig.2). ## CHIVA Hemodynamic basis The venous hemodynamics takes into account various venous pressure parameters 32-33. **Transmural Pressure**: **TMP** is the pressure resulting from the intra-venous pressure IVP and the extra-venous pressure EVP opposition. So, it increases with the rise of IVP, decrease of EVP, and vice versa. IVP is composed of Residual Pressure (RP) provided by the arterial pressure through the micro-circulation resistance, Gravitational Hydrostatic Pressure (GHP) that varies with the v…

## No Shunt — EP only, no RP anywhere

| Field | Value |
| --- | --- |
| Expected shunt type | No shunt detected |
| RAG query | CHIVA shunt classification no shunt detected no reflux SFJ competent normal venous flow EP: N2→N2. RP: none. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Chunks retrieved | 3 |
| Chunks with classification keywords | 3 / 3 (100.0%) |
| Avg cosine similarity | 0.6704 |

Chunk 1  |  score=0.6846  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, type 3, chiva, n2, n3, escape point, re-entry, saphenous, gsv, ssv, reflux, tributary, closed shunt, popliteal

saphenous veins of one leg. Mostly these refluxes are interconnected. It is very seldom to find independent refluxes affecting both superficial collectors. In this case, they have to be treated isolately considering each as one recirculation circuit. Often, especially in persons after sports with trauma on the calf, different muscle perforating veins with reflux feeding superficial N3 vessels independently are found. This is another situation with lots of independent recirculations, but not affecting saphenous veins. The two scenarios most often found is the connection of great and small saphenous vein either through the Giacomini vein or through a tributary below the knee. In both situations, either vein can serve as drainage for the other. #### 6.11.6.1 Connection via the Giacomini Vein …

Chunk 2  |  score=0.6836  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: chiva, n1, n2, n3, ep , rp , saphenous, gsv, ssv, reflux, femoral, popliteal, venous insufficiency

from a reunion of the two previously separated stumps (the saphenous trunk and the femoral-popliteal vein in case of a R Delfrate - CHIVA strategy in the treatment of venous insufficiency useful for lower limb or coronary bypasses if the B-mode appearance is, most of the time, regular (fig.2). ## CHIVA Hemodynamic basis The venous hemodynamics takes into account various venous pressure parameters 32-33. **Transmural Pressure**: **TMP** is the pressure resulting from the intra-venous pressure IVP and the extra-venous pressure EVP opposition. So, it increases with the rise of IVP, decrease of EVP, and vice versa. IVP is composed of Residual Pressure (RP) provided by the arterial pressure through the micro-circulation resistance, Gravitational Hydrostatic Pressure (GHP) that varies with the v…

Chunk 3  |  score=0.6430  |  source=Task_1_Shunt_Classification_Knowledgebase.pdf  |  keywords: shunt, chiva, n1, n2, n3, ep , escape point, re-entry, saphenous, gsv, sfj, reflux, retrograde, antegrade, perforator, closed shunt, femoral, venous insufficiency, n1-n2, n2-n3

easily recognized under duplex investigation. However, most of the CHIVA group in Europe still continue to adopt the above described classification for superficial venous insufficiency. ## 2. Deep Shunts Deep shunts are CS or VOS but never ODS. **Shunt's Classification** 71 ## 3. Superficial Shunts Superficial shunts are superficial shunting veins that deviate only superficial venous flows when ODS is activated. They can deviate deep or superficial flows if VOS or CS. ### 3.1. Shunt 0: Shunt 0 is an ODS or a VOS where, contrary to shunt 2 (N2-N3-N1), the drainage direction is normal (N3-N2-N1), even if flow in the N2 segment is retrograde. For example, when only the sapheno-femoral junction valve is competent and distal valves are incompetent, tributaries of the arch are drained during the…

# Test 2 — Ablation: LLM With vs Without RAG

Each test case is classified twice: once with top-3 RAG chunks from shunt_classification_db injected, once with no RAG context. We compare shunt_type, confidence, and token usage.

## Type 1 — SFJ incompetent, GSV trunk reflux only

| Metric | Value |
| --- | --- |
| Expected | Type 1 |
| With RAG — shunt_type | Type 1 |
| With RAG — confidence | 0.9 |
| With RAG — correct? | CORRECT |
| With RAG — prompt tokens | 4620 |
| Without RAG — shunt_type | Type 1 |
| Without RAG — confidence | 0.9 |
| Without RAG — correct? | CORRECT |
| Without RAG — prompt tokens | 4205 |
| Token saving (no RAG) | 415 |

## Type 2A — GSV feeds tributary, SFJ competent

| Metric | Value |
| --- | --- |
| Expected | Type 2A |
| With RAG — shunt_type | Type 2A |
| With RAG — confidence | 0.9 |
| With RAG — correct? | CORRECT |
| With RAG — prompt tokens | 4624 |
| Without RAG — shunt_type | Type 2A |
| Without RAG — confidence | 0.9 |
| Without RAG — correct? | CORRECT |
| Without RAG — prompt tokens | 4209 |
| Token saving (no RAG) | 415 |

## Type 2B — perforator entry, tributary reflux, no GSV reflux

| Metric | Value |
| --- | --- |
| Expected | Type 2B |
| With RAG — shunt_type | Type 2B |
| With RAG — confidence | 0.84 |
| With RAG — correct? | CORRECT |
| With RAG — prompt tokens | 4627 |
| Without RAG — shunt_type | Type 2B |
| Without RAG — confidence | 0.84 |
| Without RAG — correct? | CORRECT |
| Without RAG — prompt tokens | 4212 |
| Token saving (no RAG) | 415 |

## Type 2C — perforator entry + tributary reflux + GSV reflux

| Metric | Value |
| --- | --- |
| Expected | Type 2C |
| With RAG — shunt_type | Type 2C |
| With RAG — confidence | 0.82 |
| With RAG — correct? | CORRECT |
| With RAG — prompt tokens | 4661 |
| Without RAG — shunt_type | Type 2C |
| Without RAG — confidence | 0.82 |
| Without RAG — correct? | CORRECT |
| Without RAG — prompt tokens | 4246 |
| Token saving (no RAG) | 415 |

## Type 3 — SFJ entry + tributary escape, no GSV reflux

| Metric | Value |
| --- | --- |
| Expected | Type 3 |
| With RAG — shunt_type | Type 3 |
| With RAG — confidence | 0.88 |
| With RAG — correct? | CORRECT |
| With RAG — prompt tokens | 4652 |
| Without RAG — shunt_type | Type 3 |
| Without RAG — confidence | 0.88 |
| Without RAG — correct? | CORRECT |
| Without RAG — prompt tokens | 4237 |
| Token saving (no RAG) | 415 |

## Type 1+2 — SFJ + tributary + GSV reflux, eliminationTest=Reflux

| Metric | Value |
| --- | --- |
| Expected | Type 1+2 |
| With RAG — shunt_type | Type 1+2 |
| With RAG — confidence | 0.8 |
| With RAG — correct? | CORRECT |
| With RAG — prompt tokens | 4658 |
| Without RAG — shunt_type | Type 1+2 |
| Without RAG — confidence | 0.8 |
| Without RAG — correct? | CORRECT |
| Without RAG — prompt tokens | 4278 |
| Token saving (no RAG) | 380 |

## No Shunt — EP only, no RP anywhere

| Metric | Value |
| --- | --- |
| Expected | No shunt detected |
| With RAG — shunt_type | Type 2B |
| With RAG — confidence | 0.84 |
| With RAG — correct? | WRONG |
| With RAG — prompt tokens | 4595 |
| Without RAG — shunt_type | Type 2B |
| Without RAG — confidence | 0.84 |
| Without RAG — correct? | WRONG |
| Without RAG — prompt tokens | 4180 |
| Token saving (no RAG) | 415 |

## Ablation Summary

| Test Case | With vs Without RAG |
| --- | --- |
| Type 1 — SFJ incompetent, GSV trunk reflux only | WITH=Type 1 [CORRECT] ¦ WITHOUT=Type 1 [CORRECT] |
| Type 2A — GSV feeds tributary, SFJ competent | WITH=Type 2A [CORRECT] ¦ WITHOUT=Type 2A [CORRECT] |
| Type 2B — perforator entry, tributary reflux, no GSV reflux | WITH=Type 2B [CORRECT] ¦ WITHOUT=Type 2B [CORRECT] |
| Type 2C — perforator entry + tributary reflux + GSV reflux | WITH=Type 2C [CORRECT] ¦ WITHOUT=Type 2C [CORRECT] |
| Type 3 — SFJ entry + tributary escape, no GSV reflux | WITH=Type 3 [CORRECT] ¦ WITHOUT=Type 3 [CORRECT] |
| Type 1+2 — SFJ + tributary + GSV reflux, eliminationTest=Reflux | WITH=Type 1+2 [CORRECT] ¦ WITHOUT=Type 1+2 [CORRECT] |
| No Shunt — EP only, no RP anywhere | WITH=Type 2B [WRONG] ¦ WITHOUT=Type 2B [WRONG] |

# Test 3 — Top-N Sweep (k = 1, 3, 5, 7)

Shows how similarity scores and keyword-relevance change as k increases.

## Type 1 — SFJ incompetent, GSV trunk reflux only

| k | Results |
| --- | --- |
| k=1 | avg_score=0.666 relevant=1/1 (100.0%) scores=[0.666] |
| k=3 | avg_score=0.6379 relevant=3/3 (100.0%) scores=[0.666, 0.633, 0.6146] |
| k=5 | avg_score=0.6227 relevant=5/5 (100.0%) scores=[0.666, 0.633, 0.6146, 0.6006, 0.599] |
| k=7 | avg_score=0.6135 relevant=7/7 (100.0%) scores=[0.666, 0.633, 0.6146, 0.6006, 0.599, 0.5989, 0.5822] |

## Type 2A — GSV feeds tributary, SFJ competent

| k | Results |
| --- | --- |
| k=1 | avg_score=0.6938 relevant=1/1 (100.0%) scores=[0.6938] |
| k=3 | avg_score=0.6717 relevant=3/3 (100.0%) scores=[0.6938, 0.6666, 0.6546] |
| k=5 | avg_score=0.6583 relevant=5/5 (100.0%) scores=[0.6938, 0.6666, 0.6546, 0.6394, 0.6369] |
| k=7 | avg_score=0.6494 relevant=7/7 (100.0%) scores=[0.6938, 0.6666, 0.6546, 0.6394, 0.6369, 0.6275, 0.6271] |

## Type 2B — perforator entry, tributary reflux, no GSV reflux

| k | Results |
| --- | --- |
| k=1 | avg_score=0.677 relevant=1/1 (100.0%) scores=[0.677] |
| k=3 | avg_score=0.6564 relevant=3/3 (100.0%) scores=[0.677, 0.6578, 0.6345] |
| k=5 | avg_score=0.6428 relevant=5/5 (100.0%) scores=[0.677, 0.6578, 0.6345, 0.625, 0.6199] |
| k=7 | avg_score=0.6336 relevant=7/7 (100.0%) scores=[0.677, 0.6578, 0.6345, 0.625, 0.6199, 0.6174, 0.6037] |

## Type 2C — perforator entry + tributary reflux + GSV reflux

| k | Results |
| --- | --- |
| k=1 | avg_score=0.6675 relevant=1/1 (100.0%) scores=[0.6675] |
| k=3 | avg_score=0.6484 relevant=3/3 (100.0%) scores=[0.6675, 0.6486, 0.629] |
| k=5 | avg_score=0.636 relevant=5/5 (100.0%) scores=[0.6675, 0.6486, 0.629, 0.6193, 0.6154] |
| k=7 | avg_score=0.6282 relevant=7/7 (100.0%) scores=[0.6675, 0.6486, 0.629, 0.6193, 0.6154, 0.6113, 0.6059] |

## Type 3 — SFJ entry + tributary escape, no GSV reflux

| k | Results |
| --- | --- |
| k=1 | avg_score=0.6802 relevant=1/1 (100.0%) scores=[0.6802] |
| k=3 | avg_score=0.659 relevant=3/3 (100.0%) scores=[0.6802, 0.6666, 0.6302] |
| k=5 | avg_score=0.6438 relevant=5/5 (100.0%) scores=[0.6802, 0.6666, 0.6302, 0.6231, 0.6189] |
| k=7 | avg_score=0.6351 relevant=7/7 (100.0%) scores=[0.6802, 0.6666, 0.6302, 0.6231, 0.6189, 0.618, 0.6084] |

## Type 1+2 — SFJ + tributary + GSV reflux, eliminationTest=Reflux

| k | Results |
| --- | --- |
| k=1 | avg_score=0.4456 relevant=1/1 (100.0%) scores=[0.4456] |
| k=3 | avg_score=0.429 relevant=3/3 (100.0%) scores=[0.4456, 0.4207, 0.4207] |
| k=5 | avg_score=0.422 relevant=5/5 (100.0%) scores=[0.4456, 0.4207, 0.4207, 0.4173, 0.4059] |
| k=7 | avg_score=0.4106 relevant=7/7 (100.0%) scores=[0.4456, 0.4207, 0.4207, 0.4173, 0.4059, 0.3826, 0.3818] |

## No Shunt — EP only, no RP anywhere

| k | Results |
| --- | --- |
| k=1 | avg_score=0.6846 relevant=1/1 (100.0%) scores=[0.6846] |
| k=3 | avg_score=0.6704 relevant=3/3 (100.0%) scores=[0.6846, 0.6836, 0.643] |
| k=5 | avg_score=0.6566 relevant=5/5 (100.0%) scores=[0.6846, 0.6836, 0.643, 0.6427, 0.6293] |
| k=7 | avg_score=0.6473 relevant=7/7 (100.0%) scores=[0.6846, 0.6836, 0.643, 0.6427, 0.6293, 0.6255, 0.6227] |

# Test 4 — Query Variant: Pattern-Based vs Type-Named

Compares the pattern-derived query (based on clip flows) against an explicit type-named query. Higher score = better chunk retrieval for that query style.

## Type 1 — SFJ incompetent, GSV trunk reflux only

| Dimension | Value |
| --- | --- |
| Pattern-based query | CHIVA shunt classification Type 1 shunt SFJ incompetent GSV trunk reflux N1-N2-N1 closed shunt EP: N1→N2. RP: N2→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Type-named query | CHIVA Type 1 shunt classification definition criteria EP: N1→N2 RP: N2→N1 venous network N1 N2 N3 saphenous saphenofemoral escape re-entry perforator |
| Pattern — avg score | 0.6379 |
| Type-named — avg score | 0.6466 |
| Pattern — relevant chunks | 3/3 (100.0%) |
| Type-named — relevant | 3/3 (100.0%) |
| Score delta (typed−pattern) | 0.0087 |

## Type 2A — GSV feeds tributary, SFJ competent

| Dimension | Value |
| --- | --- |
| Pattern-based query | CHIVA shunt classification Type 2A shunt SFJ competent GSV tributary open deviated shunt N2-N3 EP: N2→N3. RP: N3→N2. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Type-named query | CHIVA Type 2A shunt classification definition criteria EP: N2→N3 RP: N3→N2 venous network N1 N2 N3 saphenous saphenofemoral escape re-entry perforator |
| Pattern — avg score | 0.6717 |
| Type-named — avg score | 0.6449 |
| Pattern — relevant chunks | 3/3 (100.0%) |
| Type-named — relevant | 3/3 (100.0%) |
| Score delta (typed−pattern) | -0.0268 |

## Type 2B — perforator entry, tributary reflux, no GSV reflux

| Dimension | Value |
| --- | --- |
| Pattern-based query | CHIVA shunt classification Type 2B shunt perforator entry SFJ competent N2-N2 tributary reflux EP: N2→N2. RP: N3→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Type-named query | CHIVA Type 2B shunt classification definition criteria EP: N2→N2 RP: N3→N1 venous network N1 N2 N3 saphenous saphenofemoral escape re-entry perforator |
| Pattern — avg score | 0.6564 |
| Type-named — avg score | 0.6472 |
| Pattern — relevant chunks | 3/3 (100.0%) |
| Type-named — relevant | 3/3 (100.0%) |
| Score delta (typed−pattern) | -0.0092 |

## Type 2C — perforator entry + tributary reflux + GSV reflux

| Dimension | Value |
| --- | --- |
| Pattern-based query | CHIVA shunt classification Type 2C shunt perforator entry secondary GSV reflux EP: N2→N2. RP: N3→N1, N2→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Type-named query | CHIVA Type 2C shunt classification definition criteria EP: N2→N2 RP: N3→N1, N2→N1 venous network N1 N2 N3 saphenous saphenofemoral escape re-entry perforator |
| Pattern — avg score | 0.6484 |
| Type-named — avg score | 0.6434 |
| Pattern — relevant chunks | 3/3 (100.0%) |
| Type-named — relevant | 3/3 (100.0%) |
| Score delta (typed−pattern) | -0.005 |

## Type 3 — SFJ entry + tributary escape, no GSV reflux

| Dimension | Value |
| --- | --- |
| Pattern-based query | CHIVA shunt classification Type 3 shunt SFJ incompetent tributary escape N1-N2-N3-N1 EP: N1→N2, N2→N3. RP: N3→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Type-named query | CHIVA Type 3 shunt classification definition criteria EP: N1→N2, N2→N3 RP: N3→N1 venous network N1 N2 N3 saphenous saphenofemoral escape re-entry perforator |
| Pattern — avg score | 0.659 |
| Type-named — avg score | 0.6554 |
| Pattern — relevant chunks | 3/3 (100.0%) |
| Type-named — relevant | 3/3 (100.0%) |
| Score delta (typed−pattern) | -0.0036 |

## Type 1+2 — SFJ + tributary + GSV reflux, eliminationTest=Reflux

| Dimension | Value |
| --- | --- |
| Pattern-based query | CHIVA shunt classification Type 1+2 mixed shunt SFJ incompetent tributary reflux elimination test EP: N1→N2, N2→N3. RP: N3→N1, N2→N1. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Type-named query | CHIVA Type 1+2 shunt classification definition criteria EP: N1→N2, N2→N3 RP: N3→N1, N2→N1 venous network N1 N2 N3 saphenous saphenofemoral escape re-entry perforator |
| Pattern — avg score | 0.429 |
| Type-named — avg score | 0.6526 |
| Pattern — relevant chunks | 3/3 (100.0%) |
| Type-named — relevant | 3/3 (100.0%) |
| Score delta (typed−pattern) | 0.2236 |

## No Shunt — EP only, no RP anywhere

| Dimension | Value |
| --- | --- |
| Pattern-based query | CHIVA shunt classification no shunt detected no reflux SFJ competent normal venous flow EP: N2→N2. RP: none. saphenofemoral junction GSV SSV perforator tributary reflux antegrade retrograde |
| Type-named query | CHIVA No shunt detected shunt classification definition criteria EP: N2→N2 RP: none venous network N1 N2 N3 saphenous saphenofemoral escape re-entry perforator |
| Pattern — avg score | 0.6704 |
| Type-named — avg score | 0.6348 |
| Pattern — relevant chunks | 3/3 (100.0%) |
| Type-named — relevant | 3/3 (100.0%) |
| Score delta (typed−pattern) | -0.0356 |

# Interpretation Guide

| Observation | Action |
| --- | --- |
| Score > 0.85 | Strong match — chunk is highly relevant to shunt classification. |
| Score 0.70–0.85 | Moderate match — likely useful; verify keyword hits. |
| Score < 0.70 | Weak match — chunk may be noise. Enrich the knowledge base or tighten the query. |
| 'NONE' keyword hits | No classification vocabulary found — chunk is irrelevant. Check if surgical/procedural pages were ingested instead of classification pages. |
| Ablation: same result ± RAG | RAG is not adding classification signal beyond the embedded CHIVA_RULES. This is acceptable if rules already fully cover the pattern. |
| Ablation: WITH RAG is WRONG | RAG is injecting noise that overrides the correct rule. Reduce k or apply a minimum similarity threshold (e.g., drop chunks < 0.72). |
| Top-N: relevance drops at k=5+ | Signal is in top-3. Keep k=3 as default. |
| Type-named query scores higher | Consider a two-pass approach: quick rule pre-classification → type-named RAG query. |